## Measure Category
[6 empty] | Baseline What would the customer have done in absence of the program? |  | Efficient tech. What did the program influence? |  | Incremental cost (Efficient case cost – Baseline cost) |  |  | Space Heating NGas savings (Baseline – Efficient case consumption) |  | Space Heating Electricity impacts (Baseline – Efficient case consumption) |  | Space Cooling Electricity impacts (Baseline – Efficient case consumption)
HP sizing option | The customer is interested in? | The customer wants | PD business proposal | A/C unit measure category | Furnace measure category | A/C | Furnace | Heating system | Control type | Baseline cost | Eff. case. cost | Incremental cost | Baseline NGas consumption | Eff. Case NGas consumption | Baseline heating Elec consumption | Eff. Case Elec consumption | Baseline cooling Elec consumption | Eff. Case cooling Elec consumption
4A | cooling | 1. Replace existing A/C unit with New one | Replace A/C unit with HP, keep existing furnace | TNR | N/A | New A/C | Existing | ccASHP-central system | various | New A/C + Control | ccASHP + Control + Panel Upgrade* | (ccASHP + Panel Upgrade*) - New A/C | Existing Furnace, full load | Existing Furnace, reduced load | 0 | ccASHP | New A/C | ccASHP
4A |  | 2. Add cooling (new A/C). | Add HP and keep existing furnace | N/A | N/A | New A/C | Existing | ccASHP-central system | various | New A/C + Control | ccASHP + Control + Panel Upgrade* | (ccASHP + Panel Upgrade*) - New A/C | Existing Furnace, full load | Existing Furnace, reduced load | 0 | ccASHP | New A/C | ccASHP
4B | cooling | 1. Replace existing A/C unit with New one | Replace A/C with HP and keep existing furnace | TNR | N/A | New A/C | Existing | ccASHP-central system | various | New A/C + Control | ccASHP + Control + Panel Upgrade* | (ccASHP + Panel Upgrade*) - New A/C | Existing Furnace, full load | Existing Furnace, reduced load | 0 | ccASHP | New A/C | ccASHP
4B |  | 2. Add cooling (new A/C). | Add HP and keep existing furnace | N/A | N/A | New A/C | Existing | ccASHP-central system | various | New A/C + Control | ccASHP + Control + Panel Upgrade* | (ccASHP + Panel Upgrade*) - New A/C | Existing Furnace, full load | Existing Furnace, reduced load | 0 | ccASHP | New A/C | ccASHP
4B | heating and cooling | 5. If customer is looking to replace heating and cooling | Replace A/C unit with HP and upgrade furnace | TNR | TNR | New A/C | New Furnace | ccASHP-central system | various | New A/C + New Furnace + Control | ccASHP + New Furnace + Control + Panel Upgrade* | (ccASHP + Panel Upgrade*) - New A/C | New Furnace, full load | New Furnace, reduced load | 0 | ccASHP | New A/C | ccASHP
4C | cooling | 1. Replace existing A/C unit with New one | Replace A/C with HP and keep existing furnace | TNR | N/A | New A/C | Existing | ccASHP-central system | various | New A/C + Control | ccASHP + Control + Panel Upgrade* | (ccASHP + Panel Upgrade*) - New A/C | Existing Furnace, full load | Existing Furnace, reduced load | 0 | ccASHP | New A/C | ccASHP
4C |  | 2. Add cooling (new A/C). | Add HP and keep existing furnace | N/A | N/A | New A/C | Existing | ccASHP-central system | various | New A/C + Control | ccASHP + Control + Panel Upgrade* | (ccASHP + Panel Upgrade*) - New A/C | Existing Furnace, full load | Existing Furnace, reduced load | 0 | ccASHP | New A/C | ccASHP
4C | heating | 3. Replace heating and it had cooling in place | Replace Furnace with HP and new furnace | ER | TNR | Existing | New Furnace | ccASHP-central system | various | New Furnace + Control | ccASHP + New Furnace + Control + Panel Upgrade* | ccASHP + Panel Upgrade* | New Furnace, full load | New Furnace, reduced load | 0 | ccASHP | Existing A/C | ccASHP
4C |  | 4. Replace heating and it didn't have cooling in place (add cooling) | Replace Furnace with HP and new furnace | N/A | TNR | Didn’t have cooling | New Furnace | ccASHP-central system | various | New Furnace + Control | ccASHP + New Furnace + Control + Panel Upgrade* | ccASHP + Panel Upgrade* | New Furnace, full load | New Furnace, reduced load | 0 | ccASHP | 0 | ccASHP
4C | heating and cooling | 5. If customer is looking to replace heating and cooling | Replace A/C unit with HP and upgrade furnace | TNR | TNR | New A/C | New Furnace | ccASHP-central system | various | New A/C + New Furnace + Control | ccASHP + New Furnace + Control + Panel Upgrade* | (ccASHP + Panel Upgrade*) - New A/C | New Furnace, full load | New Furnace, reduced load | 0 | ccASHP | New A/C | ccASHP
4D | cooling | 1. Replace existing A/C unit with New one | Replace Furnace with HP and new furnace | TNR | N/A | New A/C | Existing | ccASHP elect backup + air handler | various | New A/C + Control | ccASHP + Control + Air Handler + Panel Upgrade* | (ccASHP + Air Handler + Panel Upgrade*) - New A/C | Existing Furnace, full load | no NGas | 0 | ccASHP | New A/C | ccASHP
4D |  | 2. Add cooling (new A/C). | Add HP and keep existing furnace | N/A | N/A | New A/C | Existing | ccASHP elect backup + air handler | various | New A/C + Control | ccASHP + Control + Air Handler + Panel Upgrade* | (ccASHP + Air Handler + Panel Upgrade*) - New A/C | Existing Furnace, full load | no NGas | 0 | ccASHP | New A/C | ccASHP
4D | heating | 3. Replace heating and it had cooling in place | Replace Furnace with HP and Elec backup | ER | TNR | Existing | New Furnace | ccASHP elect backup + air handler | various | New Furnace + Control | ccASHP + Control + Air Handler + Panel Upgrade* | (ccASHP + Air Handler + Panel Upgrade*) - New Furnace | New Furnace, full load | no NGas | 0 | ccASHP | Existing A/C | ccASHP
4D |  | 4. Replace heating and it didn't have cooling in place (add cooling) | Replace Furnace with HP and Elec backup | N/A | TNR | Didn’t have cooling | New Furnace | ccASHP elect backup + air handler | various | New Furnace + Control | ccASHP + Control + Air Handler + Panel Upgrade* | (ccASHP + Air Handler + Panel Upgrade*) - New Furnace | New Furnace, full load | no NGas | 0 | ccASHP | 0 | ccASHP
4D | heating and cooling | 5. If customer is looking to replace heating and cooling | Replace A/C and Furnace unit with HP (elec backup) | TNR | TNR | New A/C | New Furnace | ccASHP elect backup + air handler | various | New A/C + New Furnace + Control | ccASHP + Control + Air Handler + Panel Upgrade* | (ccASHP+ Air Handler + Panel Upgrade*) - (New A/C + New Furnace ) | New Furnace, full load | no NGas | 0 | ccASHP | New A/C | ccASHP
Notes:
*Panel upgrade if applicable
|  | Baseline. What would the customer have done in absence of the program? | 4A | 4B | 4C | 4D
|  | 1. Replace existing A/C unit with New one | 1 | 1 | 1 | 1
|  | 2. Add cooling (new A/C). | 1 | 1 | 1 | 1
|  | 3. Replace heating and it had cooling in place |  |  | 1 | 1
|  | 4. Replace heating and it didn't have cooling in place (add cooling) |  |  | 1 | 1
|  | 5. If customer is looking to replace heating and cooling |  | 1 | 1 | 1
Note on J2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Same assumptions for ASHP
Rational for these baselines present in all sizing options: customer looking for cooling, the business proposal is to install a HP instead of an A/C that can be sized to cooling (4A), heating & cooling (4B), or heating (4C or 4D)
Rational for these baselines present in 4C & 4D sizing options: customer looking for heating, the business proposal is to install a HP-instead of an Furnace alone- that can be sized to heating options 4C or 4D, less likely to be sized to 4A or 4B if the customer is is insterested in heating, but it is a possibilty of adoption of HP over a furnace-alone replacement option. Note: sizing to 4A or 4B from these baselines is not covered by the sub doc
Rational for this baseline present in 4B, 4C, & 4D sizing options: customer looking for heating & cooling, the business proposal is to install a HP instead of a Furnace & New A/C that can be sized to heating options 4B, 4C or 4D, less likely to be sized to 4A if they are insterested in heating and cooling, but it is a possibilty of adoption of HP over a furnace& A/C replacement option. Note: sizing to 4A from this baseline is not covered by the sub doc.

## IncremCost-CentralSystem_ccASHP
|  | Heat pump | Count of UID | Average of Adjusted Total cost (equipment and labour) | Average of Adjusted Equipment cost | Average of Adjusted Labour Cost | Install cost % over total cost
|  | 1.5 | 3 | 7450 | 4950 | 2500 | 33.56%
|  | 2 | 32 | 7465.7812 | 5143.3125 | 2322.4688 | 31.11%
|  | 2.5 | 7 | 8411.2857 | 6026.4286 | 2384.8571 | 28.35%
|  | 3 | 30 | 8724.9667 | 6806.3 | 1918.6667 | 21.99%
|  | 5 | 4 | 9912.5 | 7137.5 | 2775 | 27.99%
|  | Grand Total | 76 | 8178.0658 | 5978.4211 | 2199.6447 | 28.6%
|  | New A/C cost | Count of UID | Average of Adjusted Total cost (equipment and labour) | Average of Adjusted Equipment cost | Average of Adjusted Labour Cost | Install cost % over total cost
|  | 1.5 | 14 | 5116.7857 | 3382.3077 | 1674.2308 | 32.72%
|  | 2 | 62 | 5089.3869 | 3511.9179 | 1555.9836 | 30.57%
|  | 2.5 | 16 | 5142.8125 | 3503 | 1529.3333 | 29.74%
|  | 3 | 17 | 6184.3529 | 4024.3529 | 2160 | 34.93%
|  | 3.5 | 1 | 5800 | 3500 | 2300 | 39.66%
|  | 4 | 1 | 6000 | 900 | 5100 | 85%
|  | Grand Total | 111 | 5282.8468 | 3551.4444 | 1701.2963 | 33.52%
|  | Furnace | Average of Adjusted Total cost (equipment and labour) | Average of Adjusted Equipment cost | Average of Adjusted Labour Cost | Install cost % over total cost
|  | 42 | 5267.2619 | 3587.6316 | 1534.0789 | 29.12%
|  | Control Cost | Count of UID | Average of Total cost | Average of Thermostat equipment cost | Average of Thermostat labour cost | Install cost % over total cost
|  | Wired | 50 | 477.86 | 325.2083 | 176.234 | 36.88%
|  | Wireless | 10 | 593 | 493.75 | 282.8571 | 47.7%
|  | Grand Total | 60 | 497.05 | 349.2857 | 190.0556 | 42.29%
|  | Air Handler | Average of Adjusted Total cost (equipment and labour) | Average of Adjusted Equipment cost | Average of Adjusted Labour Cost | Install cost % over total cost
|  | 27 | 5641.7407 | 3790.6296 | 1851.1111 | 32.81%
|  | Electrical Panel Upgrade | Average of Total Cost | Average of Average panel upgrade equipment cost | Average of Average panel upgrade labour cost | Install cost % over total cost
|  | 17 | 2955.8824 | 1789.7059 | 1166.1765 | 39.45%
|  |  | Reference- do not deleted | [7 empty] | Average of Adjusted Total cost (equipment and labour) | Average of Adjusted Total cost (equipment and labour) | Average of Total cost |  | Average of Adjusted Total cost (equipment and labour) | Average of Total cost | Average of Total Cost | Average of Adjusted Total cost (equipment and labour) | Average of Adjusted Total cost (equipment and labour)
| Baseline Definition |  | Baseline equipment |  | Efficient equipment | [5 empty] | Baseline cost |  |  |  | Eff. Case cost | [7 empty] | Incremental cost
HP sizing option | The customer is interested in? | Baseline Description | A/C unit | Furnace | heat pump | Masure Category | Baseline cost defition | Eff. case. Cost definition | Incremental cost definition | HP Tonnage | New A/C + Installation | New Furnace + Installation | Control + installation | Baseline Total cost | ccASH + Installation | Control + installation | Panel Upgrade + installation | New Furnace + Installation | Air Handler + installation | Eff. Case Total cost with Panel Upgrade | Eff. Case Total cost no Panel Upgrade | Eff. Case Total cost no Panel Upgrade ($/ton) | Incremental cost with Panel Upgrade (CAD $) | Incremental cost no Panel Upgrade (CAD $) | Incremental cost with Panel Upgrade (CAD $/tonne) | Incremental cost no Panel Upgrade (CAD $/tonne) | HP sizing option
4A | cooling | 1. Replace existing A/C unit with New one | New A/C | Existing | ccASHP | Time of Natural Replacement (TNR) of the A/C unit | New A/C + Control | ccASHP + Control + Panel Upgrade* | (ccASHP + Panel Upgrade*) - New A/C | 1.5 | 5116.7857 | N/A | 497.05 | 5613.8357 | 7450 | 497.05 | 2955.8824 | N/A | N/A | 10902.9324 | 7947.05 | 5298.0333 | 5289.0966 | 2333.2143 | 3526.0644 | 1555.4762 | 4A
[10 empty] | 2 | 5089.3869 | N/A | 497.05 | 5586.4369 | 7465.7812 | 497.05 | 2955.8824 | N/A | N/A | 10918.7136 | 7962.8313 | 3981.4156 | 5332.2767 | 2376.3943 | 2666.1383 | 1188.1972
[10 empty] | 2.5 | 5142.8125 | N/A | 497.05 | 5639.8625 | 8411.2857 | 497.05 | 2955.8824 | N/A | N/A | 11864.2181 | 8908.3357 | 3563.3343 | 6224.3556 | 3268.4732 | 2489.7422 | 1307.3893
[10 empty] | 3 | 6184.3529 | N/A | 497.05 | 6681.4029 | 8724.9667 | 497.05 | 2955.8824 | N/A | N/A | 12177.899 | 9222.0167 | 3074.0056 | 5496.4961 | 2540.6137 | 1832.1654 | 846.8712
|  | 2. Add cooling (new A/C). | New A/C | Existing | [5 empty] | 5 | 6000 | N/A | 497.05 | 6497.05 | 9912.5 | 497.05 | 2955.8824 | N/A | N/A | 13365.4324 | 10409.55 | 2081.91 | 6868.3824 | 3912.5 | 1373.6765 | 782.5
[10 empty] | Grand Total | 5282.8468 | N/A | 497.05 | 5779.8968 | 8178.0658 | 497.05 | 2955.8824 | N/A | N/A | 11630.9981 | 8675.1158 |  | 5842.1215 | 2886.2391 | 2377.5574 | 1136.0868
4B | cooling | 1. Replace existing A/C unit with New one | New A/C | Existing | ccASHP | Time of Natural Replacement (TNR) of the A/C unit | New A/C + Control | ccASHP + Control + Panel Upgrade* | (ccASHP + Panel Upgrade*) - New A/C | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | 5842.1215 | 2886.2391 | 2377.5574 | 1136.0868 | 4B
|  | 2. Add cooling (new A/C). | New A/C | Existing
| heating and cooling | 5. Customer is looking to replace heating and cooling | New A/C | New Furnace | ccASHP + New Furnace | Time of Natural Replacement (TNR) of the A/C unit and the space heating system | New A/C + New Furnace + Control | ccASHP + New Furnace + Control + Panel Upgrade* | (ccASHP + Panel Upgrade*) - New A/C | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | 5842.1215 | 2886.2391 | 2377.5574 | 1136.0868
4C | cooling | 1. Replace existing A/C unit with New one | New A/C | Existing | ccASHP | Time of Natural Replacement (TNR) of the A/C unit | New A/C + Control | ccASHP + Control + Panel Upgrade* | (ccASHP + Panel Upgrade*) - New A/C | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | 5842.1215 | 2886.2391 | 2377.5574 | 1136.0868 | 4C
|  | 2. Add cooling (new A/C). | New A/C | Existing
| heating | 3. Replace heating and it had cooling in place | Existing A/C | New Furnace | ccASHP + New Furnace | Time of Natural Replacement (TNR) of the space heating system | New Furnace + Control | ccASHP + New Furnace + Control + Panel Upgrade* | ccASHP +Panel Upgrade* | 1.5 | N/A | 5267.2619 | 497.05 | 5764.3119 | 7450 | 497.05 | 2955.8824 | 5267.2619 | N/A | 16170.1943 | 13214.3119 | 8809.5413 | 10405.8824 | 7450 | 6937.2549 | 4966.6667
[10 empty] | 2 | N/A | 5267.2619 | 497.05 | 5764.3119 | 7465.7812 | 497.05 | 2955.8824 | 5267.2619 | N/A | 16185.9755 | 13230.0932 | 6615.0466 | 10421.6636 | 7465.7812 | 5210.8318 | 3732.8906
[10 empty] | 2.5 | N/A | 5267.2619 | 497.05 | 5764.3119 | 8411.2857 | 497.05 | 2955.8824 | 5267.2619 | N/A | 17131.48 | 14175.5976 | 5670.239 | 11367.1681 | 8411.2857 | 4546.8672 | 3364.5143
|  | 4. Replace heating and it didn't have cooling in place (add cooling) | Didn’t have cooling | [6 empty] | 3 | N/A | 5267.2619 | 497.05 | 5764.3119 | 8724.9667 | 497.05 | 2955.8824 | 5267.2619 | N/A | 17445.1609 | 14489.2786 | 4829.7595 | 11680.849 | 8724.9667 | 3893.6163 | 2908.3222
[10 empty] | 5 | N/A | 5267.2619 | 497.05 | 5764.3119 | 9912.5 | 497.05 | 2955.8824 | 5267.2619 | N/A | 18632.6943 | 15676.8119 | 3135.3624 | 12868.3824 | 9912.5 | 2573.6765 | 1982.5
[10 empty] | Grand Total | N/A | 5267.2619 | 497.05 | 5764.3119 | 8178.0658 | 497.05 | 2955.8824 | 5267.2619 | N/A | 16898.26 | 13942.3777 | 5811.9898 | 11348.7891 | 8392.9067 | 4632.4493 | 3390.9788
| heating and cooling | 5. Customer is looking to replace heating and cooling | New A/C | New Furnace | ccASHP + New Furnace | Time of Natural Replacement (TNR) of the A/C unit and the space heating system | New A/C + New Furnace + Control | ccASHP + New Furnace + Control + Panel Upgrade* | (ccASHP + Panel Upgrade*) - New A/C | Same incremental cost as 4A | Same incremental cost as 4A | N/A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | 5842.1215 | 2886.2391 | 2377.5574 | 1136.0868
4D | cooling | 1. Replace existing A/C unit with New one | New A/C | Existing | ccASHP + Elec backup + Air Handler | Time of Natural Replacement (TNR) of the A/C unit | New A/C + Control | ccASHP + Control + Air Handler + Panel Upgrade* | (ccASHP +Air Handler + Panel Upgrade*) - New A/C | 1.5 | 5116.7857 | N/A | 497.05 | 5613.8357 | 7450 | 497.05 | 2955.8824 | N/A | 5641.7407 | 16544.6731 | 13588.7907 | 9059.1938 | 10930.8374 | 7974.955 | 7287.2249 | 5316.6367 | 4D
[10 empty] | 2 | 5089.3869 | N/A | 497.05 | 5586.4369 | 7465.7812 | 497.05 | 2955.8824 | N/A | 5641.7407 | 16560.4543 | 13604.572 | 6802.286 | 10974.0174 | 8018.1351 | 5487.0087 | 4009.0675
[10 empty] | 2.5 | 5142.8125 | N/A | 497.05 | 5639.8625 | 8411.2857 | 497.05 | 2955.8824 | N/A | 5641.7407 | 17505.9588 | 14550.0765 | 5820.0306 | 11866.0963 | 8910.214 | 4746.4385 | 3564.0856
|  | 2. Add cooling (new A/C). | New A/C | Existing | [5 empty] | 3 | 6184.3529 | N/A | 497.05 | 6681.4029 | 8724.9667 | 497.05 | 2955.8824 | N/A | 5641.7407 | 17819.6398 | 14863.7574 | 4954.5858 | 11138.2368 | 8182.3545 | 3712.7456 | 2727.4515
[10 empty] | 5 | 6000 | N/A | 497.05 | 6497.05 | 9912.5 | 497.05 | 2955.8824 | N/A | 5641.7407 | 19007.1731 | 16051.2907 | 3210.2581 | 12510.1231 | 9554.2407 | 2502.0246 | 1910.8481
[10 empty] | Grand Total | 5282.8468 | N/A | 497.05 | 5779.8968 | 8178.0658 | 497.05 | 2955.8824 | N/A | 5641.7407 | 17272.7389 | 14316.8565 | 5969.2709 | 11492.8421 | 8536.9598 | 4747.0885 | 3505.6179
| heating | 3. Replace heating and it had cooling in place | Existing A/C | New Furnace | ccASHP + Elec backup + Air Handler | Time of Natural Replacement (TNR) of the space heating system | New Furnace + Control | ccASHP + Control + Air Handler + Panel Upgrade* | (ccASHP +Air Handler + Panel Upgrade*) - New Furnace | 1.5 | N/A | 5267.2619 | 497.05 | 5764.3119 | 7450 | 497.05 | 2955.8824 | N/A | 5641.7407 | 16544.6731 | 13588.7907 | 9059.1938 | 10780.3612 | 7824.4788 | 7186.9075 | 5216.3192
[10 empty] | 2 | N/A | 5267.2619 | 497.05 | 5764.3119 | 7465.7812 | 497.05 | 2955.8824 | N/A | 5641.7407 | 16560.4543 | 13604.572 | 6802.286 | 10796.1424 | 7840.2601 | 5398.0712 | 3920.13
[10 empty] | 2.5 | N/A | 5267.2619 | 497.05 | 5764.3119 | 8411.2857 | 497.05 | 2955.8824 | N/A | 5641.7407 | 17505.9588 | 14550.0765 | 5820.0306 | 11741.6469 | 8785.7646 | 4696.6588 | 3514.3058
|  | 4. Replace heating and it didn't have cooling in place (add cooling) | Didn’t have cooling | [6 empty] | 3 | N/A | 5267.2619 | 497.05 | 5764.3119 | 8724.9667 | 497.05 | 2955.8824 | N/A | 5641.7407 | 17819.6398 | 14863.7574 | 4954.5858 | 12055.3279 | 9099.4455 | 4018.4426 | 3033.1485
[10 empty] | 5 | N/A | 5267.2619 | 497.05 | 5764.3119 | 9912.5 | 497.05 | 2955.8824 | N/A | 5641.7407 | 19007.1731 | 16051.2907 | 3210.2581 | 13242.8612 | 10286.9788 | 2648.5722 | 2057.3958
[10 empty] | Grand Total | N/A | 5267.2619 | 497.05 | 5764.3119 | 8178.0658 | 497.05 | 2955.8824 | N/A | 5641.7407 | 17272.7389 | 14316.8565 | 5969.2709 | 11508.427 | 8552.5446 | 4789.7305 | 3548.2599
| heating and cooling | 5. Customer is looking to replace heating and cooling | New A/C | New Furnace | ccASHP + Elec backup + Air Handler | Time of Natural Replacement (TNR) of the A/C unit and the space heating system | New A/C + New Furnace + Control | ccASHP + Control + Air Handler + Panel Upgrade* | (ccASHP +Air Handler + Panel Upgrade*) - (New A/C + New Furnace ) | 1.5 | 5116.7857 | 5267.2619 | 497.05 | 10881.0976 | 7450 | 497.05 | 2955.8824 | N/A | 5641.7407 | 16544.6731 | 13588.7907 | 9059.1938 | 5663.5755 | 2707.6931 | 3775.717 | 1805.1287
[10 empty] | 2 | 5089.3869 | 5267.2619 | 497.05 | 10853.6988 | 7465.7812 | 497.05 | 2955.8824 | N/A | 5641.7407 | 16560.4543 | 13604.572 | 6802.286 | 5706.7555 | 2750.8732 | 2853.3778 | 1375.4366
[10 empty] | 2.5 | 5142.8125 | 5267.2619 | 497.05 | 10907.1244 | 8411.2857 | 497.05 | 2955.8824 | N/A | 5641.7407 | 17505.9588 | 14550.0765 | 5820.0306 | 6598.8344 | 3642.9521 | 2639.5338 | 1457.1808
[10 empty] | 3 | 6184.3529 | 5267.2619 | 497.05 | 11948.6648 | 8724.9667 | 497.05 | 2955.8824 | N/A | 5641.7407 | 17819.6398 | 14863.7574 | 4954.5858 | 5870.9749 | 2915.0926 | 1956.9916 | 971.6975
[10 empty] | 5 | 6000 | 5267.2619 | 497.05 | 11764.3119 | 9912.5 | 497.05 | 2955.8824 | N/A | 5641.7407 | 19007.1731 | 16051.2907 | 3210.2581 | 7242.8612 | 4286.9788 | 1448.5722 | 857.3958
[10 empty] | Grand Total | 5282.8468 | 5267.2619 | 497.05 | 11047.1587 | 8178.0658 | 497.05 | 2955.8824 | N/A | 5641.7407 | 17272.7389 | 14316.8565 | 5969.2709 | 6225.5802 | 3269.6979 | 2534.8385 | 1293.3679
HP sizing option |  | Baseline Definition | A/C unit | Furnace | heat pump | Masure Category | Baseline cost defition | Eff. case. Cost definition | Incremental cost definition | HP Tonnage | New A/C + Installation | New Furnace + Installation | Control | Baseline Total cost | ccASH + Installation | Control | Panel Upgrade | Furnace | Air Handler | Eff. Case Total cost with Panel Upgrade | Eff. Case Total cost no Panel Upgrade | Eff. Case Total cost no Panel Upgrade ($/ton) | Incremental cost with Panel Upgrade (CAD $) | Incremental cost no Panel Upgrade (CAD $) | Incremental cost with Panel Upgrade (CAD $/tonne) | Incremental cost no Panel Upgrade (CAD $/tonne) | HP sizing option
Notes:
*Panel upgrade if applicable
Average incremetnal cost per HP sizing Option
[24 empty] | HP sizing option | Incremental cost with Panel Upgrade (CAD $/ton) | Incremental cost no Panel Upgrade (CAD $/ton)
[24 empty] | 4A | 2377.5574 | 1136.0868
[24 empty] | 4B | 2377.5574 | 1136.0868
[24 empty] | 4C | 3129.188 | 1887.7174
[24 empty] | 4D | 4023.8858 | 2782.4152

## IncremCost-CentralSystem_ASHP
|  | Heat pump | Count of UID | Average of Adjusted Total cost (equipment and labour) | Average of Adjusted Equipment cost | Average of Adjusted Labour Cost | Install cost % over total cost
|  | 1.5 | 3 | 8166.6667 | 5612.5 | 1637.5 | 20.05%
|  | 2 | 22 | 7299.0909 | 4879.4111 | 2141.6444 | 29.34%
|  | 2.5 | 3 | 5566.6667 | 3833.3333 | 1733.3333 | 31.14%
|  | 3 | 12 | 9318.5 | 6428.9167 | 2889.5833 | 31.01%
|  | Grand Total | 40 | 7840.05 | 5362.8971 | 2334.2743 | 29.77%
28.26%
|  | New A/C cost | Count of UID | Average of Adjusted Total cost (equipment and labour) | Average of Adjusted Equipment cost | Average of Adjusted Labour Cost | Install cost % over total cost
|  | 1.5 | 14 | 5116.7857 | 3382.3077 | 1674.2308 | 32.72%
|  | 2 | 62 | 5089.3869 | 3511.9179 | 1555.9836 | 30.57%
|  | 2.5 | 16 | 5142.8125 | 3503 | 1529.3333 | 29.74%
|  | 3 | 17 | 6184.3529 | 4024.3529 | 2160 | 34.93%
|  | 3.5 | 1 | 5800 | 3500 | 2300 | 39.66%
|  | 4 | 1 | 6000 | 900 | 5100 | 85%
|  | Grand Total | 111 | 5282.8468 | 3551.4444 | 1701.2963 | 33.52%
|  | Furnace | Average of Adjusted Total cost (equipment and labour) | Average of Adjusted Equipment cost | Average of Adjusted Labour Cost | Install cost % over total cost
|  | 42 | 5267.2619 | 3587.6316 | 1534.0789 | 29.12%
|  | Control Cost | Count of UID | Average of Total cost | Average of Thermostat equipment cost | Average of Thermostat labour cost | Install cost % over total cost
|  | Wired | 50 | 477.86 | 325.2083 | 176.234 | 36.88%
|  | Wireless | 10 | 593 | 493.75 | 282.8571 | 47.7%
|  | Grand Total | 60 | 497.05 | 349.2857 | 190.0556 | 42.29%
|  | Air Handler | Average of Adjusted Total cost (equipment and labour) | Average of Adjusted Equipment cost | Average of Adjusted Labour Cost | Install cost % over total cost
|  | 27 | 5641.7407 | 3790.6296 | 1851.1111 | 32.81%
|  | Electrical Panel Upgrade | Average of Total Cost | Average of Average panel upgrade equipment cost | Average of Average panel upgrade labour cost | Install cost % over total cost
|  | 17 | 2955.8824 | 1789.7059 | 1166.1765 | 39.45%
|  |  | Reference- do not deleted | [7 empty] | Average of Adjusted Total cost (equipment and labour) | Average of Adjusted Total cost (equipment and labour) | Average of Total cost |  | Average of Adjusted Total cost (equipment and labour) | Average of Total cost | Average of Total Cost | Average of Adjusted Total cost (equipment and labour) | Average of Adjusted Total cost (equipment and labour)
| Baseline Definition |  | Baseline equipment |  | Efficient equipment | [5 empty] | Baseline cost |  |  |  | Eff. Case cost | [6 empty] | Incremental cost
HP sizing option | The customer is interested in? | Baseline Description | A/C unit | Furnace | heat pump | Masure Category | Baseline cost defition | Eff. case. Cost definition | Incremental cost definition | HP Tonnage | New A/C + Installation | New Furnace + Installation | Control + installation | Baseline Total cost | ccASH + Installation | Control + installation | Panel Upgrade + installation | New Furnace + Installation | Air Handler + installation | Eff. Case Total cost with Panel Upgrade | Eff. Case Total cost no Panel Upgrade | Incremental cost with Panel Upgrade (CAD $) | Incremental cost no Panel Upgrade (CAD $) | Incremental cost with Panel Upgrade (CAD $/tonne) | Incremental cost no Panel Upgrade (CAD $/tonne) | HP sizing option
4A | cooling | 1. Replace existing A/C unit with New one | New A/C | Existing | ccASHP | Time of Natural Replacement (TNR) of the A/C unit | New A/C + Control | ccASHP + Control + Panel Upgrade* | (ccASHP + Panel Upgrade*) - New A/C | 1.5 | 5116.7857 | N/A | 497.05 | 5613.8357 | 8166.6667 | 497.05 | 2955.8824 | N/A | N/A | 11619.599 | 8663.7167 | 6005.7633 | 3049.881 | 4003.8422 | 2033.254 | 4A
[10 empty] | 2 | 5089.3869 | N/A | 497.05 | 5586.4369 | 7299.0909 | 497.05 | 2955.8824 | N/A | N/A | 10752.0233 | 7796.1409 | 5165.5863 | 2209.704 | 2582.7932 | 1104.852
[10 empty] | 2.5 | 5142.8125 | N/A | 497.05 | 5639.8625 | 5566.6667 | 497.05 | 2955.8824 | N/A | N/A | 9019.599 | 6063.7167 | 3379.7365 | 423.8542 | 1351.8946 | 169.5417
[10 empty] | 3 | 6184.3529 | N/A | 497.05 | 6681.4029 | 9318.5 | 497.05 | 2955.8824 | N/A | N/A | 12771.4324 | 9815.55 | 6090.0294 | 3134.1471 | 2030.0098 | 1044.7157
[10 empty] | Grand Total | 5282.8468 | N/A | 497.05 | 5880.3845 | 7840.05 | 497.05 | 2955.8824 | N/A | N/A | 11040.6634 | 8084.7811 | 5160.2789 | 2204.3965 | 2492.1349 | 1088.0908
4B | cooling | 1. Replace existing A/C unit with New one | New A/C | Existing | ccASHP | Time of Natural Replacement (TNR) of the A/C unit | New A/C + Control | ccASHP + Control + Panel Upgrade* | (ccASHP + Panel Upgrade*) - New A/C | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | 5160.2789 | 2204.3965 | 2492.1349 | 1088.0908 | 4B
|  | 2. Add cooling (new A/C). | New A/C | Existing
| heating and cooling | 5. Customer is looking to replace heating and cooling | New A/C | New Furnace | ccASHP + New Furnace | Time of Natural Replacement (TNR) of the A/C unit and the space heating system | New A/C + New Furnace + Control | ccASHP + New Furnace + Control + Panel Upgrade* | (ccASHP + Panel Upgrade*) - New A/C | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | 5160.2789 | 2204.3965 | 2492.1349 | 1088.0908
4C | cooling | 1. Replace existing A/C unit with New one | New A/C | Existing | ccASHP | Time of Natural Replacement (TNR) of the A/C unit | New A/C + Control | ccASHP + Control + Panel Upgrade* | (ccASHP + Panel Upgrade*) - New A/C | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | 5160.2789 | 2204.3965 | 2492.1349 | 1088.0908 | 4C
|  | 2. Add cooling (new A/C). | New A/C | Existing
| heating | 3. Replace heating and it had cooling in place | Existing A/C | New Furnace | ccASHP + New Furnace | Time of Natural Replacement (TNR) of the space heating system | New Furnace + Control | ccASHP + New Furnace + Control + Panel Upgrade* | ccASHP +Panel Upgrade* | 1.5 | N/A | 5267.2619 | 497.05 | 5764.3119 | 8166.6667 | 497.05 | 2955.8824 | 5267.2619 | N/A | 16886.8609 | 13930.9786 | 11122.549 | 8166.6667 | 7415.0327 | 5444.4444
[10 empty] | 2 | N/A | 5267.2619 | 497.05 | 5764.3119 | 7299.0909 | 497.05 | 2955.8824 | 5267.2619 | N/A | 16019.2852 | 13063.4028 | 10254.9733 | 7299.0909 | 5127.4866 | 3649.5455
[10 empty] | 2.5 | N/A | 5267.2619 | 497.05 | 5764.3119 | 5566.6667 | 497.05 | 2955.8824 | 5267.2619 | N/A | 14286.8609 | 11330.9786 | 8522.549 | 5566.6667 | 3409.0196 | 2226.6667
|  | 4. Replace heating and it didn't have cooling in place (add cooling) | Didn’t have cooling | [6 empty] | 3 | N/A | 5267.2619 | 497.05 | 5764.3119 | 9318.5 | 497.05 | 2955.8824 | 5267.2619 | N/A | 18038.6943 | 15082.8119 | 12274.3824 | 9318.5 | 4091.4608 | 3106.1667
[10 empty] | Grand Total | N/A | 5267.2619 | 497.05 | 5764.3119 | 7840.05 | 497.05 | 2955.8824 | 5267.2619 | N/A | 16307.9253 | 13352.043 | 10543.6134 | 7587.7311 | 5010.7499 | 3606.7058
| heating and cooling | 5. Customer is looking to replace heating and cooling | New A/C | New Furnace | ccASHP + New Furnace | Time of Natural Replacement (TNR) of the A/C unit and the space heating system | New A/C + New Furnace + Control | ccASHP + New Furnace + Control + Panel Upgrade* | (ccASHP + Panel Upgrade*) - New A/C | Same incremental cost as 4A | Same incremental cost as 4A | N/A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | Same incremental cost as 4A | 5160.2789 | 2204.3965 | 2492.1349 | 1088.0908
4D | cooling | 1. Replace existing A/C unit with New one | New A/C | Existing | ccASHP + Elec backup + Air Handler | Time of Natural Replacement (TNR) of the A/C unit | New A/C + Control | ccASHP + Control + Air Handler + Panel Upgrade* | (ccASHP +Air Handler + Panel Upgrade*) - New A/C | 1.5 | 5116.7857 | N/A | 497.05 | 5613.8357 | 8166.6667 | 497.05 | 2955.8824 | N/A | 5641.7407 | 17261.3398 | 14305.4574 | 11647.504 | 8691.6217 | 7765.0027 | 5794.4145 | 4D
[10 empty] | 2 | 5089.3869 | N/A | 497.05 | 5586.4369 | 7299.0909 | 497.05 | 2955.8824 | N/A | 5641.7407 | 16393.764 | 13437.8816 | 10807.3271 | 7851.4447 | 5403.6635 | 3925.7224
[10 empty] | 2.5 | 5142.8125 | N/A | 497.05 | 5639.8625 | 5566.6667 | 497.05 | 2955.8824 | N/A | 5641.7407 | 14661.3398 | 11705.4574 | 9021.4773 | 6065.5949 | 3608.5909 | 2426.238
|  | 2. Add cooling (new A/C). | New A/C | Existing | [5 empty] | 3 | 6184.3529 | N/A | 497.05 | 6681.4029 | 9318.5 | 497.05 | 2955.8824 | N/A | 5641.7407 | 18413.1731 | 15457.2907 | 11731.7702 | 8775.8878 | 3910.5901 | 2925.2959
[10 empty] | Grand Total | 5282.8468 | N/A | 497.05 | 5880.3845 | 7840.05 | 497.05 | 2955.8824 | N/A | 5641.7407 | 16682.4042 | 13726.5218 | 10802.0196 | 7846.1373 | 5171.9618 | 3767.9177
| heating | 3. Replace heating and it had cooling in place | Existing A/C | New Furnace | ccASHP + Elec backup + Air Handler | Time of Natural Replacement (TNR) of the space heating system | New Furnace + Control | ccASHP + Control + Air Handler + Panel Upgrade* | (ccASHP +Air Handler + Panel Upgrade*) - New Furnace | 1.5 | N/A | 5267.2619 | 497.05 | 5764.3119 | 8166.6667 | 497.05 | 2955.8824 | N/A | 5641.7407 | 17261.3398 | 14305.4574 | 11497.0279 | 8541.1455 | 7664.6852 | 5694.097
[10 empty] | 2 | N/A | 5267.2619 | 497.05 | 5764.3119 | 7299.0909 | 497.05 | 2955.8824 | N/A | 5641.7407 | 16393.764 | 13437.8816 | 10629.4521 | 7673.5697 | 5314.726 | 3836.7849
[10 empty] | 2.5 | N/A | 5267.2619 | 497.05 | 5764.3119 | 5566.6667 | 497.05 | 2955.8824 | N/A | 5641.7407 | 14661.3398 | 11705.4574 | 8897.0279 | 5941.1455 | 3558.8111 | 2376.4582
|  | 4. Replace heating and it didn't have cooling in place (add cooling) | Didn’t have cooling | [6 empty] | 3 | N/A | 5267.2619 | 497.05 | 5764.3119 | 9318.5 | 497.05 | 2955.8824 | N/A | 5641.7407 | 18413.1731 | 15457.2907 | 12648.8612 | 9692.9788 | 4216.2871 | 3230.9929
[10 empty] | Grand Total | N/A | 5267.2619 | 497.05 | 5764.3119 | 7840.05 | 497.05 | 2955.8824 | N/A | 5641.7407 | 16682.4042 | 13726.5218 | 10918.0922 | 7962.2099 | 5188.6274 | 3784.5833
| heating and cooling | 5. Customer is looking to replace heating and cooling | New A/C | New Furnace | ccASHP + Elec backup + Air Handler | Time of Natural Replacement (TNR) of the A/C unit and the space heating system | New A/C + New Furnace + Control | ccASHP + Control + Air Handler + Panel Upgrade* | (ccASHP +Air Handler + Panel Upgrade*) - (New A/C + New Furnace ) | 1.5 | 5116.7857 | 5267.2619 | 497.05 | 10881.0976 | 8166.6667 | 497.05 | 2955.8824 | N/A | 5641.7407 | 17261.3398 | 14305.4574 | 6380.2421 | 3424.3598 | 4253.4948 | 2282.9065
[10 empty] | 2 | 5089.3869 | 5267.2619 | 497.05 | 10853.6988 | 7299.0909 | 497.05 | 2955.8824 | N/A | 5641.7407 | 16393.764 | 13437.8816 | 5540.0652 | 2584.1828 | 2770.0326 | 1292.0914
[10 empty] | 2.5 | 5142.8125 | 5267.2619 | 497.05 | 10907.1244 | 5566.6667 | 497.05 | 2955.8824 | N/A | 5641.7407 | 14661.3398 | 11705.4574 | 3754.2154 | 798.333 | 1501.6861 | 319.3332
[10 empty] | 3 | 6184.3529 | 5267.2619 | 497.05 | 11948.6648 | 9318.5 | 497.05 | 2955.8824 | N/A | 5641.7407 | 18413.1731 | 15457.2907 | 6464.5082 | 3508.6259 | 2154.8361 | 1169.542
[10 empty] | Grand Total | 5282.8468 | 5267.2619 | 497.05 | 11147.6464 | 7840.05 | 497.05 | 2955.8824 | N/A | 5641.7407 | 16682.4042 | 13726.5218 | 5534.7577 | 2578.8754 | 2670.0124 | 1265.9683
HP sizing option |  | Baseline Definition | A/C unit | Furnace | heat pump | Masure Category | Baseline cost defition | Eff. case. Cost definition | Incremental cost definition | HP Tonnage | New A/C + Installation | New Furnace + Installation | Control | Baseline Total cost | ccASH + Installation | Control | Panel Upgrade | Furnace | Air Handler | Eff. Case Total cost with Panel Upgrade | Eff. Case Total cost no Panel Upgrade | Incremental cost with Panel Upgrade (CAD $) | Incremental cost no Panel Upgrade (CAD $) | Incremental cost with Panel Upgrade (CAD $/tonne) | Incremental cost no Panel Upgrade (CAD $/tonne) | HP sizing option
Notes:
*Panel upgrade if applicable
Average incremetnal cost per HP sizing Option
[23 empty] | HP sizing option | Incremental cost with Panel Upgrade (CAD $/ton) | Incremental cost no Panel Upgrade (CAD $/ton)
[23 empty] | 4A | 2492.1349 | 1088.0908
[23 empty] | 4B | 2492.1349 | 1088.0908
[23 empty] | 4C | 3331.6733 | 1927.6292
[23 empty] | 4D | 4343.5339 | 2939.4897

## Central System ccASHP
UID | Tonnage | AHRI Number | Make | Model | New Furnace | Rated heating capacity at 8.3C (47F) in btu/hr | Total cost (equipment and labour) | Equipment cost | Labour Cost | Model line up | check (total - (equipment + labour)) | Correction Action on checks<>0 | Adjusted Total cost (equipment and labour) | Adjusted Equipment cost | Adjusted Labour Cost
OCLT00083 | 2 | 207691814 | Kerr | KCD24SA-1 |  | 24000 | 8900 | 4450 | 4450 | 02_Midline unit | 0 |  | 8900 | 4450 | 4450
OCLT00301 | 2 | 211911381 | MITS AIR | MAC-24HWDN1-MN0 |  | 25000 | 7179 | 4385 | 2794 | 02_Midline unit | 0 |  | 7179 | 4385 | 2794
OCLT00301 | 2.5 | 211911385 | MITS AIR | MAC-36HWFN1-M |  | 33000 | 7679 | 4985 | 2694 | 01_Standard unit | 0 |  | 7679 | 4985 | 2694
OCLT00301 | 3 | 211911386 | MITS AIR | MAC-36HWFN1-M |  | 39000 | 8279 | 5744 | 2535 | 02_Midline unit | 0 |  | 8279 | 5744 | 2535
OCLT00302 | 3 | 217315165 | CARRIER | CAW**3617AL* | 59TP6C060V17**16 | 38500 | 14500 | 5600 | 1750 | 02_Midline unit | 7150 | Adjust the equipment cost | 14500 | 12750 | 1750
OCLT00409 | 2 |  | Keeprite | DLCURA24HH |  | 26000 | 6000 | 4000 | 2000 | 01_Standard unit | 0 |  | 6000 | 4000 | 2000
OCLT00868 | 2 | 212396763 | Trane | H,TG34936+TD |  | 32400 | 9000 | 6500 | 2500 | 02_Midline unit | 0 |  | 9000 | 6500 | 2500
OCLT00868 | 2 | 214075408 | RUUD | RCFZ2417MTANM | R802V0504A17UHN | 22600 | 8500 | 6000 | 2500 | 02_Midline unit | 0 |  | 8500 | 6000 | 2500
OCLT00918 | 3 |  | York | Hmh |  | 36000 | 9500 | 11500 | 1500 | 02_Midline unit | -3500 | Adjust the equipment cost | 9500 | 8000 | 1500
OCLT00918 | 3 |  | Moovair | Dma36 |  | 40000 | 9500 | 11500 | 1500 | 02_Midline unit | -3500 | Adjust the equipment cost | 9500 | 8000 | 1500
OCLT00918 | 2.5 |  | Moovair | Dma30 |  | 33000 | 8500 | 10500 | 1500 | 02_Midline unit | -3500 | Adjust the equipment cost | 8500 | 7000 | 1500
OCLT00924 | 3 | 212361366 | TOSOT | TCAT36F/NAA |  | 36000 | 9000 | 7000 | 2000 | 02_Midline unit | 0 |  | 9000 | 7000 | 2000
OCLT00924 | 1.5 | 207203056 | KEEPRITE | EA*4X25L17A* | *96VTN0401410A* | 18000 | 11000 | 9000 | 2000 | 02_Midline unit | 0 |  | 11000 | 9000 | 2000
OCLT01251 | 2 |  | KINGHOME | KU36UHO |  | 24000 | 8000 | 5000 | 2000 | 02_Midline unit | 1000 | Adjust the equipment cost | 8000 | 6000 | 2000
OCLT01251 | 3 |  | KINGHOME | KU36UHO |  | 36000 | 10000 | 5500 | 2500 | 02_Midline unit | 2000 | Adjust the equipment cost | 10000 | 7500 | 2500
OCLT02096 | 2 |  | Direct Air | DIRM-24MAGICPRO20-OU |  | 25000 | 9500 | 6500 | 3000 | 02_Midline unit | 0 |  | 9500 | 6500 | 3000
OCLT02096 | 2.5 |  | Direct Air | DIRM-30MAGICPRO20-OU |  | 33000 | 11000 | 8000 | 3000 | 01_Standard unit | 0 |  | 11000 | 8000 | 3000
OCLT02246 | 3 |  | kingsmen | KU36UHO |  | 35000 | 7800 | 4500 | 3300 | 02_Midline unit | 0 |  | 7800 | 4500 | 3300
OCLT02246 | 5 |  | Kingsmen | KU60UHO |  | 58000 | 8900 | 5600 | 3300 | 02_Midline unit | 0 |  | 8900 | 5600 | 3300
OCLT02297 | 2 | 213608446 | BRYANT | H,PE20924+TD |  | 23000 | 9000 | 7500 | 1500 | 02_Midline unit | 0 |  | 9000 | 7500 | 1500
OCLT02297 | 3 | 213613860 | BRYANT | CDP36A15P+TD |  | 36200 | 10000 | 8500 | 1500 | 02_Midline unit | 0 |  | 10000 | 8500 | 1500
OCLT02297 | 3 | 212633393 | GREE | CDP36K15P |  | 32400 | 9250 | 7750 | 1500 | 01_Standard unit | 0 |  | 9250 | 7750 | 1500
OCLT02499 | 2 |  | Raheem | R98MV ENDEAVOR |  | 55000 | 8000 | 5600 | 2400 | 02_Midline unit | 0 |  | 8000 | 5600 | 2400
OCLT02499 | 3 |  | Whether King | W962W VERSUS |  | 90000 | 6980 | 3530 | 3500 | 02_Midline unit | -50 | Adjust the equipment cost | 6980 | 3480 | 3500
OCLT02518 | 2.5 |  | Mitsair | MOD30U-30HRN1-MR0 |  | 36000 | 7200 | 5700 | 1500 | 01_Standard unit | 0 |  | 7200 | 5700 | 1500
OCLT02666 | 3 |  | York | Hmc |  | 40000 | 10000 | 100 | 10000 | 02_Midline unit | -100 | Adust both labor and equipment cost | 10000 | 9000 | 1000
OCLT02666 | 3 |  | Napoleon | NTc |  | 35000 | 10000 | 100 | 10000 | 02_Midline unit | -100 | Adust both labor and equipment cost | 10000 | 9000 | 1000
OCLT02942 | 3 | 213153602 | NAPOLEON | HG34936 |  | 32400 | 9800 | 7800 | 2000 | 02_Midline unit | 0 |  | 9800 | 7800 | 2000
OCLT03044 | 3 | 214053821 | BOSCH | BOVC-36HDN1-M20G |  | 34200 | 7000 | 5200 | 1800 | 02_Midline unit | 0 |  | 7000 | 5200 | 1800
OCLT03220 | 2 |  | Keeprite | DLCURAH24ABK |  | 26000 | 5500 | 4200 | 1300 | 01_Standard unit | 0 |  | 5500 | 4200 | 1300
OCLT03443 | 2 |  | Lg | DLCSRBH24AAK |  | 22800 | 7500 | 5000 | 2500 | 02_Midline unit | 0 |  | 7500 | 5000 | 2500
OCLT03443 | 2 |  | Keeprite | CSH624GKA |  | 24000 | 8000 | 5500 | 2500 | 02_Midline unit | 0 |  | 8000 | 5500 | 2500
OCLT03755 | 2 |  | Proair /Midea | P30-24HFN1 |  | 25000 | 4500 | 3500 | 1000 | 01_Standard unit | 0 |  | 4500 | 3500 | 1000
OCLT03755 | 2 |  | Daikin | RZR24TBVJUA |  | 24000 | 6500 | 5000 | 1500 | 01_Standard unit | 0 |  | 6500 | 5000 | 1500
OCLT03755 | 2 |  | Directair | DIRM-24 |  | 25000 | 4500 | 3500 | 1000 | 01_Standard unit | 0 |  | 4500 | 3500 | 1000
OCLT03787 | 2.5 |  | Trane | 4TXD2036A10NUA |  | 32400 | 8500 | 6500 | 2000 | 02_Midline unit | 0 |  | 8500 | 6500 | 2000
OCLT03977 | 2.5 |  | Daikin | DZ6VSA361E |  | 34200 | 9000 | 7000 | 2000 | 02_Midline unit | 0 |  | 9000 | 7000 | 2000
OCLT03977 | 2 |  | Goodman | GSZB402410 |  | 22000 | 7000 | 5500 | 1500 | 02_Midline unit | 0 |  | 7000 | 5500 | 1500
OCLT04604 | 3 | 211644151 | GREE | GCAT36*/NAA |  | 36000 | 7000 | 5000 | 2000 | 01_Standard unit | 0 |  | 7000 | 5000 | 2000
OCLT04874 | 2 |  | GE | AUH2436ZGDA |  | 24000 | 7600 | 5400 | 2200 | 02_Midline unit | 0 |  | 7600 | 5400 | 2200
OCLT05058 | 2 | 217551305 | LENNOX | CK40HT-51/61C-**+TDR | SL297UH080NV60C* | 45000 | 8500 | 7500 | 1000 | 02_Midline unit | 0 |  | 8500 | 7500 | 1000
OCLT05058 | 3 | 217507700 | LENNOX | EL19KPV-060-230A** | ML296DF070XV48B* | 59500 | 6500 | 5500 | 1000 | 02_Midline unit | 0 |  | 6500 | 5500 | 1000
OCLT05076 | 3 | 215579817 | LENNOX | ML14KC1-018-230A** |  | 47500 | 10750 | 9250 | 1500 | 02_Midline unit | 0 |  | 10750 | 9250 | 1500
OCLT05076 | 5 | 216618944 | LENNOX | EL18KSLV-060-230A** |  | 47500 | 11750 | 9750 | 2000 | 02_Midline unit | 0 |  | 11750 | 9750 | 2000
OCLT05160 | 3 |  | Bosch | BOVC 36HDN1-M20G |  | 35400 | 9999 | 7999 | 2000 | 02_Midline unit | 0 |  | 9999 | 7999 | 2000
OCLT05160 | 2 |  | Panasonic | CU-HE24YAHK6 |  | 31000 | 8999 | 6999 | 2000 | 02_Midline unit | 0 |  | 8999 | 6999 | 2000
OCLT05160 | 2 |  | Lennox | EL22XPV-024-230A |  | 23600 | 9999 | 7999 | 2000 | 02_Midline unit | 0 |  | 9999 | 7999 | 2000
OCLT05250 | 3 |  | Keeprite | DLCURAH36ABK |  | 40000 | 6000 | 3000 | 1200 | 01_Standard unit | 1800 | Adjust the equipment cost | 6000 | 4800 | 1200
OCLT05566 | 3 | 212361362 | KINGHOME | KU36UHO |  | 36000 | 9488 | 8288 | 1200 | 01_Standard unit | 0 |  | 9488 | 8288 | 1200
OCLT05699 | 3 | 206414273 | TOSOT | TU36-24WADU |  | 35000 | 12000 | 6000 | 2000 | 02_Midline unit | 4000 | Adjust the equipment cost | 12000 | 10000 | 2000
OCLT05737 | 1.5 |  | Kepler | AZPN-18wd |  | 19000 | 6500 | 2500 | 3500 | 02_Midline unit | 500 | Adjust the equipment cost | 6500 | 3000 | 3500
OCLT06158 | 3 |  | King home | Ku24uho |  | 34000 | 6533 | 2500 | 1000 | 01_Standard unit | 3033 | Adjust the equipment cost | 6533 | 5533 | 1000
OCLT06158 | 2 |  | King home | Kd24uho |  | 23000 | 4588 | 2000 | 1000 | 01_Standard unit | 1588 | Adjust the equipment cost | 4588 | 3588 | 1000
OCLT06625 | 2 | 209270320 | ECO-AIR | MOD30-24HFN1-MW |  | 25000 | 6500 | 2500 | 4000 | 02_Midline unit | 0 |  | 6500 | 2500 | 4000
OCLT06625 | 2.5 | 211911385 | MITS AIR | MOD30U-30HFN1-MR0(X) |  | 33000 | 7000 | 3000 | 4000 | 01_Standard unit | 0 |  | 7000 | 3000 | 4000
OCLT06984 | 2 |  | Carrier | 38MURA |  | 26800 | 7400 | 7400 | 7400 | 02_Midline unit | -7400 | Adjust both labor and equipment cost | 7400 | 5000 | 2400
OCLT06984 | 2 |  | FUJITSU | AOUH |  | 25200 | 8000 | 8000 | 8000 | 02_Midline unit | -8000 | Adjust both labor and equipment cost | 8000 | 5600 | 2400
OCLT08057 | 3 | 212396767 | American Standard | 4TXD2036A10NU** |  | 32400 | 10000 | 8000 | 2000 | 02_Midline unit | 0 |  | 10000 | 8000 | 2000
OCLT08217 | 3 |  | TRANE | 4TX2036A10N0A |  | 26000 | 7500 | 5000 | 3000 | 02_Midline unit | -500 | Adjust the equipment cost | 7500 | 4500 | 3000
OCLT08217 | 5 |  | TRANE | 4TXD2060A10N0A |  | 50000 | 9000 | 6000 | 4000 | 02_Midline unit | -1000 | Adjust the equipment cost | 9000 | 5000 | 4000
OCLT08310 | 2 | 212101619 | DIRECT AIR | DIRM-24MAGICPRO20-OU |  | 25000 | 6500 | 4000 | 2500 | 01_Standard unit | 0 |  | 6500 | 4000 | 2500
OCLT08310 | 2 | 216618924 | LENNOX | EL18KSLV-024-230A** |  | 24000 | 7800 | 5300 | 2500 | 02_Midline unit | 0 |  | 7800 | 5300 | 2500
OCLT08310 | 3 | 216618935 | LENNOX | EL18KSLV-036-230A** |  | 34000 | 8800 | 6100 | 2700 | 02_Midline unit | 0 |  | 8800 | 6100 | 2700
OCLT08477 | 3 | 216618934 | LENNOX | EL18KSLV-036-230A** |  | 34000 | 7900 | 6625 | 1275 | 02_Midline unit | 0 |  | 7900 | 6625 | 1275
OCLT08477 | 2 | 216618925 | LENNOX | EL18KSLV-024-230A** |  | 24000 | 9000 | 7725 | 1275 | 02_Midline unit | 0 |  | 9000 | 7725 | 1275
OCLT08567 | 1.5 |  | moovair | DMA18HOS20230E7 |  | 19000 | 4850 | 2850 | 2000 | 01_Standard unit | 0 |  | 4850 | 2850 | 2000
OCLT08567 | 2 | 207706559 | moovair | DMA24HOS20230E7 |  | 24000 | 5240 | 3240 | 2000 | 01_Standard unit | 0 |  | 5240 | 3240 | 2000
OCLT08567 | 3 |  | moovair | DMA36HOS20230E7 |  | 40000 | 6170 | 4170 | 2000 | 01_Standard unit | 0 |  | 6170 | 4170 | 2000
OCLT09588 | 2 | 213386472 | SENVILLE | SENDC-24HF-OM |  | 24000 | 9000 | 5000 | 4000 | 02_Midline unit | 0 |  | 9000 | 5000 | 4000
OCLT09618 | 2 |  | lennox | ML17 |  | 24000 | 6200 | 3100 | 3100 | 01_Standard unit | 0 |  | 6200 | 3100 | 3100
OCLT09668 | 2 | 216618925 | LENNOX | EL18KSLV-024-230A** |  | 24000 | 7000 | 5500 | 1500 | 02_Midline unit | 0 |  | 7000 | 5500 | 1500
OCLT09668 | 3 | 216618934 | LENNOX | EL18KSLV-036-230A** |  | 34000 | 8000 | 6500 | 1500 | 02_Midline unit | 0 |  | 8000 | 6500 | 1500
OCLT09678 | 3 |  | Napoleon | WSEH2436 |  | 28000 | 7500 | 5000 | 1800 | 02_Midline unit | 700 | Adjust the equipment cost | 7500 | 5700 | 1800
OCLT09678 | 5 |  | Napoleon | WSEH4860 |  | 55000 | 10000 | 6500 | 1800 | 02_Midline unit | 1700 | Adjust the equipment cost | 10000 | 8200 | 1800
OCLT09680 | 2 |  | DAIKIN | DZ6VSA241EAB |  | 23000 | 9000 | 3000 | 6000 | 02_Midline unit | 0 |  | 9000 | 3000 | 6000
OCLT09680 | 3 |  | KINGHOME | KU36UHO |  | 36000 | 6000 | 2000 | 4000 | 01_Standard unit | 0 |  | 6000 | 2000 | 4000

## Central System ASHP
UID | Tonnage | AHRI Number | Make | Model | New Furnace | Rated heating capacity at 8.3C (47F) in btu/hr | Total cost (equipment and labour) | Equipment cost | Labour Cost | Model line up | check (total - (equipment + labour)) | Correction Action on checks<>0 | Adjusted Total cost (equipment and labour) | Adjusted Equipment cost | Adjusted Labour Cost
OCLT00083 | 2 |  | Payne | PH5SAN42400A |  | 24000 | 7200 | 3600 | 3600 | 01_Standard unit | 0 |  | 7200 | 3600 | 3600
OCLT01982 | 3 |  | Kinghome | Ku36uh0 |  | 28600 | 5000 | 4000 | 1000 | 02_Midline unit | 0 |  | 5000 | 4000 | 1000
OCLT02172 | 2 |  | Mitsubishi | SUZ-KA24NAHZ |  | 28000 | 11000 | 6600 | 2500 | 02_Midline unit | 1900 | Adjust the equipment cost | 11000 | 8500 | 2500
OCLT02172 | 3 |  | Mitsubishi | SUZ-KA36NAHZ |  | 40000 | 12000 | 7600 | 2500 | 02_Midline unit | 1900 | Adjust the equipment cost | 12000 | 9500 | 2500
OCLT02246 | 2 |  | Kinghome | KD24UHO |  | 23000 | 6300 | 3000 | 3300 | 01_Standard unit | 0 |  | 6300 | 3000 | 3300
OCLT02246 | 3 |  | Kinghome | KD36UHO |  | 28600 | 7600 | 4300 | 3300 | 01_Standard unit | 0 |  | 7600 | 4300 | 3300
OCLT02518 | 2.5 |  | Mitsair | MOD30U-30HRN1-MR0 |  | 36000 | 7200 | 5700 | 1500 | 02_Midline unit | 0 |  | 7200 | 5700 | 1500
OCLT03044 | 2 | 212528004 | Bladex | BX24-HP15ECO |  | 25600 | 3800 | 1800 | 2000 | 01_Standard unit | 0 |  | 3800 | 1800 | 2000
OCLT03432 | 3 |  | Lennox | EL17XP1 |  | 36000 | 5800 | 4600 | 1200 | 02_Midline unit | 0 |  | 5800 | 4600 | 1200
OCLT03755 | 2 |  | Pro Air/Midea | P15-24REFN1 |  | 24000 | 4000 | 3000 | 1000 | 01_Standard unit | 0 |  | 4000 | 3000 | 1000
OCLT04561 | 2 |  | omega | OMEGA 60 R410 H4.5 Omega |  | 24000 | 5000 | 3500 | 1499 | 01_Standard unit | 1 |  | 5000 | 3500 | 1499
OCLT04604 | 2 |  | Gree | Gud24 |  | 24000 | 5000 | 3000 | 2000 | 01_Standard unit | 0 |  | 5000 | 3000 | 2000
OCLT05051 | 2 |  | Keeprite | C5H3V |  | 60000 | 15000 | 10000 | 5000 | 01_Standard unit | 0 |  | 15000 | 10000 | 5000
OCLT05508 | 1.5 |  | Mitsubishi | MUZ-GS18NAH |  | 21600 | 6000 | 4000 | 2000 | 01_Standard unit | 0 |  | 6000 | 4000 | 2000
OCLT05566 | 2 | 210291119 | LENNOX | EL17XP1-024-230A** |  | 21600 | 14888 | 13288 | 1600 | 02_Midline unit | 0 |  | 14888 | 13288 | 1600
OCLT05566 | 3 | 210293516 | LENNOX | EL17XP1-036-230A** | SLP99UH090XV48C* | 33400 | 16888 | 15288 | 1600 | 02_Midline unit | 0 |  | 16888 | 15288 | 1600
OCLT06158 | 2 |  | Kinghome | Kd24uho |  | 23000 | 4830 | 2000 | 1000 | 01_Standard unit | 1830 |  | 4830 | 3830 | 1000
OCLT06158 | 3 |  | King home | Kd36uho |  | 34000 | 5459 | 2200 | 1000 | 01_Standard unit | 2259 |  | 5459 | 4459 | 1000
OCLT06747 | 2 |  | KEEPRITE | N4A4S24AKANBABAA |  | 23200 | 4500 | 3500 | 1000 | 02_Midline unit | 0 |  | 4500 | 3500 | 1000
OCLT06747 | 2 |  | ARMSTRONG | 4SCU16LE124P-51 |  | 24000 | 4200 | 3200 | 1000 | 02_Midline unit | 0 |  | 4200 | 3200 | 1000
OCLT06747 | 2.5 |  | ARMSTRONG | #4SCU16LE130P-50 |  | 24000 | 4500 | 3500 | 1000 | 01_Standard unit | 0 |  | 4500 | 3500 | 1000
OCLT06984 | 2 |  | CARRIER | 38MURA |  | 24000 | 7400 | 7400 | 7400 | 02_Midline unit | -7400 | Remove the equipment and labor cost and only used total cost | 7400
OCLT06984 | 2 |  | CARRIER | 38MURA |  | 24000 | 7400 | 7400 | 7400 | 02_Midline unit | -7400 |  | 7400
OCLT06984 | 2 |  | CARRIER | 38MURA |  | 24000 | 7400 | 7400 | 7400 | 02_Midline unit | -7400 |  | 7400
OCLT07009 | 2 |  | TEMPSTAR | CSH624GKA |  | 22800 | 12000 | 12000 | 12000 | 01_Standard unit | -12000 |  | 12000
OCLT07009 | 1.5 |  | TEMPSTAR | CSH618GKA |  | 17800 | 10000 | 10000 | 10000 | 01_Standard unit | -10000 |  | 10000
OCLT08098 | 2 |  | Trane | 5TWR4024A1000A |  | 24000 | 9880 | 8000 | 1880 | 01_Standard unit | 0 |  | 9880 | 8000 | 1880
OCLT08432 | 2.5 |  | Ducane | 4ac16l |  | 30000 | 5000 | 2300 | 2700 | 01_Standard unit | 0 |  | 5000 | 2300 | 2700
OCLT08432 | 2 |  | ducane | 4al16l024 |  | 24000 | 4800 | 2200 | 2600 | 02_Midline unit | 0 |  | 4800 | 2200 | 2600
OCLT08432 | 3 |  | Ducane | 4ac16l036 |  | 36000 | 5200 | 2400 | 2800 | 02_Midline unit | 0 |  | 5200 | 2400 | 2800
OCLT08477 | 1.5 | 215685715 | LENNOX | EL16KP1-018-230A** | EL297UH045XV36B* | 17700 | 8500 | 7225 | 1275 | 01_Standard unit | 0 |  | 8500 | 7225 | 1275
OCLT08477 | 2 | 215710393 | LENNOX | EL16KP1-024-230A** | EL297UH045XV36B* | 22000 | 8825 | 7550 | 1275 | 01_Standard unit | 0 |  | 8825 | 7550 | 1275
OCLT08477 | 3 | 215744792 | LENNOX | EL16KP1-036-230A** | EL297UH070XV36B* | 33800 | 9875 | 8600 | 1275 | 01_Standard unit | 0 |  | 9875 | 8600 | 1275
OCLT08578 | 3 | 160585 |  |  |  |  | 8000 | 4000 | 4000 | 01_Standard unit | 0 |  | 8000 | 4000 | 4000
OCLT08578 | 3 | 160585 |  |  |  |  | 10000 | 5000 | 5000 | 02_Midline unit | 0 |  | 10000 | 5000 | 5000
OCLT08891 | 3 | 206840825 |  | EL18XPV-036-230A** | ML296UH045XV36B* | 32800 | 21000 | 11000 | 1000 | 02_Midline unit | 9000 | Adjust the labor cost | 21000 | 11000 | 10000
OCLT09618 | 2 |  | Lennox | ML18 |  | 24000 | 6999 | 4699 | 2300 | 01_Standard unit | 0 |  | 6999 | 4699 | 2300
OCLT09668 | 2 |  | Kinghome | KD24UHO |  | 23000 | 4450 | 3450 | 1000 | 01_Standard unit | 0 |  | 4450 | 3450 | 1000
OCLT09668 | 3 |  | Kinghome | KD36UHO |  | 28600 | 5000 | 4000 | 1000 | 01_Standard unit | 0 |  | 5000 | 4000 | 1000
OCLT09680 | 2 |  | KINGHOME | KD24UHO |  | 23000 | 5708 | 1712.4 | 3995.6 | 01_Standard unit | 0 |  | 5708 | 1712.4 | 3995.6

## Central system AC
UID | Tonnage | AHRI Number | Make | Model | Cooling capacity at 95F in btu/hr | Total cost (equipment and labour) | Equipment cost | Labour Cost | Model line up | check (total - (equipment + labour)) | Correction Action on checks<>0 | Adjusted Total cost (equipment and labour) | Adjusted Equipment cost | Adjusted Labour Cost
OCLT00083 | 2 |  | Air Ease | 4SCU13LB124 | 24000 | 6500 | 3250 | 3250 | 02_Midline unit | 0 |  | 6500 | 3250 | 3250
OCLT00302 | 2 |  | CARRIER | 24SCB424 | 24000 | 4800 | 2100 | 1350 | 01_Standard unit | 1350 | Adjust the equipment cost | 4800 | 3450 | 1350
OCLT00409 | 2 |  | Keeprite | N4A4024 | 24000 | 4000 | 2000 | 2000 | 01_Standard unit | 0 |  | 4000 | 2000 | 2000
OCLT00715 | 2 |  | Lennox | ML14XC1 | 24000 | 4800 | 3200 | 1600 | 01_Standard unit | 0 |  | 4800 | 3200 | 1600
OCLT00868 | 2 |  | Trane | 5TTR3024A1000A | 24000 | 5100 | 3600 | 1500 | 03_Premium unit | 0 |  | 5100 | 3600 | 1500
OCLT00868 | 2 |  | RUUD | RA13NZ24AJ1NA | 24000 | 4500 | 3000 | 1500 | 02_Midline unit | 0 |  | 4500 | 3000 | 1500
OCLT00868 | 2 |  | Weatherking | WA13NZ18AJ1NA | 24000 | 3800 | 2300 | 1500 | 01_Standard unit | 0 |  | 3800 | 2300 | 1500
OCLT01251 | 2 |  | Lennox | ML14XC1 | 24000 | 3800 | 2000 | 1000 | 01_Standard unit | 800 | Adjust the equipment cost | 3800 | 2800 | 1000
OCLT01251 | 2.5 |  | Lennox | ML14XC1 | 30000 | 4000 | 2200 | 1000 | 01_Standard unit | 800 | Adjust the equipment cost | 4000 | 3000 | 1000
OCLT01251 | 3 |  | Lennox | ML14XC1 | 36000 | 4500 | 2500 | 1200 | 01_Standard unit | 800 | Adjust the equipment cost | 4500 | 3300 | 1200
OCLT01982 | 2 |  | Luxaire | Xc324e2s11 | 24000 | 4100 | 3100 | 1000 | 02_Midline unit | 0 |  | 4100 | 3100 | 1000
OCLT01982 | 3 |  | Luxaire | Xc336e2s11 | 36000 | 4300 | 3300 | 1000 | 02_Midline unit | 0 |  | 4300 | 3300 | 1000
OCLT02096 | 1.5 |  | York | YC2D18SB21S | 18000 | 4700 | 3700 | 1000 | 01_Standard unit | 0 |  | 4700 | 3700 | 1000
OCLT02096 | 2 |  | York | YC2D24SB21S | 24000 | 5000 | 4000 | 1000 | 01_Standard unit | 0 |  | 5000 | 4000 | 1000
OCLT02096 | 2 |  | Direct Air | MOVA-24CN1-M134G | 24000 | 4600 | 3600 | 1000 | 01_Standard unit | 0 |  | 4600 | 3600 | 1000
OCLT02246 | 2 |  | Luxaire | xc3 | 24000 | 4400 | 2400 | 2000 | 01_Standard unit | 0 |  | 4400 | 2400 | 2000
OCLT02246 | 2 |  | Luxaire | xc4 | 24000 | 5500 | 3200 | 2300 | 02_Midline unit | 0 |  | 5500 | 3200 | 2300
OCLT02371 | 2 |  | Tempstar | N4A4S | 24000 | 5050 | 4000 | 1050 | 01_Standard unit | 0 |  | 5050 | 4000 | 1050
OCLT02371 | 2 |  | Tempstar | T4A6S | 24000 | 6100 | 5000 | 1100 | 03_Premium unit | 0 |  | 6100 | 5000 | 1100
OCLT02499 | 2.5 |  | RAHEEM | RA14AZ ENDEDAVOR | 33800 | 4900 | 3100 | 1800 | 03_Premium unit | 0 |  | 4900 | 3100 | 1800
OCLT02499 | 3 |  | RAHEEM | RA14AZ ENDOVEAR | 45000 | 4750 | 3400 | 1950 | 03_Premium unit | -600 | Adjust the equipment cost | 4750 | 2800 | 1950
OCLT02499 | 3.5 |  | RAHEEM | RA14AZ ENDEAVOR | 55500 | 5800 | 41200 | 2300 | 03_Premium unit | -37700 | Adjust the equipment cost | 5800 | 3500 | 2300
OCLT02518 | 2 |  | Comfortaire | CMA1524SA-1 | 24000 | 4800 | 2400 | 2400 | 01_Standard unit | 0 |  | 4800 | 2400 | 2400
OCLT02550 | 1.5 |  | York | YC2D18SB21S | 18000 | 3900 | 2700 | 1200 | 02_Midline unit | 0 |  | 3900 | 2700 | 1200
OCLT02550 | 2 |  | York | YC2D24SB21S | 24000 | 4100 | 2900 | 1200 | 02_Midline unit | 0 |  | 4100 | 2900 | 1200
OCLT02550 | 3 |  | York | YC2D36SB21S | 36000 | 4400 | 3200 | 1200 | 02_Midline unit | 0 |  | 4400 | 3200 | 1200
OCLT02792 | 2 |  | Payne | PA4SBN42400N | 24000 | 5500 | 4500 | 1000 | 01_Standard unit | 0 |  | 5500 | 4500 | 1000
OCLT02792 | 2 |  | CARRIER | GA4SAN42400N | 24000 | 9000 | 7800 | 1200 | 03_Premium unit | 0 |  | 9000 | 7800 | 1200
OCLT02942 | 2 |  | Napoleon | NC19-24F-O-B | 24000 | 5800 | 3800 | 2000 | 03_Premium unit | 0 |  | 5800 | 3800 | 2000
OCLT03044 | 3 | 207600127 |  |  | 36000 | 3900 | 2300 | 1600 | 03_Premium unit | 0 |  | 3900 | 2300 | 1600
OCLT03220 | 1.5 |  | Keeprite | N4A4S18AKANA | 18000 | 4000 | 3000 | 1000 | 01_Standard unit | 0 |  | 4000 | 3000 | 1000
OCLT03262 | 1.5 |  | Keeprite | N4A4S18 | 18000 | 5000 | 3000 | 2000 | 01_Standard unit | 0 |  | 5000 | 3000 | 2000
OCLT03262 | 2 |  | Keeprite | N4A4S24 | 24000 | 5500 | 3500 | 2000 | 01_Standard unit | 0 |  | 5500 | 3500 | 2000
OCLT03262 | 2.5 |  | Keeprite | N4A4S30 | 30000 | 6000 | 4000 | 2000 | 01_Standard unit | 0 |  | 6000 | 4000 | 2000
OCLT03443 | 2 |  | Keeprite | N4A4S24 | 24000 | 5200 | 3700 | 1500 | 01_Standard unit | 0 |  | 5200 | 3700 | 1500
OCLT03443 | 2 |  | Lg | Lsu18 | 18000 | 5000 | 3500 | 1500 | 01_Standard unit | 0 |  | 5000 | 3500 | 1500
OCLT03443 | 2 |  | Goodman | GLXS3BN2410 | 24000 | 5500 | 4000 | 1500 | 01_Standard unit | 0 |  | 5500 | 4000 | 1500
OCLT03698 | 2 |  | Luxaire | TCF2-24PKG | 24000 | 5180 | 4180 | 1000 | 02_Midline unit | 0 |  | 5180 | 4180 | 1000
OCLT03698 | 2 |  | Luxaire | TC3B-24PKG | 24000 | 4380 | 3380 | 1000 | 01_Standard unit | 0 |  | 4380 | 3380 | 1000
OCLT03698 | 1.5 |  | Luxaire | TC3B-18PKG | 18000 | 4295 | 3295 | 1000 | 01_Standard unit | 0 |  | 4295 | 3295 | 1000
OCLT03787 | 2 |  | Trane | TRA 5TTR3024A1000A | 24000 | 5500 | 3500 | 2000 | 03_Premium unit | 0 |  | 5500 | 3500 | 2000
OCLT03809 | 2 |  | Keeprite | N4A4S24 | 24000 | 3800 | 2600 | 600 | 01_Standard unit | 600 | Adjust the equipment cost | 3800 | 3200 | 600
OCLT03809 | 2.5 |  | Keeprite | N4A4S30 | 30000 | 4300 | 3000 | 600 | 01_Standard unit | 700 | Adjust the equipment cost | 4300 | 3700 | 600
OCLT03809 | 3 |  | Keeprite | N4A4S36 | 36000 | 4600 | 3200 | 6000 | 01_Standard unit | -4600 | Adjust the labor cost | 4600 | 3200 | 1400
OCLT03977 | 2 |  | Goodman | GSXH502410 | 24000 | 4500 | 3500 | 1000 | 01_Standard unit | 0 |  | 4500 | 3500 | 1000
OCLT03977 | 1.5 |  | Goodman | GLXS4BA1810 | 18000 | 4000 | 3000 | 1000 | 01_Standard unit | 0 |  | 4000 | 3000 | 1000
OCLT04187 | 2 |  | RHEEM | RA14AZ | 22800 | 4500 | 3600 | 900 | 02_Midline unit | 0 |  | 4500 | 3600 | 900
OCLT04187 | 2.5 |  | RHEEM | RA14AZ | 28400 | 4850 | 3950 | 900 | 02_Midline unit | 0 |  | 4850 | 3950 | 900
OCLT04187 | 2 |  | RHEEM | RA13NZ | 22800 | 4150 | 3250 | 900 | 01_Standard unit | 0 |  | 4150 | 3250 | 900
OCLT04561 | 2.5 |  | Keeprite | N4A4S30AKANA | 30000 | 5500 | 4500 | 1500 | 01_Standard unit | -500 | Adjust the equipment cost | 5500 | 4000 | 1500
OCLT04604 | 2 |  | Lennox | ML14XC1 | 24000 | 3500 | 2000 | 1500 | 01_Standard unit | 0 |  | 3500 | 2000 | 1500
OCLT04874 | 2 |  | Concord | 7AC14F | 24000 | 5999.99 | 4799 | 2200 | 03_Premium unit | -999.01 | Adjust the equipment cost | 5999.99 | 3799.99 | 2200
OCLT05021 | 1.5 |  | Keeprite | R4A318 | 18000 | 6050 | 4200 | 1850 | 02_Midline unit | 0 |  | 6050 | 4200 | 1850
OCLT05051 | 2 |  | Goodman | Gsx | 24000 | 6500 | 4500 | 2000 | 01_Standard unit | 0 |  | 6500 | 4500 | 2000
OCLT05058 | 3 | 217442200 |  |  | 36000 | 8500 | 7300 | 1200 | 03_Premium unit | 0 |  | 8500 | 7300 | 1200
OCLT05076 | 2 |  | Lennox | ML13KC1-024 | 24000 | 4550 | 900 | 3650 | 01_Standard unit | 0 |  | 4550 | 900 | 3650
OCLT05076 | 3 |  | Lennox | ML13KC1-036 | 36000 | 5300 | 900 | 4400 | 01_Standard unit | 0 |  | 5300 | 900 | 4400
OCLT05076 | 4 |  | Lennox | ML13KC1-048 | 48000 | 6000 | 900 | 5100 | 01_Standard unit | 0 |  | 6000 | 900 | 5100
OCLT05160 | 2 |  | AIRQUEST | N4A4S24AKANA | 24000 | 3999 | 2999 | 1000 | 01_Standard unit | 0 |  | 3999 | 2999 | 1000
OCLT05508 | 3 |  | Keeprite | CVA936 | 33800 | 12000 | 8800 | 3200 | 03_Premium unit | 0 |  | 12000 | 8800 | 3200
OCLT06158 | 2 |  | King home | Kd24uho | 23000 | 4853 | 2000 | 1000 | 01_Standard unit | 1853 | Adjust the equipment cost | 4853 | 3853 | 1000
OCLT06158 | 2 |  | York | Yc2d024 | 23000 | 5720 | 2200 | 1000 | 02_Midline unit | 2520 | Adjust the equipment cost | 5720 | 4720 | 1000
OCLT06447 | 3 |  | Kerr Comfort Aire | KCD36SA-1 | 36000 | 5014 | 3844 | 1170 | 01_Standard unit | 0 |  | 5014 | 3844 | 1170
OCLT06625 | 2 |  | York | YC2D24SB21S | 24000 | 4500 | 2000 | 2500 | 01_Standard unit | 0 |  | 4500 | 2000 | 2500
OCLT06625 | 2.5 |  | York | YC2D30SB21S | 30000 | 5000 | 2500 | 2500 | 01_Standard unit | 0 |  | 5000 | 2500 | 2500
OCLT06625 | 3 |  | York | YC2D36SB21S | 36000 | 6000 | 3000 | 3000 | 01_Standard unit | 0 |  | 6000 | 3000 | 3000
OCLT06747 | 1.5 |  | DUCANE | 4AC13L18P-11A | 18000 | 3500 | 2500 | 1000 | 02_Midline unit | 0 |  | 3500 | 2500 | 1000
OCLT06747 | 2 |  | DUCANE | 4AC13L24P-11A | 24000 | 3795 | 2795 | 1000 | 02_Midline unit | 0 |  | 3795 | 2795 | 1000
OCLT06747 | 2.5 |  | ARMSTRONG | 4SCU16LE130P-50 | 30000 | 4000 | 3000 | 1000 | 02_Midline unit | 0 |  | 4000 | 3000 | 1000
OCLT06984 | 1.5 |  | CARRIER | 24SCB | 18000 | 5900 | 5900 | 5900 | 01_Standard unit | -5900 | Remove the equipment and labor cost and only used total cost | 5900
OCLT06984 | 2 |  | CARRIER | 24SCB | 24000 | 6400 | 6400 | 6400 | 01_Standard unit | -6400 | Remove the equipment and labor cost and only used total cost | 6400
OCLT06984 | 2.5 |  | CARRIER | 24SCB | 30000 | 6800 | 6800 | 6800 | 01_Standard unit | -6800 | Remove the equipment and labor cost and only used total cost | 6800
OCLT08057 | 2 |  | Lennox | ML14XC1S024 | 24000 | 5700 | 3200 | 1500 | 01_Standard unit | 1000 |  | 5700 | 4200 | 1500
OCLT08098 | 2 |  | Trane | 5TTR3024A1000A | 24000 | 6000 | 4920 | 1080 | 02_Midline unit | 0 |  | 6000 | 4920 | 1080
OCLT08310 | 2 |  | Lennox | EL16024 | 24000 | 5450 | 3450 | 2000 | 03_Premium unit | 0 |  | 5450 | 3450 | 2000
OCLT08310 | 2.5 |  | Lennox | EL16030 | 30000 | 5750 | 3750 | 2000 | 03_Premium unit | 0 |  | 5750 | 3750 | 2000
OCLT08310 | 3 |  | Lennox | EL16036 | 36000 | 6150 | 4150 | 2000 | 03_Premium unit | 0 |  | 6150 | 4150 | 2000
OCLT08331 | 2 |  | Lennox | ML14XC1S024-230A11 | 24000 | 3900 | 4500 | 1000 | 01_Standard unit | -1600 | Adjust the equipment cost | 3900 | 2900 | 1000
OCLT08331 | 2 |  | bryant | 134SAN02400N | 24000 | 4700 | 5200 | 1000 | 01_Standard unit | -1500 | Adjust the equipment cost | 4700 | 3700 | 1000
OCLT08331 | 2 |  | Payne | PA4SAN52400N | 24000 | 4200 | 4800 | 1000 | 01_Standard unit | -1600 | Adjust the equipment cost | 4200 | 3200 | 1000
OCLT08471 | 2 |  | Payne | PA16NA024-A | 24000 | 4800 | 2500 | 2000 | 02_Midline unit | 300 | Adjust the equipment cost | 4800 | 2800 | 2000
OCLT08477 | 1.5 | 215584473 |  |  | 18000 | 4820 | 3805 | 1015 | 01_Standard unit | 0 |  | 4820 | 3805 | 1015
OCLT08477 | 2 | 215584447 |  |  | 24000 | 5025 | 4010 | 1015 | 01_Standard unit | 0 |  | 5025 | 4010 | 1015
OCLT08477 | 2.5 | 215586432 |  |  | 30000 | 5535 | 4520 | 1015 | 01_Standard unit | 0 |  | 5535 | 4520 | 1015
OCLT08479 | 2 |  | Payne | PA4SBN42400N | 24000 | 4800 | 3300 | 1500 | 01_Standard unit | 0 |  | 4800 | 3300 | 1500
OCLT08479 | 2.5 |  | Payne | A4SBN4300N | 30000 | 5200 | 3400 | 1800 | 01_Standard unit | 0 |  | 5200 | 3400 | 1800
OCLT08479 | 3 |  | Payne | A4SBN4360N | 36000 | 5600 | 3400 | 2200 | 01_Standard unit | 0 |  | 5600 | 3400 | 2200
OCLT08504 | 2.5 |  | Amana | ASXH3N3010 | 30000 | 4800 | 3500 | 1040 | 01_Standard unit | 260 | Adjust the equipment cost | 4800 | 3760 | 1040
OCLT08567 | 1.5 |  | MOOVAIR | DMA18HOS20230E7 | 18000 | 5670 | 3670 | 2000 | 03_Premium unit | 0 |  | 5670 | 3670 | 2000
OCLT08567 | 2 |  | MOOVAIR | DMA24HOS20230E7 | 24000 | 5990 | 3990 | 2000 | 03_Premium unit | 0 |  | 5990 | 3990 | 2000
OCLT08567 | 3 |  | MOOVAIR | DMA36HOS20230E7 | 36000 | 6420 | 4420 | 2000 | 03_Premium unit | 0 |  | 6420 | 4420 | 2000
OCLT08591 | 2 |  | Keeprite | N4A4S24 | 24000 | 4000 | 2500 | 1500 | 01_Standard unit | 0 |  | 4000 | 2500 | 1500
OCLT08591 | 2.5 |  | Keeprite | N4A4S30 | 30000 | 4500 | 3000 | 1500 | 01_Standard unit | 0 |  | 4500 | 3000 | 1500
OCLT08591 | 3 |  | Keeprite | N4A4SA36 | 36000 | 5000 | 3500 | 1500 | 01_Standard unit | 0 |  | 5000 | 3500 | 1500
OCLT08891 | 1.5 | 202841626 |  |  | 18000 | 11000 | 6000 | 5000 | 02_Midline unit | 0 |  | 11000 | 6000 | 5000
OCLT08891 | 2 | 202841636 |  |  | 24000 | 12000 | 6500 | 5500 | 02_Midline unit | 0 |  | 12000 | 6500 | 5500
OCLT08891 | 3 | 203398589 |  |  | 36000 | 13000 | 7000 | 6000 | 02_Midline unit | 0 |  | 13000 | 7000 | 6000
OCLT09045 | 2 |  | continental | wtacr0024ra1c | 24000 | 5000 | 4000 | 1000 | 01_Standard unit | 0 |  | 5000 | 4000 | 1000
OCLT09263 | 2 |  | Tempstar | N4A4S24 | 24000 | 4400 | 2400 | 2000 | 02_Midline unit | 0 |  | 4400 | 2400 | 2000
OCLT09263 | 1.5 |  | nortek | wsa18 | 18000 | 4000 | 2000 | 2000 | 01_Standard unit | 0 |  | 4000 | 2000 | 2000
OCLT09316 | 2 |  | CARRIER | 24SCA424N003 | 24000 | 4850 | 3615 | 1235 | 02_Midline unit | 0 |  | 4850 | 3615 | 1235
OCLT09316 | 2.5 |  | CARRIER | 24SCA430N003 | 30000 | 5300 | 4065 | 1235 | 02_Midline unit | 0 |  | 5300 | 4065 | 1235
OCLT09316 | 2 |  | Payne | PA4SAN42400N | 24000 | 4650 | 3415 | 1235 | 02_Midline unit | 0 |  | 4650 | 3415 | 1235
OCLT09668 | 2 |  | Lennox | ML14XC1S024-230 | 24000 | 4800 | 3800 | 1000 | 01_Standard unit | 0 |  | 4800 | 3800 | 1000
OCLT09668 | 2 |  | Lennox | EL15KC1-024-230 | 24000 | 5500 | 4500 | 1000 | 02_Midline unit | 0 |  | 5500 | 4500 | 1000
OCLT09668 | 2 |  | CARRIER | 24SCB424N | 24000 | 4700 | 3700 | 1000 | 01_Standard unit | 0 |  | 4700 | 3700 | 1000
OCLT09678 | 1.5 |  | Napoleon | WTAC18 | 18000 | 4800 | 3000 | 1700 | 02_Midline unit | 100 |  | 4800 | 3100 | 1700
OCLT09678 | 2 |  | Napoleon | WTAC24 | 24000 | 5300 | 3500 | 1700 | 02_Midline unit | 100 |  | 5300 | 3600 | 1700
OCLT09678 | 3 |  | Napoleon | WTAC36 | 36000 | 5700 | 4000 | 1700 | 02_Midline unit | 0 |  | 5700 | 4000 | 1700
OCLT09680 | 2.5 |  | DAIKIN | DC3SQN3010 | 30000 | 5850 | 2800 | 3050 | 03_Premium unit | 0 |  | 5850 | 2800 | 3050
OCLT09680 | 2 |  | Lennox | EL15KC1-024 | 24000 | 5500 | 2550 | 2950 | 02_Midline unit | 0 |  | 5500 | 2550 | 2950

## Furnace
UID | Input rate (btu/hr) | Make | Model | AFUE % | Total cost (equipment and labour) | Equipment cost | Labour Cost | Model line up | check (total - (equipment + labour)) | Correction Action on checks<>0 | Adjusted Total cost (equipment and labour) | Adjusted Equipment cost | Adjusted Labour Cost
OCLT00409 | 60000 | Keeprite | G96VTN060 | 96 | 4400 | 2400 | 2000 | 02_Midline unit | 0 |  | 4400 | 2400 | 2000
OCLT01251 | 66000 | LENNOX | ML296XV | 96 | 3800 | 2000 | 1000 | 01_Standard unit | 800 | Adjust the equipment cost | 3800 | 2800 | 1000
OCLT01251 | 88000 | LENNOX | ML296XV | 96 | 4500 | 2500 | 1000 | 01_Standard unit | 1000 | Adjust the equipment cost | 4500 | 3500 | 1000
OCLT01982 | 60000 | Luxaire | Tm9v060 | 96 | 4000 | 3000 | 1000 | 02_Midline unit | 0 |  | 4000 | 3000 | 1000
OCLT01982 | 80000 | Luxaire | Tm9v080 | 96 | 4200 | 2200 | 1000 | 02_Midline unit | 1000 | Adjust the equipment cost | 4200 | 3200 | 1000
OCLT01982 | 40000 | Luxaire | Tm9v040 | 96 | 4000 | 3000 | 1000 | 02_Midline unit | 0 |  | 4000 | 3000 | 1000
OCLT02052 | 40000 | Ruud | R96TA0402317MSA | 96 | 5000 | 2400 | 2600 | 01_Standard unit | 0 |  | 5000 | 2400 | 2600
OCLT02052 | 60000 | Ruud | R96TA0602317MSA | 96 | 5400 | 2600 | 2800 | 01_Standard unit | 0 |  | 5400 | 2600 | 2800
OCLT02052 | 85000 | Ruud | U96VA0852521MSB | 96 | 5800 | 2800 | 3000 | 02_Midline unit | 0 |  | 5800 | 2800 | 3000
OCLT02371 | 60000 | Tempstar | F96VTN | 96 | 4500 | 3500 | 1000 | 02_Midline unit | 0 |  | 4500 | 3500 | 1000
OCLT02371 | 60000 | York | TM9V | 96 | 4400 | 3400 | 1000 | 02_Midline unit | 0 |  | 4400 | 3400 | 1000
OCLT02371 | 80000 | Tempstar | N96MSN | 95 | 4000 | 3000 | 1000 | 01_Standard unit | 0 |  | 4000 | 3000 | 1000
OCLT02792 | 60000 | Payne | PG96MSAA48060B | 96 | 5250 | 4000 | 1250 | 01_Standard unit | 0 |  | 5250 | 4000 | 1250
OCLT02792 | 60000 | Carrier | GG96VTAB48060B | 96 | 9800 | 8300 | 1500 | 03_Premium unit | 0 |  | 9800 | 8300 | 1500
OCLT03262 | 40000 | Keeprite | G96VTN040 | 96.7 | 5000 | 3000 | 2000 | 02_Midline unit | 0 |  | 5000 | 3000 | 2000
OCLT03262 | 60000 | Keeprite | G96VTN060 | 96.7 | 5500 | 3500 | 2000 | 02_Midline unit | 0 |  | 5500 | 3500 | 2000
OCLT03262 | 80000 | Keeprite | G96VTN080 | 96.7 | 6000 | 4000 | 2000 | 02_Midline unit | 0 |  | 6000 | 4000 | 2000
OCLT03977 | 30000 | Goodman | GR9T960804CN | 96 | 5500 | 4000 | 1500 | 02_Midline unit | 0 |  | 5500 | 4000 | 1500
OCLT03977 | 18000 | Daikin | DC96VC0403BN | 96 | 5000 | 3500 | 1500 | 01_Standard unit | 0 |  | 5000 | 3500 | 1500
OCLT05076 | 70000 | Lennox | EL297UH070XV-36B | 97 | 5000 | 4000 | 1000 | 02_Midline unit | 0 |  | 5000 | 4000 | 1000
OCLT05076 | 90000 | Lennox | EL297UH090XV-48C | 97 | 5500 | 4500 | 1000 | 02_Midline unit | 0 |  | 5500 | 4500 | 1000
OCLT05076 | 45000 | Lennox | EL297UH045XV-24B | 97 | 4800 | 3800 | 1000 | 02_Midline unit | 0 |  | 4800 | 3800 | 1000
OCLT05508 | 100000 | Keeprite | G96VTN100 | 96 | 5000 | 3600 | 1400 | 02_Midline unit | 0 |  | 5000 | 3600 | 1400
OCLT06984 | 60000 | CARRIER | 59TP6 | 96 | 6400 | 6400 | 6400 | 02_Midline unit | -6400 | Remove the equipment and labor cost and only used total cost | 6400
OCLT06984 | 80000 | CARRIER | 59TP6 | 96 | 6900 | 6900 | 6900 | 02_Midline unit | -6900 | Remove the equipment and labor cost and only used total cost | 6900
OCLT06984 | 60000 | NAVIEN | NFTW | 96 | 8500 | 8500 | 8500 | 03_Premium unit | -8500 | Remove the equipment and labor cost and only used total cost | 8500
OCLT08217 | 60000 | TRANE | S9V2B060 | 96 | 5500 | 3000 | 1500 | 01_Standard unit | 1000 | Adjust the equipment cost | 5500 | 4000 | 1500
OCLT08331 | 70000 | lennox | ML296UH070XV36B | 96 | 4200 | 500 | 1000 | 01_Standard unit | 2700 | Adjust the equipment cost | 4200 | 3200 | 1000
OCLT08331 | 80000 | bryant | 926TC48080V17 | 96 | 5000 | 500 | 1000 | 01_Standard unit | 3500 | Adjust the equipment cost | 5000 | 4000 | 1000
OCLT08471 | 80000 | Payne | PG95XAT48080BBAA | 96.5 | 4800 | 4800 | 4800 | 03_Premium unit | -4800 | Remove the equipment and labor cost and only used total cost | 4800
OCLT08479 | 60000 | Keeprite | G96VTN060 | 96 | 5200 | 3000 | 2200 | 02_Midline unit | 0 |  | 5200 | 3000 | 2200
OCLT08479 | 80000 | Keeprite | G96VTN080 | 96 | 5500 | 3300 | 2200 | 02_Midline unit | 0 |  | 5500 | 3300 | 2200
OCLT08479 | 100000 | Keeprite | G96VTN100 | 96 | 5800 | 3600 | 2200 | 02_Midline unit | 0 |  | 5800 | 3600 | 2200
OCLT08504 | 80000 | ICP | ICPN96MSN0801716A | 96 | 4800 | 3901 | 1040 | 01_Standard unit | -141 | Adjust the equipment cost | 4800 | 3760 | 1040
OCLT08591 | 60000 | Keeprite | G96VTN060 | 96 | 4500 | 2500 | 2000 | 02_Midline unit | 0 |  | 4500 | 2500 | 2000
OCLT08591 | 80000 | Keeprite | G96VTN080 | 96 | 4900 | 3000 | 1900 | 02_Midline unit | 0 |  | 4900 | 3000 | 1900
OCLT09045 | 80000 | ameristar | a951x080bu4sa | 95 | 5000 | 4000 | 1000 | 01_Standard unit | 0 |  | 5000 | 4000 | 1000
OCLT09263 | 60000 | tempstar | n96vtn0601716a | 96 | 50000 | 3000 | 2000 | 03_Premium unit | 45000 | Adjust the total cost | 5000 | 3000 | 2000
OCLT09263 | 60000 | keeprite | n96msn0601716a | 96 | 4500 | 2500 | 2000 | 02_Midline unit | 0 |  | 4500 | 2500 | 2000
OCLT09316 | 60000 | CARRIER | 59TPC060V17-14 | 96 | 6125 | 4890 | 1235 | 02_Midline unit | 0 |  | 6125 | 4890 | 1235
OCLT09316 | 60000 | PAYNE | PG96VTAB48060B | 96 | 5900 | 4665 | 1235 | 02_Midline unit | 0 |  | 5900 | 4665 | 1235
OCLT09316 | 80000 | CARRIER | 59TP6C080V17 | 96 | 6350 | 5115 | 1235 | 02_Midline unit | 0 |  | 6350 | 5115 | 1235

## Air Handler
UID | Size (btu/hr) | Make | Model | Total cost (equipment and labour) | Equipment Cost | Labour Cost | Model line up | check (total - (equipment + labour)) | Correction Action on checks<>0 | No | Adjusted Total cost (equipment and labour) | Adjusted Equipment cost | Adjusted Labour Cost
OCLT00302 | 48000 | CARRIER | 40MUAAQ48 | 6500 | 2300 | 1600 | 01_Standard unit | 2600 | Adjust the equipment cost | 1 | 6500 | 4900 | 1600
OCLT00868 | 24000 | Trane | TAMXB0A24V21DA | 6500 | 5000 | 1500 | 03_Premium unit | 0 |  | 2 | 6500 | 5000 | 1500
OCLT00868 | 24000 | ADP | BCRMA7124S001 | 5000 | 3500 | 1500 | 01_Standard unit | 0 |  | 3 | 5000 | 3500 | 1500
OCLT02942 | 36000 | Napoleon | NPFX24A36A | 9800 | 7800 | 2000 | 03_Premium unit | 0 |  | 4 | 9800 | 7800 | 2000
OCLT03220 | 60000 | IBC | AHU800 | 2900 | 2200 | 700 | 01_Standard unit | 0 |  | 5 | 2900 | 2200 | 700
OCLT03698 | 24000 | Coleman | JHETB24CBAS2N1 | 4495 | 3245 | 1280 | 01_Standard unit | -30 | Adjust the equipment cost | 6 | 4495 | 3215 | 1280
OCLT03809 | 24000 | Goodman | AMST24 | 2000 | 800 | 600 | 01_Standard unit | 600 | Adjust the equipment cost | 7 | 2000 | 1400 | 600
OCLT03809 | 30000 | Goodman | AMST30 | 2500 | 1000 | 600 | 01_Standard unit | 900 | Adjust the equipment cost | 8 | 2500 | 1900 | 600
OCLT03809 | 36000 | Goodman | AMST36 | 2800 | 1200 | 600 | 01_Standard unit | 1000 | Adjust the equipment cost | 9 | 2800 | 2200 | 600
OCLT04561 | 24000 | keeprite | :G96VTN0801716B | 6500 | 5000 | 1500 | 01_Standard unit | 0 |  | 10 | 6500 | 5000 | 1500
OCLT04874 | 24000 | ADP | BCRMA4124S3P3 | 6500 | 4300 | 2200 | 03_Premium unit | 0 |  | 11 | 6500 | 4300 | 2200
OCLT05021 | 60000 | keeprite | G96VTN060 | 7490 | 4990 | 2500 | 02_Midline unit | 0 |  | 12 | 7490 | 4990 | 2500
OCLT05051 | 60000 | Goodman | Gm9 | 5000 | 3500 | 1500 | 01_Standard unit | 0 |  | 13 | 5000 | 3500 | 1500
OCLT05058 | 57000 | Goodman | 215381165 | 3000 | 2300 | 700 | 02_Midline unit | 0 |  | 14 | 3000 | 2300 | 700
OCLT06447 | 36000 | Kerr Comfort Aire | B-KCD36SA-1 | 3752 | 2582 | 1170 | 01_Standard unit | 0 |  | 15 | 3752 | 2582 | 1170
OCLT08098 | 24000 | Trane | 5TAMXB02AV21DA | 7276 | 5116 | 2160 | 02_Midline unit | 0 |  | 16 | 7276 | 5116 | 2160
OCLT08310 | 24000 | Lennox | CBA27UHE0241 | 5000 | 3000 | 2000 | 03_Premium unit | 0 |  | 17 | 5000 | 3000 | 2000
OCLT08310 | 3000 | Lennox | CBA27UHE030 | 5500 | 3400 | 2100 | 03_Premium unit | 0 |  | 18 | 5500 | 3400 | 2100
OCLT08310 | 36000 | Lennox | CBA27UHE036 | 6000 | 3800 | 2200 | 03_Premium unit | 0 |  | 19 | 6000 | 3800 | 2200
OCLT08477 | 24000 | Lennox | CBK45UHVT-024-230 | 5625 | 4435 | 1190 | 02_Midline unit | 0 |  | 20 | 5625 | 4435 | 1190
OCLT08477 | 30000 | Lennox | CBK45UHVT-030-230 | 6060 | 4870 | 1190 | 02_Midline unit | 0 |  | 21 | 6060 | 4870 | 1190
OCLT08477 | 36000 | Lennox | CBK45UHVT-036-230 | 6515 | 5325 | 1190 | 02_Midline unit | 0 |  | 22 | 6515 | 5325 | 1190
OCLT08891 | 24000 | Lennox | CBK45UHVT-024-230-01 | 5014 | 2514 | 2500 | 01_Standard unit | 0 |  | 23 | 5014 | 2514 | 2500
OCLT08891 | 36000 | Lennox | CBK45UHPT-036-230 | 5600 | 2100 | 3500 | 02_Midline unit | 0 |  | 24 | 5600 | 2100 | 3500
OCLT08891 | 48000 | Lennox | CBK47UHET-048-230 | 8000 | 3500 | 4500 | 03_Premium unit | 0 |  | 25 | 8000 | 3500 | 4500
OCLT09668 | 34000 | kinghome | KU36UH2I | 6000 | 4500 | 1500 | 02_Midline unit | 0 |  | 26 | 6000 | 4500 | 1500
OCLT09680 | 36000 | Lennox | CBK47UHET-036 | 11000 | 5000 | 6000 | 03_Premium unit | 0 |  | 27 | 11000 | 5000 | 6000

## HP Controls
UID | Type of controller (wired/wifi) | Thermostat equipment cost | Thermostat labour cost | Total cost
OCLT00083 | Wired | 900 | 300 | 1200
OCLT00302 | Wired | 550 | 125 | 675
OCLT00409 | Wired | 350 | 150 | 500
OCLT00715 | Wired |  |  | 0
OCLT00868 | Wired | 550 | 150 | 700
OCLT01251 | Wired | 300 | 200 | 500
OCLT01982 | Wired | 250 | 70 | 320
OCLT02052 | Wired | 180 | 130 | 310
OCLT02096 | Wired | 430 | 100 | 530
OCLT02246 | Wired | 300 | 100 | 400
OCLT02371 | Wired | 180 | 130 | 310
OCLT02518 | Wired | 150 | 150 | 300
OCLT02550 | Wired | 400 | 95 | 495
OCLT02942 | Wired | 399 | 155 | 554
OCLT03044 | Wired | 200 | 100 | 300
OCLT03220 | Wired | 150 | 78 | 228
OCLT03262 | Wired | 150 | 200 | 350
OCLT03698 | Wired | 300 | 160 | 460
OCLT03809 | Wired |  | 120 | 120
OCLT03977 | Wired | 150 | 135 | 285
OCLT04187 | Wired | 275 | 175 | 450
OCLT04561 | Wired | 300 | 125 | 425
OCLT04604 | Wired | 250 | 50 | 300
OCLT04874 | Wired | 300 | 110 | 410
OCLT05021 | Wired | 250 | 125 | 375
OCLT05051 | Wired | 100 | 300 | 400
OCLT05076 | Wired | 175 | 125 | 300
OCLT05160 | Wired | 250 |  | 250
OCLT05508 | Wired | 200 | 150 | 350
OCLT06447 | Wired | 330 | 130 | 460
OCLT06625 | Wired | 200 | 200 | 400
OCLT06747 | Wired | 350 | 125 | 475
OCLT06984 | Wired | 349 | 210 | 559
OCLT08057 | Wired | 300 | 75 | 375
OCLT08098 | Wired | 250 | 150 | 400
OCLT08310 | Wired | 550 | 200 | 750
OCLT08331 | Wired | 140 | 220 | 360
OCLT08372 | Wired | 600 | 300 | 900
OCLT08471 | Wired | 550 | 250 | 800
OCLT08477 | Wired | 672 | 140 | 812
OCLT08479 | Wired | 375 | 175 | 550
OCLT08504 | Wired | 250 |  | 250
OCLT08567 | Wired | 200 | 50 | 250
OCLT08891 | Wired | 600 | 1000 | 1600
OCLT09263 | Wired | 250 | 150 | 400
OCLT09316 | Wired | 350 | 100 | 450
OCLT09588 | Wired | 250 | 250 | 500
OCLT09668 | Wired | 350 | 100 | 450
OCLT09678 | Wired | 380 | 150 | 530
OCLT09680 | Wired | 325 | 500 | 825
OCLT00083 | Wireless | 1200 | 200 | 1400
OCLT03787 | Wireless | 350 | 95 | 445
OCLT03977 | Wireless | 300 | 135 | 435
OCLT05058 | Wireless | 200 | 100 | 300
OCLT06747 | Wireless | 550 |  | 550
OCLT08217 | Wireless | 250 | 150 | 400
OCLT08891 | Wireless | 600 | 1000 | 1600
OCLT09045 | Wireless |  |  | 0
OCLT09263 | Wireless | 500 | 300 | 800
OCLT09316 | Wireless |  |  | 0

## Panel Upgrade
UID | Average panel upgrade equipment cost | Average panel upgrade labour cost | Total Cost
OCLT00409 | 2000 | 1000 | 3000
OCLT02246 | 3500 | 2000 | 5500
OCLT02499 | 450 | 500 | 950
OCLT02518 | 1000 | 500 | 1500
OCLT02550 | 1200 | 1200 | 2400
OCLT04874 | 3000 | 1500 | 4500
OCLT05021 | 2250 | 2000 | 4250
OCLT05051 | 300 | 500 | 800
OCLT05160 | 1000 | 500 | 1500
OCLT06625 | 1500 | 1500 | 3000
OCLT06747 | 1500 | 1000 | 2500
OCLT08310 | 2300 | 1500 | 3800
OCLT08372 | 5000 | 2000 | 7000
OCLT08479 | 425 | 175 | 600
OCLT08891 | 3000 | 600 | 3600
OCLT09316 | 500 | 1350 | 1850
OCLT09588 | 1500 | 2000 | 3500