## Annual
Filed: April 22, 2026, EB-2025-0302, Exhibit C-2-1, Attachment 1, Page 1 of 1
Actual Load and Forecast Volumes
Col | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Year | Ontario Demand (TWh) | Less Transmission Line Losses (TWh) | Quantity of Electricity Withdrawn (AQEW) (TWh) | Exports (TWh) | IESO Fee Submission Market Demand (TWh) | Embedded Generation (TWh) | IESO Fee Submission Market Demand Plus Embedded Generation (TWh) | Source of Information
2019 | 135.1171 | 2.9726 | 132.1446 | 19.7787 | 151.9233 | 6.3582 | 158.2815 | Actual
2020 | 132.211 | 2.0902 | 130.1208 | 20.3774 | 150.4982 | 6.8563 | 157.3545 | Actual
2021 | 133.8947 | 1.9658 | 131.9288 | 17.2149 | 149.1437 | 6.7987 | 155.9424 | Actual
2022 | 137.5383 | 2.5205 | 135.0179 | 17.5002 | 152.5181 | 7.2678 | 159.7859 | Actual
2023 | 137.9 | 3.2 | 134.6 | 16.5 | 151.1 | 6.4 | 157.5 | Actual
2024 | 141.2 | 3.9 | 137.3 | 19.1 | 156.4 | 6.6 | 163 | Actual
2025 | 146.5575 | 4.2087 | 142.3417 | 21.0512 | 163.4 | 6.396 | 169.796 | Actual
2026 | 146.31 | 3.43 | 142.88 | 10.4 | 153.28 | 7.18 | 160.46 | Jan-March Actuals, April-December based on APO 2026*
2027 | 148.86 | 3.27 | 145.59 | 9.05 | 154.63 | 7.48 | 162.11 | APO 2026
2028 | 154.26 | 3.39 | 150.86 | 9.37 | 160.23 | 7.39 | 167.62 | APO 2026
Notes
Col 1 | Ontario demand which is coicident loads plus the losses on the IESO-controlled grid. Measured in TWh.
Col 2 | Forecasted Transmission Losses are estimated as 2.2% of Ontario demand. Measured in TWh.
Col 3 | Ontario demand less transmission losses (Column 1 minus Column 2). Measured in TWh.
Col 4 | Exports of electricity. Measured in TWh.
Col 5 | The sum of Column 3 and Column 4. Measured in TWh.
Col 6 | Distribution connected Non-market participant generation (Embedded Generation). Measured in TWh.
Col 7 | The sum of Column 5 and Column 6. Measured in TWh.
Col 8 | The source of the Ontario Demand (Column 1), AQEW (Column 3), Exports (Column 4) and Embedded Generation (Column 6).
2026 Annual Planning Outlook (APO) released March 20, 2026
*APO is the IESO's Annual Planning Outlook
Note. Numbers may not add due to rounding