## D1-1-2_Table 5a
Filed: 2026-04-22
EB-2025-0297
Exhibit L
D1-Staff-064
Attachment 1
L-D1-Staff-064 - Attachment 1
Capital Project Listing (Unallocated) - Regulated Hydroelectric
Potential Start Dates and Estimated Investment Costs
[5 empty] | Potential | Potential Final In-Service Date | Estimated Investment Cost ($M)1
Line |  |  |  | CRVA | Start
No. | Facility | Project Name | Category | Eligible2 | Date
|  | (a) | (b) | (c) | (d) | (b) | (c)
Projects With Potential Cost >$30M
1 | Abitibi Canyon | Abitibi - G3 Capital Upgrades | Sustaining (Refurbishment) | Yes* | 2028 | > 2031 | 50.3
2 | Abitibi Canyon | Abitibi - G4 Capital Upgrades | Sustaining (Refurbishment) | Yes* | 2030 | > 2031 | 50.3
3 | Abitibi Canyon | Abitibi - G5 Capital Upgrades | Sustaining (Refurbishment) | Yes* | 2031 | > 2031 | 54.1
4 | Aguasabon | AGU Upgrade Water Conveyance Capabilities | Value Enhancing | Yes* | 2027 | 2030 | 36.8
5 | Alexander | ALX Spillwall Rehabilitation | Sustaining | No | 2028 | > 2031 | 61.8
6 | Sir Adam Beck 2 | BK2 G16 G15 Refurbishment | Sustaining (Refurbishment) | Yes* | 2027 | > 2031 | 390.8
7 | Sir Adam Beck 2 | BK2 G26 G25 Refurbishment | Sustaining (Refurbishment) | Yes* | 2028 | > 2031 | 406.7
8 | Sir Adam Beck Pump Generating Station | PGS Refurbishment | Sustaining (Refurbishment) | Yes* | 2029 | > 2031 | 75.7
9 | Chats Falls | CHF - Generator Rewinds (NET) | Sustaining (Refurbishment) | Yes* | 2026 | 2031 | 32.5
10 | Des Joachims | DEJ - Capital Refurb Program Rewind Generators / Stators G2,4,6,7,8 | Sustaining (Refurbishment) | Yes* | 2030 | > 2031 | 32
11 | Manitou Falls | MAN G4 - Capital Refurb | Sustaining (Refurbishment) | Yes* | 2028 | > 2031 | 39.8
12 | Manitou Falls | MAN G1 - Capital Refurb | Sustaining (Refurbishment) | Yes* | 2026 | 2030 | 40.5
13 | Manitou Falls | MAN G2 - Capital Refurb | Sustaining (Refurbishment) | Yes* | 2026 | 2031 | 40.2
14 | Manitou Falls | MAN G5 - Capital Refurb | Sustaining (Refurbishment) | Yes* | 2030 | > 2031 | 39.4
15 | DeCew Falls | DeCew Earth Structures Rehab | Sustaining | No | 2026 | 2030 | 43.3
16 | Pine Portage | NWN Waboose Dam Life Extension | Sustaining | Yes* | 2031 | > 2031 | 206.4
17 | Otter Rapids | Otter G3 Capital Upgrade | Sustaining (Refurbishment) | Yes* | 2026 | 2029 | 43.3
18 | Otter Rapids | Otter G4 Capital Upgrade | Sustaining (Refurbishment) | Yes* | 2026 | 2028 | 43.1
19 | Pine Portage | PIN G1 Capital Refurb | Sustaining (Refurbishment) | Yes* | 2028 | > 2031 | 49.6
20 | Pine Portage | PIN G2 Capital Refurb | Sustaining (Refurbishment) | Yes* | 2030 | > 2031 | 47.4
21 | Pine Portage | PIN Main Dam Life Extension | Sustaining | Yes* | 2030 | > 2031 | 233.7
22 | R.H. Saunders | SAU - Replace Generator Breakers and Switchgear | Sustaining | No | 2025 | > 2031 | 58.6
23 | R.H. Saunders | SAU - G10 Capital Refurbishment | Sustaining (Refurbishment) | Yes* | 2026 | 2029 | 35.1
24 | R.H. Saunders | SAU - G2 Capital Refurb Project Fifth Unit | Sustaining (Refurbishment) | Yes* | 2027 | 2031 | 35.2
25 | R.H. Saunders | SAU - Iroquois Dam Env Mgmt | Regulatory | No | 2027 | > 2031 | 39.6
26 | R.H. Saunders | SAU - G11 Capital Refurb Project Sixth Unit | Sustaining (Refurbishment) | Yes* | 2029 | > 2031 | 34.5
27 | R.H. Saunders | SAU - G3 Capital Refurb Project Seventh Unit | Sustaining (Refurbishment) | Yes* | 2031 | > 2031 | 32.9
28 | Abitibi Canyon | Abitibi Canyon Sluiceway Rehabilitation | Sustaining (Abitibi Concrete) | Yes* | 2025 | 2031 | 118.4
29 | Abitibi Canyon | ABI - Upstream Concrete Liner | Sustaining (Abitibi Concrete) | Yes* | 2025 | > 2031 | 624.1
30 | Abitibi Canyon | Abitibi Canyon Concrete Zone 1 2 4B 5 6 | Sustaining (Abitibi Concrete) | Yes* | 2028 | > 2031 | 120.4
31 | Chats Falls | Chats Falls GS Expansion | Value Enhancing (Expansion) | Yes* | 2026 | > 2031 | 124
32 | Sir Adam Beck 1 | SAB1 Canal Isolation Preparedness Phase 2 | Sustaining (Canal Rehabilitation) | Yes* | 2029 | 2029 | 125
33 | DeCew Falls | DeCew I GS Refurbishment | Sustaining (Refurbishment) | Yes* | 2025 | 2029 | 126
Notes
1 | Amounts used to support Business Plan.
2 | Refer to Ex. D1-1-2, Table 5b

## D1-1-2_Table 5b
Filed: 2026-04-22
EB-2025-0297
Exhibit L
D1-Staff-064
Attachment 1
L-D1-Staff-064 - Attachment 1
Capital Project Listing (Unallocated) - Regulated Hydroelectric
Potential Start Dates and Estimated Investment Costs
[5 empty] | Potential | Potential Final In-Service Date | Estimated Investment Cost ($M)1
Line |  |  |  | CRVA | Start
No. | Facility | Project Name | Category | Eligible2 | Date
|  | (a) | (b) | (c) | (d) | (b) | (c)
Projects With Potential Cost between $10M - $30M
1 | Abitibi Canyon | ABI - Intake Gantry Crane Refurb / Replacement | Sustaining | No | 2026 | 2028 | 10.8
2 | Aguasabon | AGU Intake Plug | Sustaining | No | 2029 | 2031 | 10.7
3 | Arnprior | ARN - Replace Sluice Gates | Sustaining | Yes* | 2031 | > 2031 | 24.2
4 | Arnprior | ARN - Replace Turbine Runners | Sustaining (Refurbishment) | Yes* | 2027 | > 2031 | 15.4
5 | Arnprior | ARN - Capital Refurb Project Re-insulate Rotor Field Poles First Unit | Sustaining (Refurbishment) | Yes* | 2029 | > 2031 | 17.4
6 | Sir Adam Beck 1 | BK1 Headworks Curtain Wall Restoration | Sustaining | No | 2025 | 2031 | 10.6
7 | Cameron Falls | CAM Spillway Training Wall Repl | Sustaining | No | 2027 | 2029 | 10.7
8 | Chenaux | CHE - 1st Unit Capital Refurb | Sustaining (Refurbishment) | Yes* | 2025 | 2029 | 15.2
9 | Chenaux | CHE - 2nd Unit Capital Refurb | Sustaining (Refurbishment) | Yes* | 2029 | 2030 | 15.3
10 | Chenaux | CHE - 3rd Unit Capital Refurb | Sustaining (Refurbishment) | Yes* | 2030 | 2031 | 15.6
11 | Chenaux | CHE - 4th Unit Capital Refurb | Sustaining (Refurbishment) | Yes* | 2031 | > 2031 | 17.1
12 | Chats Falls | CHF - Replace Powerhouse Cranes, Supply Bus, & Disc SW (NET) | Sustaining | No | 2025 | 2027 | 10
13 | Chats Falls | CHF - Replace Screw Hoists on Sluice Gates (NET) | Sustaining | No | 2026 | 2028 | 15.7
14 | Des Joachims | DEJ - Replace Powerhouse Cranes (2) | Sustaining | No | 2029 | 2031 | 20.1
15 | Des Joachims | DEJ - Sluicegate Structure & Hoist Wire Rope, Controls Replacement McConnell Lake | Sustaining | Yes* | 2030 | > 2031 | 11.2
16 | DeCew Falls 2 | DQ2 G2 Runner and Governor Upgrade | Value Enhancing (Refurbishment) | Yes* | 2029 | 2031 | 17.6
17 | DeCew Falls 2 | DQ2 G1 Electrical Refurbishment | Sustaining (Refurbishment) | Yes* | 2029 | > 2031 | 16.2
18 | Eastern Operations | EOP - Renfrew Office | Sustaining | No | 2030 | > 2031 | 18.1
19 | Kakabeka Falls | KAK Headgate and Building Replacement | Sustaining | No | 2025 | 2028 | 15
20 | McVittie | McVittie - Headworks Upgrades | Sustaining | No | 2026 | 2028 | 15.3
21 | McVittie | McVittie Service Gates and Gains Upgrades | Sustaining | No | 2026 | 2028 | 16.1
22 | Niagara Region | NIA Upgrade PLC Equip | Sustaining | No | 2026 | > 2031 | 11.3
23 | International Niagara Control Works | ICD Gate Rehabilitation (13-16) (JW) (OPG) | Sustaining | No | 2029 | > 2031 | 20.9
24 | Otto Holden | OTO - Replace trash racks | Sustaining | No | 2026 | 2029 | 10.9
25 | Otto Holden | OTO - G2 Refurb - Turbine & Generator | Sustaining (Refurbishment) | Yes* | 2027 | 2028 | 11.5
26 | Otto Holden | OTO - Powerhouse Crane Replacement | Sustaining | No | 2028 | 2031 | 20.2
27 | Otto Holden | OTO - G3 Refurb - Turbine & Generator | Sustaining (Refurbishment) | Yes* | 2028 | 2029 | 11.7
28 | Otto Holden | OTO - G4 Refurb - Turbine & Generator | Sustaining (Refurbishment) | Yes* | 2029 | 2030 | 11.9
29 | Pine Portage | PIN G4 Headgate, Hoist & Controls Repl | Sustaining | No | 2026 | 2031 | 11.3
30 | Pine Portage | PIN G3 Headgate, Hoist & Controls Repl | Sustaining | No | 2026 | 2031 | 11.3
31 | Pine Portage | PIN G2 Headgate, Hoist & Controls Repl | Sustaining | No | 2031 | > 2031 | 13.8
32 | Pine Portage | PIN G1 Headgate, Hoist & Controls Repl | Sustaining | No | 2029 | > 2031 | 12.3
33 | Pine Portage | PIN Tailrace Pier Rehab | Sustaining | No | 2027 | 2029 | 19.9
34 | R.H. Saunders | SAU - Re-Insulate Field Poles | Sustaining (Refurbishment) | Yes* | 2026 | > 2031 | 10.2
35 | R.H. Saunders | SAU - Iroquois Dam 32 Control Gates (JW)(OPG) NET | Sustaining | No | 2027 | > 2031 | 26.2
36 | R.H. Saunders | SAU - Protection & Controls Refresh | Sustaining | No | 2029 | > 2031 | 18.3
37 | R.H. Saunders | SAU - Replace Generator, Transformer, Line and Station Service Bus Protections | Sustaining | No | 2029 | > 2031 | 12.2
38 | Stewartville | STW - Capital Refurb - Rewind Generator and Reinsulate Field Poles (Second Unit) | Sustaining (Refurbishment) | Yes* | 2026 | 2028 | 18.6
39 | Stewartville | STW - Capital Refurb - Rewind Generator and Reinsulate Field Poles (Third Unit) | Sustaining (Refurbishment) | Yes* | 2027 | 2029 | 19
40 | Stewartville | STW - Capital Refurb - Rewind Generators and Reinsulate Field Poles (Fourth Unit) | Sustaining (Refurbishment) | Yes* | 2029 | 2030 | 18.8
41 | Stewartville | STW - Capital Refurb - Rewind Generator and Reinsulate Field Poles (Fifth Unit) | Sustaining (Refurbishment) | Yes* | 2030 | > 2031 | 19.3
42 | R.H. Saunders | Fisheries Act Compliance - Saunders | Regulatory | No | 2031 | > 2031 | 12.5
43 | Chats Falls | Fisheries Act Compliance - Chats Falls | Regulatory | No | 2030 | > 2031 | 11.5
44 | Dymond Service Centre | Mistinikon Control Dam Upgrades | Regulatory | Yes* | 2026 | 2027 | 15.3
45 | Eastern Operations | EOP - Correct IDF Flow Deficient MADA Syst. | Sustaining | No | 2026 | > 2031 | 10.1
Notes
1 | Amounts used to support Business Plan.
2 | Refer to Ex. D1-1-2, Table 5b