## 2-Staff-47 a)
Request Year | Customer Type | DER Technology Type | Capacity (kW) | Connection Stage (as of 2024) | Connection Stage | Definition
2020 | Residential | Solar | 10 | Pre-Gen Denied | Pre-Gen Denied | The application was denied at the preliminary consultation stage.
2020 | Residential | Solar | 7.7 | Pre-Gen Denied | Pre-Gen Approved | The application was approved at the preliminary consultation stage.
2020 | Residential | Solar | 10 | In-Service | Technical Specifications | Elexicon has requested technical documentation from the proponent.
2020 | Residential | Solar | 3.9 | In-Service | CIA | The application is in the Connection Impact Assessment phase of the project.
2020 | Residential | Solar | 5 | In-Service | Reviewing Installation Plans | The submitted technical documentation is under review with Elexicon.
2020 | Residential | Solar | 10 | Pre-Gen Denied | CCA | The application is in the Connection Cost Agreement phase of the project.
2020 | Commercial | Solar | 10 | Pre-Gen Denied | In-Service | The project is now in-service.
2020 | Commercial | Solar | 10 | In-Service
2020 | Residential | Solar | 7.7 | In-Service
2020 | Residential | Solar | 10 | In-Service
2020 | Residential | Solar | 6 | In-Service
2020 | Residential | Solar | 10 | Reviewing Installation Plans
2020 | Residential | Solar | 10 | In-Service
2020 | Residential | Solar | 10 | In-Service
2020 | Residential | Solar | 10 | In-Service
2020 | Commercial | Solar | 10 | In-Service
2020 | Residential | Solar | 16.5 | In-Service
2021 | Residential | Solar | 5 | In-Service
2021 | Residential | Solar | 10 | Pre-Gen Denied
2021 | Residential | Solar | 6 | In-Service
2021 | Commercial | Solar | 500 | In-Service
2021 | Residential | Solar | 10 | Reviewing Installation Plans
2021 | Residential | Solar | 13.8 | Connection Agreements
2021 | Residential | Solar | 6 | Connection Agreements
2021 | Residential | Solar | 7.6 | Connection Agreements
2021 | Residential | Solar | 10 | Connection Agreements
2021 | Residential | Solar | 6 | Reviewing Installation Plans
2021 | Commercial | Solar | 10 | Reviewing Installation Plans
2021 | Commercial | Solar | 10 | Reviewing Installation Plans
2021 | Residential | Solar | 8.235 | Pre-Gen Denied
2021 | Residential | Solar | 10 | Pre-Gen Denied
2021 | Residential | Solar | 7 | Pre-Gen Denied
2021 | Residential | Solar | 7.65 | Pre-Gen Denied
2021 | Residential | Solar | 7.6 | In-Service
2021 | Residential | Solar | 10 | In-Service
2021 | Residential | Solar | 6 | Reviewing Installation Plans
2021 | Residential | Solar | 10 | Connection Agreements
2021 | Residential | Solar | 10 | In-Service
2021 | Residential | Solar | 10 | Reviewing Installation Plans
2021 | Residential | Solar | 10 | Connection Agreements
2021 | Residential | Solar | 8.1 | Connection Agreements
2021 | Residential | Solar | 6 | In-Service
2021 | Commercial | Solar | 10 | Connection Agreements
2021 | Commercial | Solar | 10 | In-Service
2022 | Commercial | Solar | 5.4 | In-Service
2022 | Residential | Solar | 7 | Pre-Gen Denied
2022 | Residential | Solar | 10 | Pre-Gen Denied
2022 | Residential | Solar | 5 | In-Service
2022 | Residential | Solar | 10 | Pre-Gen Denied
2022 | Residential | Solar | 5 | In-Service
2022 | Residential | Solar | 30 | Pre-Gen Denied
2022 | Residential | Solar | 8.2 | In-Service
2022 | Residential | Solar | 5 | Pre-Gen Denied
2022 | Residential | Solar | 7.7 | Pre-Gen Denied
2022 | Residential | Solar | 10 | In-Service
2022 | Residential | Solar | 3.84 | Pre-Gen Denied
2022 | Residential | Solar | 7.6 | In-Service
2022 | Residential | Solar | 3.84 | Pre-Gen Denied
2022 | Residential | Solar | 10 | Pre-Gen Denied
2022 | Residential | Solar | 3.8 | In-Service
2022 | Residential | Solar | 7.7 | In-Service
2022 | Residential | Solar | 7.6 | Pre-Gen Denied
2022 | Residential | Solar | 6.3 | In-Service
2022 | Residential | Solar | 7.6 | Connection Agreements
2022 | Residential | Solar | 10 | Connection Agreements
2022 | Residential | Solar | 3.8 | Reviewing Installation Plans
2022 | Residential | Solar | 7.6 | In-Service
2022 | Residential | Solar | 5 | In-Service
2022 | Residential | Solar | 6 | Connection Agreements
2022 | Residential | Solar | 5 | Reviewing Installation Plans
2022 | Residential | Solar | 12.48 | In-Service
2022 | Residential | Solar | 120 | In-Service
2022 | Residential | Solar | 10 | Reviewing Installation Plans
2022 | Residential | Solar | 7.2 | Pre-Gen Denied
2022 | Residential | Solar | 8.1 | Pre-Gen Denied
2022 | Residential | Solar | 3.84 | Pre-Gen Denied
2022 | Residential | Solar | 9.9 | Pre-Gen Denied
2022 | Residential | Solar | 9.7 | Pre-Gen Denied
2022 | Residential | Solar | 7 | Pre-Gen Denied
2022 | Residential | Solar | 3.84 | Pre-Gen Denied
2022 | Residential | Solar | 5 | Pre-Gen Denied
2022 | Residential | Solar | 10 | Pre-Gen Denied
2022 | Residential | Solar | 10 | Connection Agreements
2022 | Residential | Solar | 5 | Reviewing Installation Plans
2022 | Residential | Solar | 10 | In-Service
2022 | Residential | Solar | 9.86 | In-Service
2022 | Residential | Solar | 5 | Connection Agreements
2022 | Residential | Solar | 10 | Reviewing Installation Plans
2022 | Residential | Solar | 12.48 | In-Service
2022 | Residential | Solar | 10 | Connection Agreements
2022 | Residential | Solar | 7.7 | In-Service
2022 | Residential | Solar | 4.8 | In-Service
2022 | Residential | Bess | 5.12 | In-Service
2022 | Residential | Solar | 4.224 | In-Service
2022 | Residential | Solar | 10 | In-Service
2022 | Residential | Solar | 10 | In-Service
2022 | Residential | Solar | 10 | Connection Agreements
2023 | Residential | Solar | 10 | In-Service
2023 | Residential | Solar | 10 | In-Service
2023 | Residential | Solar | 10 | Connection Agreements
2023 | Residential | Solar | 10 | Connection Agreements
2023 | Residential | Solar | 10 | Connection Agreements
2023 | Residential | Solar | 10 | Reviewing Installation Plans
2023 | Residential | Solar | 10 | Reviewing Installation Plans
2023 | Residential | Solar | 10 | Reviewing Installation Plans
2023 | Residential | Solar | 10 | Pre-Gen Denied
2023 | Residential | Solar | 10 | Reviewing Installation Plans
2023 | Residential | Solar | 10 | Reviewing Installation Plans
2023 | Residential | Solar | 10 | Pre-Gen Denied
2023 | Residential | Solar | 10 | Pre-Gen Denied
2023 | Residential | Solar | 10 | Pre-Gen Denied
2023 | Residential | Solar | 8.16 | Pre-Gen Denied
2023 | Residential | Solar | 7.6 | Pre-Gen Approved
2023 | Residential | Solar | 10 | Pre-Gen Approved
2023 | Residential | Solar | 10 | Pre-Gen Approved
2023 | Residential | Solar | 10 | Reviewing Installation Plans
2023 | Residential | Solar | 10 | Reviewing Installation Plans
2023 | Residential | Solar | 2000 | Pre-Gen Approved
2023 | Residential | Solar | 7.6 | Pre-Gen Approved
2023 | Residential | Solar | 10 | Reviewing Installation Plans
2023 | Residential | Solar | 10 | Reviewing Installation Plans
2023 | Residential | Solar | 10 | Pre-Gen Approved
2023 | Residential | Solar | 10 | In-Service
2023 | Residential | Solar | 10 | Pre-Gen Denied
2023 | Residential | Solar | 10 | Connection Agreements
2023 | Residential | Solar | 10 | Connection Agreements
2023 | Residential | Solar | 10 | Reviewing Installation Plans
2023 | Commercial | Solar | 10 | Connection Agreements
2023 | Residential | Solar | 10 | Connection Agreements
2023 | Residential | Solar | 10 | In-Service
2023 | Residential | Solar | 10 | Pre-Gen Approved
2023 | Residential | Solar | 10 | Pre-Gen Approved
2023 | Residential | Solar | 10 | Connection Agreements
2023 | Commercial | Solar | 450 | Pre-Gen Approved
2023 | Residential | Solar | 10 | Connection Agreements
2024 | Residential | Solar | 11 | Connection Agreements
2024 | Residential | Solar | 10 | In-Service
2024 | Residential | Solar | 9.9 | In-Service
2024 | Residential | Solar | 9 | In-Service
2024 | Residential | Solar | 10 | Pre-Gen Denied
2024 | Residential | Solar | 10 | Connection Agreements
2024 | Commercial |  | 50 | Pre-Gen Approved
2024 | Commercial | Solar | 300 | Pre-Gen Approved
2024 | Residential | Solar | 10 | Pre-Gen Approved
2024 | Residential | Solar | 9.9 | Connection Agreements
2024 | Residential | Solar | 10 | Connection Agreements
2024 | Commercial | Solar | 1000 | In-Service
2024 | Residential | Solar | 10 | Connection Agreements
2024 | Residential | Solar | 9.2 | In-Service
2024 | Residential | Solar | 10 | Reviewing Installation Plans
2024 | Residential | Solar | 6 | In-Service
2024 | Residential | Solar | 10 | Reviewing Installation Plans
2024 | Residential | Solar | 10 | Pre-Gen Denied
2024 | Residential | Solar | 10 | Reviewing Installation Plans
2024 | Residential | Solar | 10 | Reviewing Installation Plans
2024 | Residential | Solar | 10 | Reviewing Installation Plans
2024 | Residential | Solar | 10 | Reviewing Installation Plans
2024 | Residential | Solar | 10 | Reviewing Installation Plans
2024 | Residential | Solar | 10 | Pre-Gen Denied
2024 | Residential | Solar | 10 | Reviewing Installation Plans
2024 | Residential | Solar | 10 | Pre-Gen Denied
2024 | Residential | Solar | 10 | Pre-Gen Approved
2024 | Residential | Solar | 10 | Pre-Gen Denied
2024 | Residential | Solar | 10 | Reviewing Installation Plans
2024 | Residential | Solar | 10 | Reviewing Installation Plans
2024 | Residential | Solar | 5.9 | In-Service
2024 | Residential | Solar | 10 | Reviewing Installation Plans
2024 | Residential | Solar | 10 | Reviewing Installation Plans
2024 | Residential | Solar | 10 | Pre-Gen Approved
2024 | Residential | Solar | 10 | In-Service
2024 | Residential | Solar | 10 | In-Service
2024 | Commercial | BESS | 11500 | Technical Specifications
2024 | Residential | Solar | 10 | In-Service
2024 | Residential | Solar | 10 | In-Service
2024 | Commercial | Solar | 10 | In-Service
2024 | Residential | Solar | 10 | Pre-Gen Denied
2024 | Residential | Solar | 10 | Pre-Gen Denied
2024 | Residential | Solar | 10 | Reviewing Installation Plans
2024 | Residential | Solar | 10 | In-Service
2024 | Residential | Solar | 10 | CIA
2024 | Residential | Solar | 600 | In-Service
2024 | Commercial | Solar | 500 | Pre-Gen Approved
2024 | Residential | Solar | 10 | Reviewing Installation Plans
2024 | Residential | Solar | 6 | In-Service
2024 | Residential | Solar | 7 | Pre-Gen Denied
2024 | Residential | Solar | 5.94 | In-Service
2024 | Residential | Solar | 5 | Reviewing Installation Plans
2024 | Residential | Solar | 10 | In-Service
2024 | Residential | Solar | 9 | Reviewing Installation Plans
2024 | Residential | Solar | 5 | Pre-Gen Denied
2024 | Commercial | Solar | 75 | In-Service
2024 | Commercial | Solar | 200 | In-Service
2024 | Commercial | Solar | 990 | In-Service
2024 | Residential | Solar | 10 | In-Service
2024 | Residential | Solar | 10 | In-Service
2024 | Commercial | Solar | 740 | CCA
2024 | Residential | Solar | 10 | In-Service
2024 | Industrial | Solar | 100 | Pre-Gen Approved
2024 | Residential | Solar | 10 | In-Service
2024 | Commercial | Natural Gas Generator | 2000 | Comissioning
2024 | Residential | Solar | 6.613 | Pre-Gen Denied
2024 | Residential | Solar | 9.72 | Pre-Gen Denied
2024 | Industrial | Solar | 7500 | Pre-Gen Denied
2024 | Residential | Solar | 4.8 | Pre-Gen Approved
2024 | Residential | Solar | 10 | Reviewing Installation Plans
2024 | Commercial | Solar | 280 | In-Service
2024 | Residential | Solar | 6.97 | In-Service
2024 | Residential | Solar | 10 | Pre-Gen Approved
2024 | Residential | Solar | 6 | Pre-Gen Denied
2024 | Residential | Solar | 10 | In-Service
2024 | Residential | Solar | 4.5 | In-Service
2024 | Residential | Solar | 10 | In-Service
2024 | Residential | Solar | 24 | Pre-Gen Approved
2024 | Residential | Solar | 10 | Pre-Gen Approved
2024 | Residential | Solar | 7.6 | Reviewing Installation Plans
2024 | Residential | Solar | 10 | In-Service
2024 | Residential | Solar | 5 | Pre-Gen Approved
2024 | Residential | Solar | 10 | Pre-Gen Approved
2024 | Residential | Solar | 7.6 | Reviewing Installation Plans
2024 | Commercial |  | 500 | Pre-Gen Approved
2024 | Residential | Solar | 10 | Reviewing Installation Plans
2024 | Residential | Solar | 10 | Reviewing Installation Plans
2024 | Residential | Solar | 10 | Reviewing Installation Plans
2024 | Residential | Solar | 10 | Pre-Gen Approved
2024 | Residential | Solar | 10 | Pre-Gen Approved
2024 | Residential | Solar | 10 | Reviewing Installation Plans
2024 | Residential | Solar | 10 | Reviewing Installation Plans
2024 | Residential | Solar | 10 | Pre-Gen Approved
2024 | Residential | Solar | 10 | Reviewing Installation Plans
2024 | Residential | Solar | 10 | Reviewing Installation Plans
2024 | Residential | Solar | 10 | Pre-Gen Approved
2024 | Residential | Solar | 10 | Reviewing Installation Plans
2024 | Residential | Solar | 6 | Pre-Gen Approved
2024 | Residential | Solar | 10 | Pre-Gen Approved
2024 | Residential | Solar | 5 | Pre-Gen Approved
2024 | Residential | Solar | 10 | In-Service
2024 | Residential | Solar | 10 | In-Service