## Project_1_Ajax 2029
Labour | Total Units | Unit Cost (All In) | Total Cost
2-Circuit Pole Installation | 24 | 32595.3586 | 782288.6075
4 x 2 Meter Concrete Encased Trench Installation (per meter) | 730 | 1303.8143 | 951784.4725
500MCM Separate Neutral U/G (per meter) [per phase] | 770 | 117.3433 | 90354.3342
1000MCM w/ 500MCM separate neutral circuit installation through existing ducts (per meter) U/G [per phase] | 2310 | 260.7629 | 602362.2278
2-Circuit Pole Installation | 100 | 23729.4211 | 2372942.1094
4 x 2 Meter Concrete Encased Trench Installation (per meter) | 200 | 1355.9669 | 271193.3839
500MCM Separate Neutral U/G (per meter) [per phase] | 660 | 122.037 | 80544.435
1000MCM w/ 500MCM separate neutral circuit installation through existing ducts (per meter) U/G [per phase] | 1980 | 271.1934 | 536962.9002
2-Circuit Pole Installation | 6 | 32595.3586 | 195572.1519
4-Circuit Pole Installation | 17 | 39114.4304 | 664945.3164
4 x 2 Meter Concrete Encased Trench Installation (per meter) | 240 | 1303.8143 | 312915.443
1000MCM w/ 500MCM separate neutral circuit installation through existing ducts (per meter) U/G [per phase] | 1680 | 260.7629 | 438081.6202
500MCM Separate Neutral U/G (per meter) [per phase] | 560 | 117.3433 | 65712.243
Three Phase Padmount Transformer Foundation Installation | 1 | 19557.2152 | 19557.2152
PME Installation | 2 | 182534.0084 | 365068.0168
Stringing on Existing Pole (Per Span) | 12 | 9126.7004 | 109520.405
4 x 2 Meter Concrete Encased Trench Installation (per meter) | 640 | 1303.8143 | 834441.1813
1000MCM w/ 500MCM separate neutral circuit installation through existing ducts (per meter) U/G [per phase] | 1980 | 260.7629 | 516310.4809
500MCM Separate Neutral U/G (per meter) [per phase] | 660 | 117.3433 | 77446.5721
4 x 2 Meter Concrete Encased Trench Installation (per meter) | 220 | 1955.7215 | 430258.7341
1000MCM w/ 500MCM separate neutral circuit installation through existing ducts (per meter) U/G [per phase] | 1440 | 260.7629 | 375498.5316
500MCM Separate Neutral U/G (per meter) [per phase] | 480 | 117.3433 | 56324.7797
4-Circuit Pole Installation | 14 | 39114.4304 | 547602.0252
4-Circuit Pole Installation | 27 | 39114.4304 | 1056089.6201
1000MCM w/ 500MCM separate neutral circuit installation through existing ducts (per meter) U/G [per phase] | 600 | 260.7629 | 156457.7215
4 x 2 Meter Concrete Encased Trench Installation (per meter) | 80 | 1955.7215 | 156457.7215
500MCM Separate Neutral U/G (per meter) [per phase] | 200 | 117.3433 | 23468.6582
4-Circuit Pole Installation | 2 | 39114.4304 | 78228.8607
Stringing on Existing Pole (Per Span) | 19 | 19557.2152 | 371587.0886
1000MCM w/ 500MCM separate neutral circuit installation through existing ducts (per meter) U/G [per phase] | 600 | 260.7629 | 156457.7215
500MCM Separate Neutral U/G (per meter) [per phase] | 200 | 117.3433 | 23468.6582
Load Interrupter Switch + Pole Installation | 2 | 130381.4346 | 260762.8692
4 x 2 Meter Concrete Encased Trench Installation (per meter) | 100 | 1955.7215 | 195572.1519
4-Circuit Pole Installation | 20 | 39114.4304 | 782288.6075
Load Interrupter Switch + Pole Installation | 2 | 130381.4346 | 260762.8692
1000MCM w/ 500MCM separate neutral circuit installation through existing ducts (per meter) U/G [per phase] | 840 | 260.7629 | 219040.8101
500MCM Separate Neutral U/G (per meter) [per phase] | 280 | 117.3433 | 32856.1215
4 x 2 Meter Concrete Encased Trench Installation (per meter) | 120 | 1955.7215 | 234686.5822
4-Circuit Pole Installation | 12 | 39114.4304 | 469373.1645
2-Circuit Pole Installation | 2 | 32595.3586 | 65190.7173
Load Interrupter Switch + Pole Installation | 2 | 130381.4346 | 260762.8692
|  | Total | 15501200
Notes & Assumptions:
- Unit Costs (All in) include the following: material, labour, inflation, Admin/Project management
- For customer contributions please see response to 2-CCC-22 Part A

## Project_2_Bowmanville 2030
Labour | Total Units | Unit Cost (All In) | Total
4-Circuit Pole Installation | 46 | 44142.3506 | 2030548.1287
Load Interrupter Switch + Pole Installation | 4 | 147141.1687 | 588564.675
25kVA - Single Phase Polemount Tx | 4 | 9711.3171 | 38845.2685
50kVA - Single Phase Polemount Tx | 5 | 12139.1464 | 60695.7321
75kVA - Single Phase Polemount Tx | 4 | 13353.0611 | 53412.2443
225kVA - Three Phase Polemount Tx | 1 | 29133.9514 | 29133.9514
|  | Total | 2801200
Notes & Assumptions:
- Unit Costs (All in) include the following: material, labour, inflation, Admin/Project management
- For customer contributions please see response to 2-CCC-22 Part A

## Project_3_Pickering 2027
Labour | Total Units | Unit Cost (All In) | Total
4-Circuit Pole Installation | 19 | 41284.4037 | 784403.6697
Stringing on Existing Pole (Per Span) | 94 | 9633.0275 | 905504.5872
4-Circuit Pole Installation | 26 | 41284.4037 | 1073394.4954
3-Circuit Pole Installation | 41 | 41284.4037 | 1692660.5505
2-Circuit Pole Installation | 97 | 34403.6697 | 3337155.9633
1000MCM w/ 500MCM separate neutral circuit installation through existing ducts (per meter) U/G [per phase] | 900 | 275.2294 | 247706.422
500MCM Separate Neutral U/G (per meter) [per phase] | 300 | 123.8532 | 37155.9633
4 x 2 Meter Concrete Encased Trench Installation (per meter) | 150 | 20642.2018 | 3096330.2752
Load Interrupter Switch + Pole Installation | 6 | 137614.6789 | 825688.0734
|  | Total | 12000000
Notes & Assumptions:
- Unit Costs (All in) include the following: material, labour, inflation, Admin/Project management
- For customer contributions please see response to 2-CCC-22 Part A

## Project_4_Pickering 2028
Labour | Total Units | Unit Cost (All In) | Total
4-Circuit Pole Installation | 15 | 36424.75 | 546371.2497
Stringing on Existing Pole (Per Span) | 55 | 8499.1083 | 467450.9581
4 x 2 Meter Concrete Encased Trench Installation (per meter) | 180 | 3035.3958 | 546371.2497
1000MCM w/ 500MCM separate neutral circuit installation through existing ducts (per meter) U/G [per phase] | 3075 | 242.8317 | 746707.3746
500MCM Separate Neutral U/G (per meter) [per phase] | 1025 | 109.2742 | 112006.1062
Load Interrupter Switch + Pole Installation | 18 | 121415.8333 | 2185484.999
4-Circuit Pole Installation | 57 | 36424.75 | 2076210.749
4 x 2 Meter Concrete Encased Trench Installation (per meter) | 240 | 1821.2375 | 437096.9998
1000MCM w/ 500MCM separate neutral circuit installation through existing ducts (per meter) U/G [per phase] | 2340 | 242.8317 | 568226.0997
500MCM Separate Neutral U/G (per meter) [per phase] | 780 | 109.2742 | 85233.915
4-Circuit Pole Installation | 50 | 36424.75 | 1821237.4991
4-Circuit Pole Installation | 24 | 36424.75 | 874193.9996
4 x 2 Meter Concrete Encased Trench Installation (per meter) | 120 | 3035.3958 | 364247.4998
1000MCM w/ 500MCM separate neutral circuit installation through existing ducts (per meter) U/G [per phase] | 1260 | 242.8317 | 305967.8999
500MCM Separate Neutral U/G (per meter) [per phase] | 420 | 109.2742 | 45895.185
4 x 2 Meter Concrete Encased Trench Installation (per meter) | 330 | 24943.0353 | 8231201.6537
1000MCM w/ 500MCM separate neutral circuit installation through existing ducts (per meter) U/G [per phase] | 2100 | 285.0633 | 598632.8475
500MCM Separate Neutral U/G (per meter) [per phase] | 700 | 128.2785 | 89794.9271
4-Circuit Pole Installation | 29 | 36424.75 | 1056317.7495
4-Circuit Pole Installation | 1 | 607079.1664 | 607079.1664
1000MCM w/ 500MCM separate neutral circuit installation through existing ducts (per meter) U/G [per phase] | 4800 | 242.8317 | 1165591.9994
500MCM Separate Neutral U/G (per meter) [per phase] | 1600 | 109.2742 | 174838.7999
4-Circuit Pole Installation | 51 | 36424.75 | 1857662.2491
4 x 2 Meter Concrete Encased Trench Installation (per meter) | 180 | 1821.2375 | 327822.7498
4-Circuit Pole Installation | 15 | 36424.75 | 546371.2497
4 x 2 Meter Concrete Encased Trench Installation (per meter) | 120 | 3035.3958 | 364247.4998
1000MCM w/ 500MCM separate neutral circuit installation through existing ducts (per meter) U/G [per phase] | 1680 | 242.8317 | 407957.1998
500MCM Separate Neutral U/G (per meter) [per phase] | 560 | 109.2742 | 61193.58
4 x 2 Meter Concrete Encased Trench Installation (per meter) | 120 | 1821.2375 | 218548.4999
4-Circuit Pole Installation | 70 | 36424.75 | 2549732.4988
4 x 2 Meter Concrete Encased Trench Installation (per meter) | 160 | 1821.2375 | 291397.9999
1000MCM w/ 500MCM separate neutral circuit installation through existing ducts (per meter) U/G [per phase] | 1080 | 242.8317 | 262258.1999
500MCM Separate Neutral U/G (per meter) [per phase] | 360 | 109.2742 | 39338.73
Stringing on Existing Pole (Per Span) | 42 | 8499.1083 | 356962.5498
1000MCM w/ 500MCM separate neutral circuit installation through existing ducts (per meter) U/G [per phase] | 2250 | 242.8317 | 546371.2497
500MCM Separate Neutral U/G (per meter) [per phase] | 750 | 109.2742 | 81955.6875
4 x 2 Meter Concrete Encased Trench Installation (per meter) | 180 | 1821.2375 | 327822.7498
4-Circuit Pole Installation | 51 | 36424.75 | 1857662.2491
4-Circuit Pole Installation | 23 | 36424.75 | 837769.2496
4 x 2 Meter Concrete Encased Trench Installation (per meter) | 250 | 24943.0353 | 6235758.8286
1000MCM w/ 500MCM separate neutral circuit installation through existing ducts (per meter) U/G [per phase] | 1500 | 285.0633 | 427594.8911
500MCM Separate Neutral U/G (per meter) [per phase] | 500 | 128.2785 | 64139.2337
4-Circuit Pole Installation | 27 | 36424.75 | 983468.2495
4-Circuit Pole Installation | 20 | 36424.75 | 728494.9997
4 x 2 Meter Concrete Encased Trench Installation (per meter) | 140 | 1821.2375 | 254973.2499
1000MCM w/ 500MCM separate neutral circuit installation through existing ducts (per meter) U/G [per phase] | 3690 | 242.8317 | 896048.8496
500MCM Separate Neutral U/G (per meter) [per phase] | 1230 | 109.2742 | 134407.3274
4 x 2 Meter Concrete Encased Trench Installation (per meter) | 250 | 3035.3958 | 758848.958
4-Circuit Pole Installation | 45 | 36424.75 | 1639113.7492
4-Circuit Pole Installation | 42 | 36424.75 | 1529839.4993
4 x 2 Meter Concrete Encased Trench Installation (per meter) | 100 | 3035.3958 | 303539.5832
1000MCM w/ 500MCM separate neutral circuit installation through existing ducts (per meter) U/G [per phase] | 2520 | 242.8317 | 611935.7997
500MCM Separate Neutral U/G (per meter) [per phase] | 840 | 109.2742 | 91790.37
4 x 2 Meter Concrete Encased Trench Installation (per meter) | 160 | 1821.2375 | 291397.9999
4-Circuit Pole Installation | 21 | 36424.75 | 764919.7496
Stringing on Existing Pole (Per Span) | 5 | 8499.1083 | 42495.5416
|  | Total | 49800000
Notes & Assumptions:
- Unit Costs (All in) include the following: material, labour, inflation, Admin/Project management
- For customer contributions please see response to 2-CCC-22 Part A

## Project_5_Pickering 2027
Labour | Total Units | Unit Cost (All In) | Total
4-Circuit Pole Installation | 50 | 42105.2632 | 2105263.1579
4-Circuit Pole Installation | 2 | 2807017.5439 | 5614035.0877
Load Interrupter Switch + Pole Installation | 2 | 140350.8772 | 280701.7544
|  | Total | 8000000
Notes & Assumptions:
- Unit Costs (All in) include the following: material, labour, inflation, Admin/Project management
- For customer contributions please see response to 2-CCC-22 Part A

## Project_6_Pickering 2028
No project estimate - Project has been deferred

## Project_7_Uxbridge 2027
Labour | Total Units | Unit Cost (All In) | Total
50kVA - Single Phase Polemount Tx | 9 | 9872.6023 | 88853.4211
25kVA - Single Phase Polemount Tx | 3 | 7898.0819 | 23694.2456
100kVA - Single Phase Polemount Tx | 1 | 11847.1228 | 11847.1228
3-Circuit Pole Installation | 14 | 35900.3722 | 502605.2104
|  | Total | 627000
Notes & Assumptions:
- Unit Costs (All in) include the following: material, labour, inflation, Admin/Project management
- For customer contributions please see response to 2-CCC-22 Part A

## Project_8_Uxbridge 2027
Labour | Total Units | Unit Cost (All In) | Total
Wood Pole - Labour | 250 | 104.7143 | 26178.5818
Wood Pole - Labour | 1476.08 | 110.3955 | 162952.6336
Wood Pole - Labour | 3.6 | 110.408 | 397.469
Wood Pole - Labour | 3.75 | 110.4206 | 414.0771
Wood Pole - Labour | 25 | 120.419 | 3010.4743
Wood Pole - Labour | 0.6 | 121.4201 | 72.852
Wood Pole - Labour | 328.1 | 121.4326 | 39842.0295
Wood Pole - Labour | 20.8 | 121.4451 | 2526.0579
Wood Pole - Labour | 25 | 126.9511 | 3173.7776
Wood Pole - Materials | 736 | 0.33787 | 248.6715
Wood Pole - Materials | 2 | 0.60066 | 1.2013
Wood Pole - Materials | 199 | 0.77585 | 154.3936
Wood Pole - Materials | 22 | 0.77585 | 17.0686
Wood Pole - Materials | 1920 | 0.80087 | 1537.6788
Wood Pole - Materials | 640 | 0.81339 | 520.5684
Wood Pole - Materials | 22 | 2.0022 | 44.0481
Wood Pole - Materials | 136 | 2.0147 | 273.9992
Wood Pole - Materials | 160 | 2.0397 | 326.3563
Wood Pole - Materials | 576 | 2.4277 | 1398.3267
Wood Pole - Materials | 12 | 4.9429 | 59.3148
Wood Pole - Materials | 134 | 5.481 | 734.4519
Wood Pole - Materials | 194 | 5.531 | 1073.0215
Wood Pole - Materials | 382 | 5.6562 | 2160.659
Wood Pole - Materials | 97 | 6.8575 | 665.1762
Wood Pole - Materials | 53 | 7.1954 | 381.3539
Wood Pole - Materials | 2 | 7.3205 | 14.641
Wood Pole - Materials | 62 | 7.5708 | 469.3875
Wood Pole - Materials | 180 | 9.0224 | 1624.0231
Wood Pole - Materials | 20 | 10.2987 | 205.9749
Wood Pole - Materials | 34 | 11.1497 | 379.0889
Wood Pole - Materials | 13 | 11.9505 | 155.3571
Wood Pole - Materials | 64 | 12.0882 | 773.6447
Wood Pole - Materials | 56 | 12.5637 | 703.5682
Wood Pole - Materials | 1 | 25.9658 | 25.9658
Wood Pole - Materials | 36 | 30.671 | 1104.1555
Wood Pole - Materials | 28 | 35.2009 | 985.6261
Wood Pole - Materials | 120 | 40.1313 | 4815.7578
Wood Pole - Materials | 14 | 40.7445 | 570.4228
Wood Pole - Materials | 1 | 45.1118 | 45.1118
Wood Pole - Materials | 64 | 52.2195 | 3342.0488
Wood Pole - Materials | 40 | 60.003 | 2400.1205
Wood Pole - Materials | 7 | 78.273 | 547.9107
Wood Pole - Materials | 29 | 78.8736 | 2287.3348
Wood Pole - Materials | 12 | 96.9809 | 1163.7706
Wood Pole - Materials | 3 | 105.7404 | 317.2213
Wood Pole - Materials | 1 | 115.376 | 115.376
Wood Pole - Materials | 103 | 125.049 | 12880.0499
Wood Pole - Materials | 34 | 138.0382 | 4693.2991
Wood Pole - Materials | 34 | 195.1631 | 6635.5447
Wood Pole - Materials | 4 | 376.0356 | 1504.1422
Wood Pole - Materials | 9 | 661.6849 | 5955.1643
Wood Pole - Materials | 15 | 715.7815 | 10736.7223
Wood Pole - Materials | 5 | 732.0493 | 3660.2463
Wood Pole - Materials | 2 | 863.5678 | 1727.1357
Wood Pole - Materials | 2 | 958.8594 | 1917.7188
Wood Pole - Materials | 3 | 1952.8571 | 5858.5714
Wood Pole - Materials | 2 | 5425.2733 | 10850.5466
Wood Pole - Materials | 17 | 7022.4671 | 119381.9412
Wood Pole - Materials | 5 | 7888.8756 | 39444.3779
Wood Pole - Vehicles | 7.2 | 19.4587 | 140.103
Wood Pole - Vehicles | 327.2 | 19.4838 | 6375.0903
Wood Pole - Vehicles | 15.1 | 19.4963 | 294.3939
Wood Pole - Vehicles | 1.95 | 74.9819 | 146.2146
Wood Pole - Vehicles | 731.65 | 74.9944 | 54869.6373
Wood Pole - Vehicles | 4.5 | 75.0069 | 337.531
Wood Pole - Vehicles | 1.2 | 75.0194 | 90.0233
Wood Pole - Purchases | 1 | 875.9564 | 875.9564
Wood Pole - Subcontract | 39.45 | 2252.4592 | 88859.5168
Wood Pole - Consulting | 1 | 35036.0774 | 35036.0774
Wood Pole - Consulting | 1 | 111114.715 | 111114.715
O/H Conductors - Labour | 401.22 | 110.3955 | 44292.8945
O/H Conductors - Labour | 3.6 | 110.408 | 397.469
O/H Conductors - Labour | 3.75 | 110.4206 | 414.0771
O/H Conductors - Labour | 0.6 | 121.4201 | 72.852
O/H Conductors - Labour | 105.31 | 121.4326 | 12788.065
O/H Conductors - Labour | 19.6 | 121.4451 | 2380.3238
O/H Conductors - Materials | 575 | 0.20022 | 115.1257
O/H Conductors - Materials | 190 | 3.4413 | 653.8389
O/H Conductors - Materials | 147 | 4.1045 | 603.3587
O/H Conductors - Materials | 23 | 5.4434 | 125.1992
O/H Conductors - Materials | 715 | 7.4456 | 5323.6248
O/H Conductors - Materials | 812 | 8.9848 | 7295.6654
O/H Conductors - Materials | 35 | 12.0131 | 420.4591
O/H Conductors - Materials | 46 | 12.1132 | 557.2084
O/H Conductors - Materials | 320 | 12.3134 | 3940.302
O/H Conductors - Materials | 6178 | 12.351 | 76304.3841
O/H Conductors - Materials | 138 | 18.0197 | 2486.715
O/H Conductors - Materials | 7 | 19.9593 | 139.715
O/H Conductors - Materials | 8 | 38.1542 | 305.2333
O/H Conductors - Materials | 25 | 39.0301 | 975.7528
O/H Conductors - Materials | 67 | 53.9714 | 3616.0855
O/H Conductors - Materials | 3 | 60.003 | 180.009
O/H Conductors - Materials | 6 | 72.7544 | 436.5266
O/H Conductors - Materials | 6 | 78.273 | 469.6378
O/H Conductors - Materials | 88 | 87.9585 | 7740.3509
O/H Conductors - Materials | 3 | 96.9809 | 290.9427
O/H Conductors - Materials | 94 | 98.2322 | 9233.8315
O/H Conductors - Materials | 34 | 124.7737 | 4242.3067
O/H Conductors - Materials | 75 | 150.1389 | 11260.4191
O/H Conductors - Materials | 37 | 159.5242 | 5902.3942
O/H Conductors - Materials | 64 | 220.6034 | 14118.6147
O/H Conductors - Materials | 23 | 614.0454 | 14123.0445
O/H Conductors - Vehicles | 7.2 | 19.4587 | 140.103
O/H Conductors - Vehicles | 104.41 | 19.4838 | 2034.3007
O/H Conductors - Vehicles | 13.9 | 19.4963 | 270.9984
O/H Conductors - Vehicles | 21.81 | 41.2325 | 899.2812
O/H Conductors - Vehicles | 1.95 | 74.9819 | 146.2146
O/H Conductors - Vehicles | 200.22 | 74.9944 | 15015.3745
O/H Conductors - Vehicles | 1 | 75.0069 | 75.0069
O/H Conductors - Vehicles | 1.2 | 75.0194 | 90.0233
In-Line Switch - Labour | 8 | 110.3955 | 883.1642
In-Line Switch - Labour | 0.8 | 121.4326 | 97.1461
In-Line Switch - Labour | 0.8 | 121.4451 | 97.1561
In-Line Switch - Materials | 6 | 0.32536 | 1.9521
In-Line Switch - Materials | 18 | 0.3629 | 6.5321
In-Line Switch - Materials | 3 | 9.3852 | 28.1557
In-Line Switch - Materials | 1 | 16.1802 | 16.1802
In-Line Switch - Materials | 24 | 126.5256 | 3036.6154
In-Line Switch - Materials | 3 | 220.6409 | 661.9227
In-Line Switch - Materials | 1 | 265.615 | 265.615
In-Line Switch - Materials | 12 | 1832.8761 | 21994.5136
In-Line Switch - Vehicles | 1.6 | 19.4963 | 31.1941
In-Line Switch - Vehicles | 4 | 74.9944 | 299.9775
U/G Conduit - Labour | 3 | 110.3955 | 331.1866
U/G Conduit - Labour | 0.4 | 121.4451 | 48.578
U/G Conduit - Materials | 150 | 0.60066 | 90.0984
U/G Conduit - Materials | 1 | 7.4456 | 7.4456
U/G Conduit - Materials | 1 | 18.7455 | 18.7455
U/G Conduit - Materials | 2 | 46.238 | 92.476
U/G Conduit - Materials | 3 | 71.3279 | 213.9836
U/G Conduit - Vehicles | 0.4 | 19.4963 | 7.7985
U/G Conduit - Vehicles | 1.5 | 74.9944 | 112.4916
U/G Conductors - Labour | 3 | 110.3955 | 331.1866
U/G Conductors - Labour | 1 | 121.4326 | 121.4326
U/G Conductors - Materials | 3 | 0.33787 | 1.0136
U/G Conductors - Materials | 2 | 0.77585 | 1.5517
U/G Conductors - Materials | 2 | 2.4277 | 4.8553
U/G Conductors - Materials | 2 | 4.1045 | 8.209
U/G Conductors - Materials | 2 | 5.6562 | 11.3124
U/G Conductors - Materials | 2 | 8.9473 | 17.8945
U/G Conductors - Materials | 1 | 11.1872 | 11.1872
U/G Conductors - Materials | 1 | 12.0131 | 12.0131
U/G Conductors - Materials | 1 | 14.3907 | 14.3907
U/G Conductors - Materials | 1 | 33.4365 | 33.4365
U/G Conductors - Materials | 1 | 46.6885 | 46.6885
U/G Conductors - Materials | 1 | 81.6516 | 81.6516
U/G Conductors - Materials | 1 | 100.7725 | 100.7725
U/G Conductors - Materials | 1 | 106.3661 | 106.3661
U/G Conductors - Materials | 1 | 141.7923 | 141.7923
U/G Conductors - Materials | 1 | 238.8232 | 238.8232
U/G Conductors - Materials | 1 | 632.5656 | 632.5656
U/G Conductors - Vehicles | 1 | 19.4838 | 19.4838
U/G Conductors - Vehicles | 1.5 | 74.9944 | 112.4916
Padmount Transformer - Materia | 1 | 188.4057 | 188.4057
Polemount Transformer - Labour | 5 | 110.3955 | 551.9776
Polemount Transformer - Labour | 2 | 121.4326 | 242.8652
Polemount Transformer - Materi | 3 | 0.33787 | 1.0136
Polemount Transformer - Materi | 2 | 0.77585 | 1.5517
Polemount Transformer - Materi | 2 | 2.0147 | 4.0294
Polemount Transformer - Materi | 8 | 2.0397 | 16.3178
Polemount Transformer - Materi | 6 | 4.1045 | 24.6269
Polemount Transformer - Materi | 2 | 4.7302 | 9.4603
Polemount Transformer - Materi | 15 | 5.4434 | 81.6516
Polemount Transformer - Materi | 4 | 5.6562 | 22.6247
Polemount Transformer - Materi | 3 | 6.1692 | 18.5077
Polemount Transformer - Materi | 3 | 8.9473 | 26.8418
Polemount Transformer - Materi | 1 | 10.2111 | 10.2111
Polemount Transformer - Materi | 5 | 12.0131 | 60.0656
Polemount Transformer - Materi | 7 | 14.3907 | 100.735
Polemount Transformer - Materi | 1 | 25.653 | 25.653
Polemount Transformer - Materi | 3 | 32.8484 | 98.5451
Polemount Transformer - Materi | 1 | 33.4365 | 33.4365
Polemount Transformer - Materi | 1 | 81.6516 | 81.6516
Polemount Transformer - Materi | 1 | 100.7725 | 100.7725
Polemount Transformer - Materi | 1 | 632.5656 | 632.5656
Polemount Transformer - Materi | 1 | 6087.8968 | 6087.8968
Polemount Transformer - Vehicl | 2 | 19.4838 | 38.9675
Polemount Transformer - Vehicl | 5 | 74.9944 | 374.9719
O/H Service System - Labour | 9 | 110.3955 | 993.5598
O/H Service System - Materials | 16 | 4.1045 | 65.6717
O/H Service System - Materials | 16 | 4.7302 | 75.6826
O/H Service System - Materials | 9 | 4.8803 | 43.923
O/H Service System - Materials | 8 | 5.5936 | 44.7489
O/H Service System - Materials | 27 | 6.3069 | 170.2859
O/H Service System - Materials | 16 | 12.0131 | 192.2099
O/H Service System - Materials | 1 | 19.9593 | 19.9593
O/H Service System - Materials | 1 | 38.1542 | 38.1542
O/H Service System - Materials | 18 | 63.4318 | 1141.7716
O/H Service System - Vehicles | 3.25 | 74.9819 | 243.6911
O/H Service System - Vehicles | 0.75 | 74.9944 | 56.2458
O/H Service System - Vehicles | 0.5 | 75.0069 | 37.5034
1085824
Notes & Assumptions:
- Unit Costs (All in) include the following: material, labour, inflation, Admin/Project management
- For customer contributions please see response to 2-CCC-22 Part A

## Project_9_Whitby 2031
Labour | Total Units | Unit Cost (All In) | Total
4-Circuit Pole Installation | 4 | 2348653.4848 | 9394613.9393
4-Circuit Pole Installation | 533 | 46973.0697 | 25036646.1483
Stringing on Existing Pole (Per Span) | 52 | 10960.3829 | 569939.9123
|  | Total | 35001200
Notes & Assumptions:
- Unit Costs (All in) include the following: material, labour, inflation, Admin/Project management
- For customer contributions please see response to 2-CCC-22 Part A

## Project_10_Whitby 2031
No project estimate - Project is in early stages of planning