## Pickering
Pickering
Phase | Asset Class | Count | Unit Cost (All In) | Total
1 | Fuse Replacement | 5 | 5411.2895 | 27056.4477
1 | Trip Saver Installation | 6 | 13528.2238 | 81169.343
1 | 25kVA Transformer Replacement | 17 | 13528.2238 | 229979.8053
1 | 50kVA Transformer Replacement | 2 | 16233.8686 | 32467.7372
1 | 167kVA Transformer Replacement | 1 | 19841.395 | 19841.395
1 | Single Phase Pole Replacement | 31 | 27056.4477 | 838749.878
2 | Fuse Replacement | 17 | 5411.2895 | 91991.9221
2 | Trip Saver Installation | 7 | 13528.2238 | 94697.5669
2 | 25kVA Transformer Replacement | 29 | 13528.2238 | 392318.4913
2 | 50kVA Transformer Replacement | 5 | 16233.8686 | 81169.343
2 | Single Phase Pole Replacement | 25 | 27056.4477 | 676411.1919
2 | Three Phase Pole Replacement | 2 | 27056.4477 | 54112.8954
2 | Insulator Replacement | 210 | 901.8816 | 189395.1337
3 | Trip Saver Installation | 6 | 12964.5478 | 77787.2871
3 | 25kVA Transformer Replacement | 16 | 13528.2238 | 216451.5814
3 | 50kVA Transformer Replacement | 1 | 16233.8686 | 16233.8686
3 | Single Phase Pole Replacement | 36 | 27056.4477 | 974032.1164
3 | Three Phase Pole Replacement | 2 | 27056.4477 | 54112.8954
3 | Insulator Replacement | 199 | 901.8816 | 179474.4363
4 | Fuse Replacement | 1 | 5411.2895 | 5411.2895
4 | Trip Saver Installation | 7 | 13528.2238 | 94697.5669
4 | 25kVA Transformer Replacement | 10 | 13528.2238 | 135282.2384
4 | Single Phase Pole Replacement | 13 | 27056.4477 | 351733.8198
4 | Insulator Replacement | 52 | 901.8816 | 46897.8426
4 | Three Phase Pole Replacement | 16 | 27056.4477 | 432903.1628
4 | Three Phase Pole Replacement | 24 | 27056.4477 | 649354.7443
|  |  | Total Cost | 6043734
Notes & Assumptions:
- Unit Costs (All In) include the following: material, labour, project management, inflation, and overheads

## Belleville
Belleville
Phase | Asset Class | Count | Unit Cost (All In) | Total Cost
1 | UG Conductor (in Meters) | 195 | 1175.8218 | 229285.2573
1 | Pole | 23 | 41993.6369 | 965853.6479
1 | Polemount Transformers | 7 | 15117.7093 | 105823.9649
1 Radials | Pole | 4 | 41993.6369 | 167974.5475
1 Radials | Polemount Transformers | 2 | 15117.7093 | 30235.4185
2 | UG Conductor (in Meters) | 225 | 839.8727 | 188971.3659
2 | Pole | 20 | 41993.6369 | 839872.7373
2 | Polemount Transformers | 7 | 15117.7093 | 105823.9649
2 | 1P Padmount Transformers | 1 | 19317.073 | 19317.073
2 | 3P Padmount Transformers | 1 | 83987.2737 | 83987.2737
Phase 2 Radials | Pole | 1 | 41993.6369 | 41993.6369
Phase 2 Radials | Polemount Transformers | 2 | 15117.7093 | 30235.4185
3 | Pole | 9 | 41993.6369 | 377942.7318
3 | Polemount Transformers | 6 | 15117.7093 | 90706.2556
Phase 3 Radials | Pole | 11 | 41993.6369 | 461930.0055
Phase 3 Radials | Polemount Transformers | 11 | 15117.7093 | 166294.802
Phase 4 | UG Conductor (in Meters) | 210 | 839.8727 | 176373.2748
Phase 4 | Pole | 26 | 41993.6369 | 1091834.5585
Phase 4 | Polemount Transformers | 6 | 15117.7093 | 90706.2556
Phase 4 | 1P Padmount Transformers | 1 | 19317.073 | 19317.073
Phase 4 | 3P Padmount Transformers | 1 | 83987.2737 | 83987.2737
Phase 4 Radials | Pole | 3 | 41993.6369 | 125980.9106
Phase 4 Radials | Polemount Transformers | 1 | 15117.7093 | 15117.7093
Phase 5 | UG Conductor (in Meters) | 165 | 839.8727 | 138579.0017
Phase 5 | Pole | 19 | 41993.6369 | 797879.1004
Phase 5 | Polemount Transformers | 7 | 15117.7093 | 105823.9649
Phase 5 Radials | Polemount Transformers | 8 | 15117.7093 | 120941.6742
Phase 7 | UG Conductor (in Meters) | 310 | 839.8727 | 260360.5486
Phase 7 | Pole | 18 | 41993.6369 | 755885.4636
Phase 7 | Polemount Transformers | 2 | 15117.7093 | 30235.4185
Phase 7 | 1P Padmount Transformers | 3 | 19317.073 | 57951.2189
Phase 7 Radials | UG Conductor (in Meters) | 65 | 839.8727 | 54591.7279
Phase 7 Radials | Polemount Transformers | 13 | 15117.7093 | 196530.2205
Phase 7 Radials | 1P Padmount Transformers | 1 | 19317.073 | 19317.073
Phase 8 | UG Conductor (in Meters) | 210 | 839.8727 | 176373.2748
Phase 8 | Pole | 10 | 41993.6369 | 419936.3687
Phase 8 | Polemount Transformers | 3 | 15117.7093 | 45353.1278
Phase 8 | 1P Padmount Transformers | 1 | 19317.073 | 19317.073
Phase 8 | 3P Padmount Transformers | 1 | 83987.2737 | 83987.2737
Phase 9 | UG Conductor (in Meters) | 300 | 839.8727 | 251961.8212
Phase 9 | Pole | 18 | 41993.6369 | 755885.4636
Phase 9 | Polemount Transformers | 5 | 15117.7093 | 75588.5464
Phase 9 | 1P Padmount Transformers | 1 | 19317.073 | 19317.073
Phase 9 | 3P Padmount Transformers | 2 | 83987.2737 | 167974.5475
Phase 9 Radials | Pole | 13 | 41993.6369 | 545917.2793
Phase 9 Radials | Polemount Transformers | 10 | 15117.7093 | 151177.0927
|  |  | Total Cost | 10760449.5104
Notes & Assumptions:
- Unit Costs (All In) include the following: material, labour, project management, inflation, and overheads

## Port Hope
Port Hope
Phase | Asset Class | Count | Unit Cost (All In) | Total Cost
1 | 4 x 2 Meter Concrete Encased Trench Installation (per meter) | 50 | 1288.8885 | 64444.4258
1 | 1000MCM w/ 500MCM separate neutral circuit installation through existing ducts (per meter) U/G [per phase] | 210 | 247.4666 | 51967.9849
1 | 500MCM Separate Neutral U/G (per meter) [per phase] | 70 | 92.8 | 6495.9981
1 | 3-Circuit Pole Installation | 26 | 30933.3244 | 804266.4337
1 | 4-Circuit Pole Installation | 11 | 28355.5473 | 311911.0208
1 | Three Phase Padmount Transformer 150kVA Installation | 1 | 56711.0947 | 56711.0947
1 | 300kVA - Three Phase Polemount Tx | 1 | 29489.7692 | 29489.7692
1 | 50kVA - Single Phase Polemount Tx | 10 | 8506.6642 | 85066.642
2 | 2 x 2 Meter Concrete Encased Trench Installation (per meter) | 250 | 773.3331 | 193333.2773
2 | 2 x 2 Meter Concrete Encased Trench Installation (per meter) | 1810 | 618.6665 | 1119786.3423
2 | 1/0 Cable Installation through existing duct (per meter) U/G [per phase] | 3175 | 51.5555 | 163688.8415
2 | 50kVA (27.6/16kV) Single Phase Padmount Tx | 10 | 13610.6627 | 136106.6272
2 | 4-Circuit Pole Installation | 7 | 30933.3244 | 216533.2706
3 | 2 x 2 Meter Concrete Encased Trench Installation (per meter) | 750 | 618.6665 | 463999.8656
3 | 1/0 Cable Installation through existing duct (per meter) U/G [per phase] | 770 | 51.5555 | 39697.7663
3 | 50kVA (27.6/16kV) Single Phase Padmount Tx | 7 | 13610.6627 | 95274.6391
4 | 2 x 2 Meter Concrete Encased Trench Installation (per meter) | 255 | 773.3331 | 197199.9429
4 | 2 x 2 Meter Concrete Encased Trench Installation (per meter) | 1665 | 618.6665 | 1030079.7016
4 | 1/0 Cable Installation through existing duct (per meter) U/G [per phase] | 2365 | 51.5555 | 121928.8536
4 | 50kVA (27.6/16kV) Single Phase Padmount Tx | 28 | 13610.6627 | 381098.5563
5 | 2 x 2 Meter Concrete Encased Trench Installation (per meter) | 1365 | 773.3331 | 1055599.6942
5 | 1/0 Cable Installation through existing duct (per meter) U/G [per phase] | 1365 | 51.5555 | 70373.3129
5 | 50kVA (27.6/16kV) Single Phase Padmount Tx | 10 | 13610.6627 | 136106.6272
|  |  | Total Cost | 6831160.6879
Notes & Assumptions:
- Unit Costs (All In) include the following: material, labour, project management, inflation, and overheads