## Staff.54 c d
Table 1
Number of Installations by Option Type
| Whole Home Heat Pumps1 |  |  | Single Measure Heat Pumps
Option Type | 2023 | 2024 | 2025 | 2025 | 2026 2 | 2027 | 2028 | 2029 | 2030
4A |  |  |  | 425 |  | 3900 | 3900 | 3900 | 3900
4B |  |  |  | 1964 |  | 1200 | 1200 | 1200 | 1200
4C |  |  |  | 1593 |  | 720 | 720 | 720 | 720
4D |  |  |  | 27 |  | 180 | 180 | 180 | 180
Total | 13127 | 69411 | 6225 | 4009 |  | 6000 | 6000 | 6000 | 6000
Notes:
1 In 2023-2025 through the historical HER/HER+ offerings, gas savings were claimed through whole building calculations and 4A-4D sizing was not tracked therefore the data cannot be provided.
2 Enbridge Gas does not have a 2026 measure-level forecast.
Table 2
Number of Installations with Optimized Controls (Automatic Switchover)
| Whole Home Heat Pumps1 | Single Measure Heat Pumps
Option Type | 2023-2025 | 2025 | 2026 2 | 2027 3 | 2028 | 2029 | 2030
4A |  | 17 |  | 0 | 0 | 0 | 0
4B |  | 29 |  | 0 | 0 | 0 | 0
4C |  | 59 |  | 0 | 0 | 0 | 0
4D |  | 7 |  | 180 | 180 | 180 | 180
Total |  | 112 |  | 180 | 180 | 180 | 180
Notes:
1 In 2023-2025 through the historical HER/HER+ offerings, gas savings were claimed through whole building calculations and 4A-4D sizing was not tracked therefore the data cannot be provided.
2 Enbridge Gas does not have a 2026 measure-level forecast.
3 For 2027 - 2030, only 4D option type is using an assumption of automatic switchover. Refer to Attachment 1.
Table 3
Measure-Level TRC-Plus Ratio1 of Installations by Option Type
| Whole Home Heat Pumps2 | Single Measure Heat Pumps
Option Type | 2023-2025 | 2025 3 | 2026 4 | 2027 | 2028 | 2029 | 2030
4A |  | 0.73941 |  | 1.0737 | 1.0137 | 0.95016 | 0.97845
4B |  | 0.74368 |  | 0.92595 | 0.88093 | 0.83216 | 0.85667
4C |  | 0.45509 |  | 0.51923 | 0.51469 | 0.50704 | 0.5205
4D |  | 0.35317 |  | 0.37117 | 0.37308 | 0.37263 | 0.38386
Total |  | 0.58454 |  | 0.85011 | 0.81618 | 0.77784 | 0.80091
Notes:
1 TRC-Plus Ratios in this table are measure-level and do not include offering or program-level costs.
2 In 2023-2025 through the historical HER/HER+ offerings, gas savings were claimed through whole building calculations and 4A-4D sizing was not tracked therefore the data cannot be provided.
3 2025 TRC-Plus Ratio only includes Residential Single Measure heat pumps.
4 Enbridge Gas does not have a 2026 measure-level forecast.
Table 4
Net Annual Natural Gas Savings (m3) by Option Type
| Whole Home Heat Pumps1 | Single Measure Heat Pumps
Option Type | 2023-2025 | 2025 | 2026 2 | 2027 | 2028 | 2029 | 2030
4A |  | 294679.84 |  | 2551731 | 2551731 | 2551731 | 2551731
4B |  | 1753741.99 |  | 943488 | 943488 | 943488 | 943488
4C |  | 1674282.61 |  | 799344 | 799344 | 799344 | 799344
4D |  | 41983.76 |  | 281244.6 | 281244.6 | 281244.6 | 281244.6
Total |  | 3764688.2 |  | 4575807.6 | 4575807.6 | 4575807.6 | 4575807.6
Notes:
1 In 2023-2025 through the historical HER/HER+ offerings, gas savings were claimed through whole building calculations and 4A-4D sizing was not tracked therefore the data cannot be provided.
2 Enbridge Gas does not have a 2026 measure-level forecast.
Table 5
Net Annual Natural Gas Savings (m3) Per Installation by Option Type
| Whole Home Heat Pumps1 | Single Measure Heat Pumps
Option Type | 2023-2025 | 2025 | 2026 2 | 2027 | 2028 | 2029 | 2030
4A |  | 693.3643 |  | 654.29 | 654.29 | 654.29 | 654.29
4B |  | 892.944 |  | 786.24 | 786.24 | 786.24 | 786.24
4C |  | 1051.0249 |  | 1110.2 | 1110.2 | 1110.2 | 1110.2
4D |  | 1554.9541 |  | 1562.47 | 1562.47 | 1562.47 | 1562.47
Average |  | 939.0592 |  | 762.6346 | 762.6346 | 762.6346 | 762.6346
Notes:
1 In 2023-2025 through the historical HER/HER+ offerings, gas savings were claimed through whole building calculations and 4A-4D sizing was not tracked therefore the data cannot be provided.
2 Enbridge Gas does not have a 2026 measure-level forecast.
Table 6
Incentive Spending and Percentage (m3) by Option Type/Measure
Heat Pump Offering
Option Type | 2027 Incentive Budget | % of Incentive Budget | 2028 Incentive Budget | % of Incentive Budget | 2029 Incentive Budget | % of Incentive Budget | 2030 Incentive Budget | % of Incentive Budget
4A | 4875000 | 63.73% | 4972500 | 63.64% | 5071950 | 63.52% | 5173389 | 63.48%
4B | 1500000 | 19.61% | 1530000 | 19.58% | 1560600 | 19.54% | 1591812 | 19.53%
4C | 900000 | 11.76% | 918000 | 11.75% | 936360 | 11.73% | 955087.2 | 11.72%
4D | 225000 | 2.941% | 229500 | 2.937% | 234090 | 2.932% | 238771.8 | 2.93%
Heat Pump Water Heater | 150000 | 1.961% | 163200 | 2.089% | 182070 | 2.28% | 191017.44 | 2.344%
Total | 7650000 | 100% | 7813200 | 100% | 7985070 | 100% | 8150077.44 | 100%
Table 7
Measure-Level PAC Ratio1 of Installations by Option Type
Heat Pump Offering
Option Type | 2027 | 2028 | 2029 | 2030
4A | 1.8887 | 1.9267 | 1.9575 | 1.9819
4B | 2.2696 | 2.3153 | 2.3523 | 2.3815
4C | 3.2048 | 3.2693 | 3.3215 | 3.3628
4D | 4.5103 | 4.6011 | 4.6746 | 4.7327
Heat Pump Water Heater | 1.4493 | 1.4863 | 1.5132 | 1.5323
Total | 2.1867 | 2.2299 | 2.2641 | 2.2918
Notes:
1 PAC Ratios in this table are measure-level and do not include offering or program-level costs.