## STAFF-62
Table 1 2027 AHMR Measure Mix
Measure Category | Net Annual (First Year) Gas Savings (m3) | $/m3
Custom | 1151430.9864 | 3.07
Custom - Existing Building Commissioning | 35656.933 | 1.92
Direct Install Reflective Panels | 1180495.34 | 2.77
Prescriptive - Condensing Storage Water Heater | 24150 | 4
Prescriptive - Condensing Tankless Water Heater | 13105 | 1.76
Prescriptive Heat Recovery Ventilator | 9852 | 2
Prescriptive Make-Up Air Units | 38412 | 0.7
Total | 2453102.2594 | 2.87
Table 2 2028 AHMR Measure Mix
Measure Category | Net Annual (First Year) Gas Savings (m3) | $/m3
Custom | 1200074.9299 | 3.13
Custom - Existing Building Commissioning | 49919.7062 | 1.95
Direct Install Reflective Panels | 1145080.4798 | 3.05
Prescriptive - Condensing Storage Water Heater | 19320 | 4.08
Prescriptive - Condensing Tankless Water Heater | 15726 | 1.79
Prescriptive Heat Recovery Ventilator | 9852 | 2.04
Prescriptive Make-Up Air Units | 38412 | 0.71
Total | 2478385.1159 | 3.03
Table 3 2029 AHMR Measure Mix
Measure Category | Net Annual (First Year) Gas Savings (m3) | $/m3
Custom | 1278359.126 | 3.46
Custom - Existing Building Commissioning | 60616.7861 | 1.99
Direct Install Reflective Panels | 1086055.7128 | 3.36
Prescriptive - Condensing Storage Water Heater | 19320 | 4.16
Prescriptive - Condensing Tankless Water Heater | 15726 | 1.83
Prescriptive Heat Recovery Ventilator | 9852 | 2.08
Prescriptive Make-Up Air Units | 38412 | 0.73
Total | 2508341.6249 | 3.33
Table 4 2030 AHMR Measure Mix
Measure Category | Net Annual (First Year) Gas Savings (m3) | $/m3
Custom | 1341823.1958 | 3.53
Custom - Existing Building Commissioning | 71313.866 | 2.03
Direct Install Reflective Panels | 1015225.9924 | 3.7
Prescriptive - Condensing Storage Water Heater | 19320 | 4.24
Prescriptive - Condensing Tankless Water Heater | 15726 | 1.87
Prescriptive Heat Recovery Ventilator | 9852 | 2.12
Prescriptive Make-Up Air Units | 38412 | 0.74
Total | 2511673.0542 | 3.5