## App 2-BB (Waasigan)
[12 empty] | File Number: |  | 0
Exhibit:
Tab:
Schedule:
Page:
Date:
Appendix 2-BB
Service Life Comparison
Table F-1 from Kinetrics Report1
|  | Asset Details |  |  | Useful Life |  |  | USoA Account Number | USoA Account Description | Current |  | Proposed |  | Outside Range of Min, Max TUL? |  | Notes/ Comments
Parent* | # | Category¦ Component ¦ Type |  |  | MIN UL | TUL | MAX UL |  |  | Years | Rate | Years | Rate | Below Min TUL | Above Max TUL | -Since H1 does not componentize the assets within each account, the USoA was provided based on the overall Category provided (column C) -Some USoA have balances in the common segment (seg 300) but for the purposes of this exercise, only the useful life pertaining to Tx and Dx specifically were provided
OH | 1 | Fully Dressed Wood Poles | Overall |  | 35 | 45 | 75 | 1720 | Towers and Fixtures | 75 | 1.333% | 75 | 1.333% | No | No
|  |  | Cross Arm | Wood | 20 | 40 | 55
|  |  |  | Steel | 30 | 70 | 95
| 2 | Fully Dressed Concrete Poles | Overall |  | 50 | 60 | 80 | 1720 | Towers and Fixtures | 75 | 1.333% | 75 | 1.333% | No | No
|  |  | Cross Arm | Wood | 20 | 40 | 55
|  |  |  | Steel | 30 | 70 | 95
| 3 | Fully Dressed Steel Poles | Overall |  | 60 | 60 | 80 | 1720 | Towers and Fixtures | 75 | 1.333% | 75 | 1.333% | No | No
|  |  | Cross Arm | Wood | 20 | 40 | 55
|  |  |  | Steel | 30 | 70 | 95
| 4 | OH Line Switch |  |  | 30 | 45 | 55 | 1730 | Overhead Conductors and Devices | 65 | 1.538% | 70 | 1.429% | No | Yes
| 5 | OH Line Switch Motor |  |  | 15 | 25 | 25 | 1730 | Overhead Conductors and Devices | 65 | 1.538% | 70 | 1.429% | No | Yes
| 6 | OH Line Switch RTU |  |  | 15 | 20 | 20 | 1730 | Overhead Conductors and Devices | 65 | 1.538% | 70 | 1.429% | No | Yes
| 7 | OH Integral Switches |  |  | 35 | 45 | 60 | 1730 | Overhead Conductors and Devices | 65 | 1.538% | 70 | 1.429% | No | Yes
| 8 | OH Conductors |  |  | 50 | 60 | 75 | 1730 | Overhead Conductors and Devices | 65 | 1.538% | 70 | 1.429% | No | No
| 9 | OH Transformers & Voltage Regulators |  |  | 30 | 40 | 60 | 1730 | Overhead Conductors and Devices | 65 | 1.538% | 70 | 1.429% | No | Yes
| 10 | OH Shunt Capacitor Banks |  |  | 25 | 30 | 40 | 1730 | Overhead Conductors and Devices | 65 | 1.538% | 70 | 1.429% | No | Yes
| 11 | Reclosers |  |  | 25 | 40 | 55 | 1730 | Overhead Conductors and Devices | 65 | 1.538% | 70 | 1.429% | No | Yes
TS & MS | 12 | Power Transformers | Overall |  | 30 | 45 | 60 | 1715 | Station Equipment | 48 | 2.083% | 43 | 2.326% | No | No
|  |  | Bushing |  | 10 | 20 | 30
|  |  | Tap Changer |  | 20 | 30 | 60 |  |  | 48 | 2.083% | 43 | 2.326% | No | No
| 13 | Station Service Transformer |  |  | 30 | 45 | 55 | 1715 | Station Equipment | 48 | 2.083% | 43 | 2.326% | No | No
| 14 | Station Grounding Transformer |  |  | 30 | 40 | 40 | 1715 | Station Equipment | 48 | 2.083% | 43 | 2.326% | No | Yes
| 15 | Station DC System | Overall |  | 10 | 20 | 30 | 1715 | Station Equipment | 48 | 2.083% | 43 | 2.326% | No | Yes
|  |  | Battery Bank |  | 10 | 15 | 15
|  |  | Charger |  | 20 | 20 | 30
| 16 | Station Metal Clad Switchgear | Overall |  | 30 | 40 | 60 | 1715 | Station Equipment | 48 | 2.083% | 43 | 2.326% | No | No
|  |  | Removable Breaker |  | 25 | 40 | 60
| 17 | Station Independent Breakers |  |  | 35 | 45 | 65 | 1715 | Station Equipment | 48 | 2.083% | 43 | 2.326% | No | No
| 18 | Station Switch |  |  | 30 | 50 | 60 | 1715 | Station Equipment | 48 | 2.083% | 43 | 2.326% | No | No
| 19 | Electromechanical Relays |  |  | 25 | 35 | 50 | 1715 | Station Equipment | 48 | 2.083% | 43 | 2.326% | No | No
| 20 | Solid State Relays |  |  | 10 | 30 | 45 | 1715 | Station Equipment | 48 | 2.083% | 43 | 2.326% | No | No
| 21 | Digital & Numeric Relays |  |  | 15 | 20 | 20 | 1715 | Station Equipment | 48 | 2.083% | 43 | 2.326% | No | Yes
| 22 | Rigid Busbars |  |  | 30 | 55 | 60 | 1715 | Station Equipment | 48 | 2.083% | 43 | 2.326% | No | No
| 23 | Steel Structure |  |  | 35 | 50 | 90 | 1715 | Station Equipment | 48 | 2.083% | 43 | 2.326% | No | No
UG | 24 | Primary Paper Insulated Lead Covered (PILC) Cables |  |  | 60 | 65 | 75 | 1740 | Underground Conductors and Devices | 55 | 1.818% | 66 | 1.515% | No | No
| 25 | Primary Ethylene-Propylene Rubber (EPR) Cables |  |  | 20 | 25 | 25 | 1740 | Underground Conductors and Devices | 55 | 1.818% | 66 | 1.515% | No | Yes
| 26 | Primary Non-Tree Retardant (Non-TR) Cross Linked Polyethylene (XLPE) Cables Direct Buried |  |  | 20 | 25 | 30 | 1740 | Underground Conductors and Devices | 55 | 1.818% | 66 | 1.515% | No | Yes
| 27 | Primary Non-TR XLPE Cables in Duct |  |  | 20 | 25 | 30 | 1740 | Underground Conductors and Devices | 55 | 1.818% | 66 | 1.515% | No | Yes
| 28 | Primary TR XLPE Cables Direct Buried |  |  | 25 | 30 | 35 | 1740 | Underground Conductors and Devices | 55 | 1.818% | 66 | 1.515% | No | Yes
| 29 | Primary TR XLPE Cables in Duct |  |  | 35 | 40 | 55 | 1740 | Underground Conductors and Devices | 55 | 1.818% | 66 | 1.515% | No | Yes
| 30 | Secondary PILC Cables |  |  | 70 | 75 | 80 | 1740 | Underground Conductors and Devices | 55 | 1.818% | 66 | 1.515% | Yes | No
| 31 | Secondary Cables Direct Buried |  |  | 25 | 35 | 40 | 1740 | Underground Conductors and Devices | 55 | 1.818% | 66 | 1.515% | No | Yes
| 32 | Secondary Cables in Duct |  |  | 35 | 40 | 60 | 1740 | Underground Conductors and Devices | 55 | 1.818% | 66 | 1.515% | No | Yes
| 33 | Network Tranformers | Overall |  | 20 | 35 | 50 | 1715 | Station Equipment | 48 | 2.083% | 43 | 2.326% | No | No
|  |  | Protector |  | 20 | 35 | 40
| 34 | Pad-Mounted Transformers |  |  | 25 | 40 | 45 | 1715 | Station Equipment | 48 | 2.083% | 43 | 2.326% | No | No
| 35 | Submersible/Vault Transformers |  |  | 25 | 35 | 45 | 1715 | Station Equipment | 48 | 2.083% | 43 | 2.326% | No | No
| 36 | UG Foundation |  |  | 35 | 55 | 70 | 1735 | Underground Conduit | 60 | 1.667% | 80 | 1.25% | No | Yes
| 37 | UG Vaults | Overall |  | 40 | 60 | 80 | 1735 | Underground Conduit | 60 | 1.667% | 80 | 1.25% | No | No
|  |  | Roof |  | 20 | 30 | 45
| 38 | UG Vault Switches |  |  | 20 | 35 | 50 | 1740 | Underground Conductors and Devices | 55 | 1.818% | 66 | 1.515% | No | Yes
| 39 | Pad-Mounted Switchgear |  |  | 20 | 30 | 45 | 1740 | Underground Conductors and Devices | 55 | 1.818% | 66 | 1.515% | No | Yes
| 40 | Ducts |  |  | 30 | 50 | 85 | 1735 | Underground Conduit | 60 | 1.667% | 80 | 1.25% | No | No
| 41 | Concrete Encased Duct Banks |  |  | 35 | 55 | 80 | 1735 | Underground Conduit | 60 | 1.667% | 80 | 1.25% | No | No
| 42 | Cable Chambers |  |  | 50 | 60 | 80 | 1735 | Underground Conduit | 60 | 1.667% | 80 | 1.25% | No | No
S | 43 | Remote SCADA |  |  | 15 | 20 | 30 | 1980 | System Supervisory Equipment | 10 | 10% | 11 | 9.091% | Yes | No
Table F-2 from Kinetrics Report1
|  | Asset Details |  |  | Useful Life Range |  |  | USoA Account Number | USoA Account Description | Current |  | Proposed |  | Outside Range of Min, Max TUL?
| # | Category¦ Component ¦ Type | [7 empty] | Years | Rate | Years | Rate | Below Min Range | Above Max Range
| 1 | Office Equipment |  |  | 5 | 15 |  | 1915 | Office Furniture and Equipment | 7 | 14.29% | 7 | 14.29% | No | No | This asset only resides in the Common segment , seg 300 useful life is provided
| 2 | Vehicles | Trucks & Buckets |  | 5 | 15 |  | 1930 | Transportation Equipment | 10 | 10% | 10 | 10% | No | No | Depreciated using the declining balance - was not part of the depreciation study - 10 years composite life per Financial Statements
|  |  | Trailers |  | 5 | 20
|  |  | Vans |  | 5 | 10
| 3 | Administrative Buildings |  |  | 50 | 75 |  | 1908 | Buildings and Fixtures | 50 | 2% | 50 | 2% | No | No
| 4 | Leasehold Improvements |  |  | Lease dependent |  |  | 1910 | Leasehold Improvements | 10 | 10% | 10 | 10% | Yes | Yes
| 5 | Station Buildings | Station Buildings |  | 50 | 75 |  | 1708 | Buildings and Fixtures | 50 | 2% | 50 | 2% | No | No
|  |  | Parking |  | 25 | 30
|  |  | Fence |  | 25 | 60
|  |  | Roof |  | 20 | 30
| 6 | Computer Equipment | Hardware |  | 3 | 5 |  | 1920 | Computer Hardware - Minor | 5 | 20% | 5 | 20% | No | No | Tx does not have a balance in 1920, the UL for Common segment is provided
|  |  | Software |  | 2 | 5 |  | 1610 | Computer Software | 10 | 10% | 10 | 10% | No | Yes | Immaterial amount in 1925, provided 1610 as it captures the majority of the software costs
| 7 | Equipment | Power Operated |  | 5 | 10 |  | 1950 | Power Operated Equipment | 10 | 10% | 10 | 10% | No | No | Depreciated using the declining balance - was not part of the depreciation study - 10 years composite life per Financial Statements
|  |  | Stores |  | 5 | 10 |  | 1935 | Stores Equipment | 8 | 12.5% | 8 | 12.5% | No | No | This asset only resides in the Common segment , seg 300 useful life is provided
|  |  | Tools, Shop, Garage Equipment |  | 5 | 10 |  | 1940 | Tools | 6 | 16.67% | 6 | 16.67% | No | No | This asset only resides in the Common segment , seg 300 useful life is provided
|  |  | Measurement & Testing Equipment |  | 5 | 10 |  | 1945 | Measuring & Test Equipment | 5 | 20% | 5 | 20% | No | No | This asset only resides in the Common segment , seg 300 useful life is provided
| 8 | Communication | Towers |  | 60 | 70 |  | 1955 | Communication Equipment | 20 | 5% | 20 | 5% | Yes | No | Note 2
|  |  | Wireless |  | 2 | 10
| 9 | Residential Energy Meters |  |  | 25 | 35
| 10 | Industrial/Commercial Energy Meters |  |  | 25 | 35
| 11 | Wholesale Energy Meters |  |  | 15 | 30
| 12 | Current & Potential Transformer (CT & PT) |  |  | 35 | 50
| 13 | Smart Meters |  |  | 5 | 15
| 14 | Repeaters - Smart Metering |  |  | 10 | 15
| 15 | Data Collectors - Smart Metering |  |  | 15 | 20
* TS & MS = Transformer and Municipal Stations UG = Underground Systems S = Monitoring and Control Systems
Note 1: | Tables F-1 and F-2 above are to be used as a reference in order to complete columns J, K, L and N.
See pages 17-19 of Kinetrics Report
Note 2: | The variance for Account 1955 reflects that the generalized service life ranges in Table F‑2 (which group dissimilar wireless and tower assets)
are not representative of Hydro One’s utility‑grade, fiber‑based communication equipment, whose replacement is driven by operational, performance,
and cybersecurity requirements, necessitating more tailored service lives.
Note on J17: Was not updated to 1725 as Tx does not use this account
Note on J20: Was not updated to 1725 as Tx does not use this account
Note on J23: Was not updated to 1725 as Tx does not use this account

## App 2-C (Waasigan)
[7 empty] | File Number: |  | 0
Exhibit:
` | [6 empty] | Tab:
Schedule:
Page:
Date:
Appendix 2-C | [12 empty] | CGAAP
Depreciation and Amortization Expense | [12 empty] | Revised CGAAP
MIFRS
General: | This appendix is to assess the reasonability of the depreciation expense that is included in rate base via. accumulated depreciation and the revenue requirement.
Applicants must provide a breakdown of depreciation and amortization expense in the above format for all relevant accounts. Balances presented in the table should exclude asset retirement obligations (AROs) and the related depreciation and accretion expense. These should be disclosed separately.
This appendix must be completed under MIFRS for each year for the earlier of: 1) all historical years back to the Applicant's last rebasing; or 2) at least three years of historical actuals, in addition to Bridge Year and Test Year forecasts. If this is the first application where the Applicant is rebasing under MIFRS, contact OEB staff for further guidance on the appropriate depreciation schedules to complete (i.e. applicable years and accounting standard for each schedule).
Notes:
1 | This should include assets in column A (excel column C) that become fully depreciated.
2 | The useful life used should be consistent with the OEB's regulatory accounting policies as set out in the Accounting Procedures Handbook for Electricity Distributors, effective Jan. 1, 2012 and also with the Report of the Board, Transition to International Financial Reporting Standards, EB-2008-0408, and the Kinectrics Report.
3 | OEB policy of the "half-year" rule - the applicant must ensure that additions in the year attract a half-year depreciation expense in the first year. Deviations from this standard practice must be supported in the application.
4 | The applicant must provide an explanation of material variances in its evidence.
|  |  |  | Year | 2016
2017
|  | Book Values |  |  |  | Service Lives |  | Depreciation Expense |  |  |  |  | 2018
Account | Description | Opening Book Value of Assets | Less Fully Depreciated 1 | Current Year Additions | Disposals | Net Amount of Assets to be Depreciated | Remaining Life of Assets Existing 2 | Depreciation Rate Assets | Depreciation Expense on Assets 3 | Depreciation Expense per Appendix 2-BA Fixed Assets, Column K | Variance 4 | Variance %
|  | a | b | c | d | e = a-b+0.5*c-d | f | g = 1/f | h = e/f | i | j = i-h | k = j/i
1609 | Capital Contributions Paid |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1611 | Computer Software (Formally known as Account 1925) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1612 | Land Rights (Formally known as Account 1906) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1805 | Land |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1808 | Buildings |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1810 | Leasehold Improvements |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1815 | Transformer Station Equipment >50 kV |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1820 | Distribution Station Equipment <50 kV |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1825 | Storage Battery Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1830 | Poles, Towers & Fixtures |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1835 | Overhead Conductors & Devices |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1840 | Underground Conduit |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1845 | Underground Conductors & Devices |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1850 | Line Transformers |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1855 | Services (Overhead & Underground) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1860 | Meters |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1860 | Meters (Smart Meters) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1905 | Land |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1908 | Buildings & Fixtures |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1910 | Leasehold Improvements |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1915 | Office Furniture & Equipment (10 years) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1915 | Office Furniture & Equipment (5 years) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equipment - Hardware |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equip.-Hardware(Post Mar. 22/04) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equip.-Hardware(Post Mar. 19/07) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1930 | Transportation Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1935 | Stores Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1940 | Tools, Shop & Garage Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1945 | Measurement & Testing Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1950 | Power Operated Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1955 | Communications Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1955 | Communication Equipment (Smart Meters) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1960 | Miscellaneous Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1970 | Load Management Controls Customer Premises |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1975 | Load Management Controls Utility Premises |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1980 | System Supervisor Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1985 | Miscellaneous Fixed Assets |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1990 | Other Tangible Property |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1995 | Contributions & Grants |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
2440 | Deferred Revenue |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
2005 | Property Under Finance Lease |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
| Total | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0%
|  |  |  | Year | 2017
2017
|  | Book Values |  |  |  | Service Lives |  | Depreciation Expense |  |  |  |  | 2018
Account | Description | Opening Book Value of Assets | Less Fully Depreciated 1 | Current Year Additions | Disposals | Net Amount of Assets to be Depreciated | Remaining Life of Assets Existing 2 | Depreciation Rate Assets | Depreciation Expense on Assets 3 | Depreciation Expense per Appendix 2-BA Fixed Assets, Column K | Variance 4 | Variance %
|  | a | b | c | d | e = a-b+0.5*c-d | f | g = 1/f | h = e/f | i | j = i-h | k = j/i
1609 | Capital Contributions Paid |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1611 | Computer Software (Formally known as Account 1925) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1612 | Land Rights (Formally known as Account 1906) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1805 | Land |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1808 | Buildings |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1810 | Leasehold Improvements |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1815 | Transformer Station Equipment >50 kV |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1820 | Distribution Station Equipment <50 kV |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1825 | Storage Battery Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1830 | Poles, Towers & Fixtures |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1835 | Overhead Conductors & Devices |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1840 | Underground Conduit |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1845 | Underground Conductors & Devices |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1850 | Line Transformers |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1855 | Services (Overhead & Underground) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1860 | Meters |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1860 | Meters (Smart Meters) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1905 | Land |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1908 | Buildings & Fixtures |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1910 | Leasehold Improvements |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1915 | Office Furniture & Equipment (10 years) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1915 | Office Furniture & Equipment (5 years) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equipment - Hardware |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equip.-Hardware(Post Mar. 22/04) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equip.-Hardware(Post Mar. 19/07) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1930 | Transportation Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1935 | Stores Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1940 | Tools, Shop & Garage Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1945 | Measurement & Testing Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1950 | Power Operated Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1955 | Communications Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1955 | Communication Equipment (Smart Meters) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1960 | Miscellaneous Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1970 | Load Management Controls Customer Premises |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1975 | Load Management Controls Utility Premises |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1980 | System Supervisor Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1985 | Miscellaneous Fixed Assets |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1990 | Other Tangible Property |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1995 | Contributions & Grants |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
2440 | Deferred Revenue |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
2005 | Property Under Finance Lease |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
| Total | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0%
|  |  |  | Year | 2018
2017
|  | Book Values |  |  |  | Service Lives |  | Depreciation Expense |  |  |  |  | 2018
Account | Description | Opening Book Value of Assets | Less Fully Depreciated 1 | Current Year Additions | Disposals | Net Amount of Assets to be Depreciated | Remaining Life of Assets Existing 2 | Depreciation Rate Assets | Depreciation Expense on Assets 3 | Depreciation Expense per Appendix 2-BA Fixed Assets, Column K | Variance 4 | Variance %
|  | a | b | c | d | e = a-b+0.5*c-d | f | g = 1/f | h = e/f | i | j = i-h | k = j/i
1609 | Capital Contributions Paid |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1611 | Computer Software (Formally known as Account 1925) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1612 | Land Rights (Formally known as Account 1906) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1805 | Land |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1808 | Buildings |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1810 | Leasehold Improvements |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1815 | Transformer Station Equipment >50 kV |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1820 | Distribution Station Equipment <50 kV |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1825 | Storage Battery Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1830 | Poles, Towers & Fixtures |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1835 | Overhead Conductors & Devices |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1840 | Underground Conduit |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1845 | Underground Conductors & Devices |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1850 | Line Transformers |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1855 | Services (Overhead & Underground) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1860 | Meters |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1860 | Meters (Smart Meters) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1905 | Land |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1908 | Buildings & Fixtures |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1910 | Leasehold Improvements |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1915 | Office Furniture & Equipment (10 years) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1915 | Office Furniture & Equipment (5 years) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equipment - Hardware |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equip.-Hardware(Post Mar. 22/04) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equip.-Hardware(Post Mar. 19/07) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1930 | Transportation Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1935 | Stores Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1940 | Tools, Shop & Garage Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1945 | Measurement & Testing Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1950 | Power Operated Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1955 | Communications Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1955 | Communication Equipment (Smart Meters) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1960 | Miscellaneous Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1970 | Load Management Controls Customer Premises |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1975 | Load Management Controls Utility Premises |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1980 | System Supervisor Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1985 | Miscellaneous Fixed Assets |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1990 | Other Tangible Property |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1995 | Contributions & Grants |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
2440 | Deferred Revenue |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
2005 | Property Under Finance Lease |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
| Total | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0%
|  |  |  | Year | 2019
2017
|  | Book Values |  |  |  | Service Lives |  | Depreciation Expense |  |  |  |  | 2018
Account | Description | Opening Book Value of Assets | Less Fully Depreciated 1 | Current Year Additions | Disposals | Net Amount of Assets to be Depreciated | Remaining Life of Assets Existing 2 | Depreciation Rate Assets | Depreciation Expense on Assets 3 | Depreciation Expense per Appendix 2-BA Fixed Assets, Column K | Variance 4 | Variance %
|  | a | b | c | d | e = a-b+0.5*c-d | f | g = 1/f | h = e/f | i | j = i-h | k = j/i
1609 | Capital Contributions Paid |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1611 | Computer Software (Formally known as Account 1925) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1612 | Land Rights (Formally known as Account 1906) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1805 | Land |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1808 | Buildings |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1810 | Leasehold Improvements |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1815 | Transformer Station Equipment >50 kV |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1820 | Distribution Station Equipment <50 kV |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1825 | Storage Battery Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1830 | Poles, Towers & Fixtures |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1835 | Overhead Conductors & Devices |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1840 | Underground Conduit |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1845 | Underground Conductors & Devices |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1850 | Line Transformers |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1855 | Services (Overhead & Underground) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1860 | Meters |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1860 | Meters (Smart Meters) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1905 | Land |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1908 | Buildings & Fixtures |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1910 | Leasehold Improvements |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1915 | Office Furniture & Equipment (10 years) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1915 | Office Furniture & Equipment (5 years) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equipment - Hardware |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equip.-Hardware(Post Mar. 22/04) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equip.-Hardware(Post Mar. 19/07) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1930 | Transportation Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1935 | Stores Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1940 | Tools, Shop & Garage Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1945 | Measurement & Testing Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1950 | Power Operated Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1955 | Communications Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1955 | Communication Equipment (Smart Meters) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1960 | Miscellaneous Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1970 | Load Management Controls Customer Premises |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1975 | Load Management Controls Utility Premises |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1980 | System Supervisor Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1985 | Miscellaneous Fixed Assets |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1990 | Other Tangible Property |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1995 | Contributions & Grants |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
2440 | Deferred Revenue |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
2005 | Property Under Finance Lease |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
| Total | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0%
|  |  |  | Year | 2020
2017
|  | Book Values |  |  |  | Service Lives |  | Depreciation Expense |  |  |  |  | 2018
Account | Description | Opening Book Value of Assets | Less Fully Depreciated 1 | Current Year Additions | Disposals | Net Amount of Assets to be Depreciated | Remaining Life of Assets Existing 2 | Depreciation Rate Assets | Depreciation Expense on Assets 3 | Depreciation Expense per Appendix 2-BA Fixed Assets, Column K | Variance 4 | Variance %
|  | a | b | c | d | e = a-b+0.5*c-d | f | g = 1/f | h = e/f | i | j = i-h | k = j/i
1609 | Capital Contributions Paid |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1611 | Computer Software (Formally known as Account 1925) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1612 | Land Rights (Formally known as Account 1906) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1805 | Land |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1808 | Buildings |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1810 | Leasehold Improvements |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1815 | Transformer Station Equipment >50 kV |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1820 | Distribution Station Equipment <50 kV |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1825 | Storage Battery Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1830 | Poles, Towers & Fixtures |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1835 | Overhead Conductors & Devices |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1840 | Underground Conduit |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1845 | Underground Conductors & Devices |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1850 | Line Transformers |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1855 | Services (Overhead & Underground) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1860 | Meters |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1860 | Meters (Smart Meters) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1905 | Land |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1908 | Buildings & Fixtures |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1910 | Leasehold Improvements |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1915 | Office Furniture & Equipment (10 years) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1915 | Office Furniture & Equipment (5 years) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equipment - Hardware |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equip.-Hardware(Post Mar. 22/04) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equip.-Hardware(Post Mar. 19/07) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1930 | Transportation Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1935 | Stores Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1940 | Tools, Shop & Garage Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1945 | Measurement & Testing Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1950 | Power Operated Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1955 | Communications Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1955 | Communication Equipment (Smart Meters) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1960 | Miscellaneous Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1970 | Load Management Controls Customer Premises |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1975 | Load Management Controls Utility Premises |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1980 | System Supervisor Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1985 | Miscellaneous Fixed Assets |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1990 | Other Tangible Property |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1995 | Contributions & Grants |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
2440 | Deferred Revenue |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
2005 | Property Under Finance Lease |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
| Total | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0%
|  |  |  | Year | 2021
2017
|  | Book Values |  |  |  | Service Lives |  | Depreciation Expense |  |  |  |  | 2018
Account | Description | Opening Book Value of Assets | Less Fully Depreciated 1 | Current Year Additions | Disposals | Net Amount of Assets to be Depreciated | Remaining Life of Assets Existing 2 | Depreciation Rate Assets | Depreciation Expense on Assets 3 | Depreciation Expense per Appendix 2-BA Fixed Assets, Column K | Variance 4 | Variance %
|  | a | b | c | d | e = a-b+0.5*c-d | f | g = 1/f | h = e/f | i | j = i-h | k = j/i
1609 | Capital Contributions Paid |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1611 | Computer Software (Formally known as Account 1925) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1612 | Land Rights (Formally known as Account 1906) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1805 | Land |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1808 | Buildings |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1810 | Leasehold Improvements |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1815 | Transformer Station Equipment >50 kV |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1820 | Distribution Station Equipment <50 kV |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1825 | Storage Battery Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1830 | Poles, Towers & Fixtures |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1835 | Overhead Conductors & Devices |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1840 | Underground Conduit |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1845 | Underground Conductors & Devices |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1850 | Line Transformers |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1855 | Services (Overhead & Underground) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1860 | Meters |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1860 | Meters (Smart Meters) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1905 | Land |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1908 | Buildings & Fixtures |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1910 | Leasehold Improvements |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1915 | Office Furniture & Equipment (10 years) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1915 | Office Furniture & Equipment (5 years) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equipment - Hardware |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equip.-Hardware(Post Mar. 22/04) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equip.-Hardware(Post Mar. 19/07) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1930 | Transportation Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1935 | Stores Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1940 | Tools, Shop & Garage Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1945 | Measurement & Testing Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1950 | Power Operated Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1955 | Communications Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1955 | Communication Equipment (Smart Meters) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1960 | Miscellaneous Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1970 | Load Management Controls Customer Premises |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1975 | Load Management Controls Utility Premises |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1980 | System Supervisor Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1985 | Miscellaneous Fixed Assets |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1990 | Other Tangible Property |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1995 | Contributions & Grants |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
2440 | Deferred Revenue |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
2005 | Property Under Finance Lease |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
| Total | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0%
|  |  |  | Year | 2022
2017
|  | Book Values |  |  |  | Service Lives |  | Depreciation Expense |  |  |  |  | 2018
Account | Description | Opening Book Value of Assets | Less Fully Depreciated 1 | Current Year Additions | Disposals | Net Amount of Assets to be Depreciated | Remaining Life of Assets Existing 2 | Depreciation Rate Assets | Depreciation Expense on Assets 3 | Depreciation Expense per Appendix 2-BA Fixed Assets, Column K | Variance 4 | Variance %
|  | a | b | c | d | e = a-b+0.5*c-d | f | g = 1/f | h = e/f | i | j = i-h | k = j/i
1609 | Capital Contributions Paid |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1611 | Computer Software (Formally known as Account 1925) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1612 | Land Rights (Formally known as Account 1906) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1805 | Land |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1808 | Buildings |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1810 | Leasehold Improvements |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1815 | Transformer Station Equipment >50 kV |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1820 | Distribution Station Equipment <50 kV |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1825 | Storage Battery Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1830 | Poles, Towers & Fixtures |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1835 | Overhead Conductors & Devices |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1840 | Underground Conduit |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1845 | Underground Conductors & Devices |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1850 | Line Transformers |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1855 | Services (Overhead & Underground) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1860 | Meters |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1860 | Meters (Smart Meters) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1905 | Land |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1908 | Buildings & Fixtures |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1910 | Leasehold Improvements |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1915 | Office Furniture & Equipment (10 years) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1915 | Office Furniture & Equipment (5 years) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equipment - Hardware |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equip.-Hardware(Post Mar. 22/04) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equip.-Hardware(Post Mar. 19/07) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1930 | Transportation Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1935 | Stores Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1940 | Tools, Shop & Garage Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1945 | Measurement & Testing Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1950 | Power Operated Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1955 | Communications Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1955 | Communication Equipment (Smart Meters) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1960 | Miscellaneous Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1970 | Load Management Controls Customer Premises |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1975 | Load Management Controls Utility Premises |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1980 | System Supervisor Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1985 | Miscellaneous Fixed Assets |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1990 | Other Tangible Property |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1995 | Contributions & Grants |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
2440 | Deferred Revenue |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
2005 | Property Under Finance Lease |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
| Total | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0%
|  |  |  | Year | 2023
2017
|  | Book Values |  |  |  | Service Lives |  | Depreciation Expense |  |  |  |  | 2018
Account | Description | Opening Book Value of Assets | Less Fully Depreciated 1 | Current Year Additions | Disposals | Net Amount of Assets to be Depreciated | Remaining Life of Assets Existing 2 | Depreciation Rate Assets | Depreciation Expense on Assets 3 | Depreciation Expense per Appendix 2-BA Fixed Assets, Column K | Variance 4 | Variance %
|  | a | b | c | d | e = a-b+0.5*c-d | f | g = 1/f | h = e/f | i | j = i-h | k = j/i
1609 | Capital Contributions Paid |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1611 | Computer Software (Formally known as Account 1925) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1612 | Land Rights (Formally known as Account 1906) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1805 | Land |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1808 | Buildings |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1810 | Leasehold Improvements |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1815 | Transformer Station Equipment >50 kV |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1820 | Distribution Station Equipment <50 kV |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1825 | Storage Battery Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1830 | Poles, Towers & Fixtures |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1835 | Overhead Conductors & Devices |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1840 | Underground Conduit |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1845 | Underground Conductors & Devices |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1850 | Line Transformers |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1855 | Services (Overhead & Underground) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1860 | Meters |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1860 | Meters (Smart Meters) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1905 | Land |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1908 | Buildings & Fixtures |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1910 | Leasehold Improvements |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1915 | Office Furniture & Equipment (10 years) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1915 | Office Furniture & Equipment (5 years) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equipment - Hardware |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equip.-Hardware(Post Mar. 22/04) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equip.-Hardware(Post Mar. 19/07) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1930 | Transportation Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1935 | Stores Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1940 | Tools, Shop & Garage Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1945 | Measurement & Testing Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1950 | Power Operated Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1955 | Communications Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1955 | Communication Equipment (Smart Meters) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1960 | Miscellaneous Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1970 | Load Management Controls Customer Premises |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1975 | Load Management Controls Utility Premises |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1980 | System Supervisor Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1985 | Miscellaneous Fixed Assets |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1990 | Other Tangible Property |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1995 | Contributions & Grants |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
2440 | Deferred Revenue |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
2005 | Property Under Finance Lease |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
| Total | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0%
|  |  |  | Year | 2024
2017
|  | Book Values |  |  |  | Service Lives |  | Depreciation Expense |  |  |  |  | 2018
Account | Description | Opening Book Value of Assets | Less Fully Depreciated 1 | Current Year Additions | Disposals | Net Amount of Assets to be Depreciated | Remaining Life of Assets Existing 2 | Depreciation Rate Assets | Depreciation Expense on Assets 3 | Depreciation Expense per Appendix 2-BA Fixed Assets, Column K | Variance 4 | Variance %
|  | a | b | c | d | e = a-b+0.5*c-d | f | g = 1/f | h = e/f | i | j = i-h | k = j/i
1609 | Capital Contributions Paid |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1611 | Computer Software (Formally known as Account 1925) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1612 | Land Rights (Formally known as Account 1906) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1805 | Land |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1808 | Buildings |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1810 | Leasehold Improvements |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1815 | Transformer Station Equipment >50 kV |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1820 | Distribution Station Equipment <50 kV |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1825 | Storage Battery Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1830 | Poles, Towers & Fixtures |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1835 | Overhead Conductors & Devices |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1840 | Underground Conduit |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1845 | Underground Conductors & Devices |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1850 | Line Transformers |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1855 | Services (Overhead & Underground) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1860 | Meters |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1860 | Meters (Smart Meters) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1905 | Land |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1908 | Buildings & Fixtures |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1910 | Leasehold Improvements |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1915 | Office Furniture & Equipment (10 years) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1915 | Office Furniture & Equipment (5 years) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equipment - Hardware |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equip.-Hardware(Post Mar. 22/04) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equip.-Hardware(Post Mar. 19/07) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1930 | Transportation Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1935 | Stores Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1940 | Tools, Shop & Garage Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1945 | Measurement & Testing Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1950 | Power Operated Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1955 | Communications Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1955 | Communication Equipment (Smart Meters) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1960 | Miscellaneous Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1970 | Load Management Controls Customer Premises |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1975 | Load Management Controls Utility Premises |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1980 | System Supervisor Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1985 | Miscellaneous Fixed Assets |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1990 | Other Tangible Property |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1995 | Contributions & Grants |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
2440 | Deferred Revenue |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
2005 | Property Under Finance Lease |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
| Total | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0%
|  |  |  | Year | 2025
2017
|  | Book Values |  |  |  | Service Lives |  | Depreciation Expense |  |  |  |  | 2018
Account | Description | Opening Book Value of Assets | Less Fully Depreciated 1 | Current Year Additions | Disposals | Net Amount of Assets to be Depreciated | Remaining Life of Assets Existing 2 | Depreciation Rate Assets | Depreciation Expense on Assets 3 | Depreciation Expense per Appendix 2-BA Fixed Assets, Column K | Variance 4 | Variance %
|  | a | b | c | d | e = a-b+0.5*c-d | f | g = 1/f | h = e/f | i | j = i-h | k = j/i
1609 | Capital Contributions Paid |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1611 | Computer Software (Formally known as Account 1925) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1612 | Land Rights (Formally known as Account 1906) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1805 | Land |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1808 | Buildings |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1810 | Leasehold Improvements |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1815 | Transformer Station Equipment >50 kV |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1820 | Distribution Station Equipment <50 kV |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1825 | Storage Battery Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1830 | Poles, Towers & Fixtures |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1835 | Overhead Conductors & Devices |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1840 | Underground Conduit |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1845 | Underground Conductors & Devices |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1850 | Line Transformers |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1855 | Services (Overhead & Underground) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1860 | Meters |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1860 | Meters (Smart Meters) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1905 | Land |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1908 | Buildings & Fixtures |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1910 | Leasehold Improvements |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1915 | Office Furniture & Equipment (10 years) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1915 | Office Furniture & Equipment (5 years) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equipment - Hardware |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equip.-Hardware(Post Mar. 22/04) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equip.-Hardware(Post Mar. 19/07) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1930 | Transportation Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1935 | Stores Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1940 | Tools, Shop & Garage Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1945 | Measurement & Testing Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1950 | Power Operated Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1955 | Communications Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1955 | Communication Equipment (Smart Meters) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1960 | Miscellaneous Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1970 | Load Management Controls Customer Premises |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1975 | Load Management Controls Utility Premises |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1980 | System Supervisor Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1985 | Miscellaneous Fixed Assets |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1990 | Other Tangible Property |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1995 | Contributions & Grants |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
2440 | Deferred Revenue |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
2005 | Property Under Finance Lease |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
| Total | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0%
|  |  |  | Year | 2026
2017
|  | Book Values |  |  |  | Service Lives |  | Depreciation Expense |  |  |  |  | 2018
Account | Description | Opening Book Value of Assets | Less Fully Depreciated 1 | Current Year Additions | Disposals | Net Amount of Assets to be Depreciated | Remaining Life of Assets Existing 2 | Depreciation Rate Assets | Depreciation Expense on Assets 3 | Depreciation Expense per Appendix 2-BA Fixed Assets, Column K | Variance 4 | Variance %
|  | a | b | c | d | e = a-b+0.5*c-d | f | g = 1/f | h = e/f | i | j = i-h | k = j/i
1609 | Capital Contributions Paid | 0 | 0 | 0 | 0 | 0 | 10 | 10% | 0 | 0 | 0 | 0%
1611 | Computer Software (Formally known as Account 1925) |  | 0 | 0 | 0 | 0 |  | 0% | 0 | 0 | 0 | 0%
1706 | Land Rights (Formally known as Account 1906) | 0 | 0 | 19.9534 | 0 | 9.9767 | 0 | 0% | 0 | 0 | 0 | 0%
1705 | Land | 0 | 0 | 7.1358 | 0 | 3.5679 | 0 | 0% | 0 | 0 | 0 | 0%
1808 | Buildings |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1810 | Leasehold Improvements |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1815 | Transformer Station Equipment >50 kV |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1820 | Distribution Station Equipment <50 kV |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1825 | Storage Battery Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1720 | Poles, Towers & Fixtures | 0 | 0 | 337.3229 | 0 | 168.6614 | 75 | 1.333% | 2.2488 | 0.57915 | -1.6697 | -288.3%
1730 | Overhead Conductors & Devices | 0 | 0 | 150.2128 | 0 | 75.1064 | 70 | 1.429% | 1.0729 | 0.27632 | -0.79663 | -288.3%
1840 | Underground Conduit |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1845 | Underground Conductors & Devices |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1850 | Line Transformers |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1855 | Services (Overhead & Underground) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1860 | Meters |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1860 | Meters (Smart Meters) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1905 | Land |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1908 | Buildings & Fixtures |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1910 | Leasehold Improvements |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1915 | Office Furniture & Equipment (10 years) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1915 | Office Furniture & Equipment (5 years) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equipment - Hardware |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equip.-Hardware(Post Mar. 22/04) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equip.-Hardware(Post Mar. 19/07) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1930 | Transportation Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1935 | Stores Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1940 | Tools, Shop & Garage Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1945 | Measurement & Testing Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1950 | Power Operated Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1955 | Communications Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1955 | Communication Equipment (Smart Meters) | 0 | 0 | 0.37508 | 0 | 0.18754 | 20 | 5% | 0.009377 | 0.0015628 | -0.0078142 | -500%
1960 | Miscellaneous Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1970 | Load Management Controls Customer Premises |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1975 | Load Management Controls Utility Premises |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1980 | System Supervisor Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1985 | Miscellaneous Fixed Assets |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1990 | Other Tangible Property |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1995 | Contributions & Grants |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
2440 | Deferred Revenue |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
2005 | Property Under Finance Lease |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
| Total | 0 | 0 | 515 | 0 | 257.5 | 175 |  | 3.3311 | 0.85703 | -2.4741 | -288.7%
Note 1
|  |  |  | Year | 2027
2017
|  | Book Values |  |  |  | Service Lives |  | Depreciation Expense |  |  |  |  | 2018
Account | Description | Opening Book Value of Assets | Less Fully Depreciated 1 | Current Year Additions | Disposals | Net Amount of Assets to be Depreciated | Remaining Life of Assets Existing 2 | Depreciation Rate Assets | Depreciation Expense on Assets 3 | Depreciation Expense per Appendix 2-BA Fixed Assets, Column K | Variance 4 | Variance %
|  | a | b | c | d | e = a-b+0.5*c-d | f | g = 1/f | h = e/f | i | j = i-h | k = j/i
1609 | Capital Contributions Paid | 0 | 0 | 0 | 0 | 0 | 10 | 10% | 0 | 0 | 0 | 0%
1611 | Computer Software (Formally known as Account 1925) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1706 | Land Rights (Formally known as Account 1906) | 19.9534 | 0 | 0 | 0 | 19.9534 | 0 | 0% | 0 | 0 | 0 | 0%
1705 | Land | 7.1358 | 0 | 0 | 0 | 7.1358 | 0 | 0% | 0 | 0 | 0 | 0%
1808 | Buildings |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1810 | Leasehold Improvements |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1815 | Transformer Station Equipment >50 kV |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1820 | Distribution Station Equipment <50 kV |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1825 | Storage Battery Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1720 | Poles, Towers & Fixtures | 337.3229 | 0 | 6.9136 | 0 | 340.7797 | 75 | 1.333% | 4.5437 | 4.5898 | 0.046091 | 1.004%
1730 | Overhead Conductors & Devices | 150.2128 | 0 | 3.0864 | 0 | 151.756 | 70 | 1.429% | 2.1679 | 2.19 | 0.022046 | 1.007%
1840 | Underground Conduit |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1845 | Underground Conductors & Devices |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1850 | Line Transformers |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1855 | Services (Overhead & Underground) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1860 | Meters |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1860 | Meters (Smart Meters) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1905 | Land |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1908 | Buildings & Fixtures |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1910 | Leasehold Improvements |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1915 | Office Furniture & Equipment (10 years) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1915 | Office Furniture & Equipment (5 years) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equipment - Hardware |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equip.-Hardware(Post Mar. 22/04) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equip.-Hardware(Post Mar. 19/07) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1930 | Transportation Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1935 | Stores Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1940 | Tools, Shop & Garage Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1945 | Measurement & Testing Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1950 | Power Operated Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1955 | Communications Equipment | 0.37508 | 0 | 0 | 0 | 0.37508 | 20 | 5% | 0.018754 | 0.018754 | 5.2042e-17 | 2.775e-13%
1955 | Communication Equipment (Smart Meters) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1960 | Miscellaneous Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1970 | Load Management Controls Customer Premises |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1975 | Load Management Controls Utility Premises |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1980 | System Supervisor Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1985 | Miscellaneous Fixed Assets |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1990 | Other Tangible Property |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1995 | Contributions & Grants |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
2440 | Deferred Revenue |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
2005 | Property Under Finance Lease |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
| Total | 515 | 0 | 10 | 0 | 520 | 175 |  | 6.7304 | 6.7986 | 0.068136 | 1.002%
Note 1
|  |  |  | Year | 2024
2017
|  | Book Values |  |  |  | Service Lives |  | Depreciation Expense |  |  |  |  | 2018
Account | Description | Opening Book Value of Assets | Less Fully Depreciated 1 | Current Year Additions | Disposals | Net Amount of Assets to be Depreciated | Remaining Life of Assets Existing 2 | Depreciation Rate Assets | Depreciation Expense on Assets 3 | Depreciation Expense per Appendix 2-BA Fixed Assets, Column K | Variance 4 | Variance %
|  | a | b | c | d | e = a-b+0.5*c-d | f | g = 1/f | h = e/f | i | j = i-h | k = j/i
1609 | Capital Contributions Paid |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1611 | Computer Software (Formally known as Account 1925) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1612 | Land Rights (Formally known as Account 1906) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1805 | Land |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1808 | Buildings |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1810 | Leasehold Improvements |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1815 | Transformer Station Equipment >50 kV |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1820 | Distribution Station Equipment <50 kV |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1825 | Storage Battery Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1830 | Poles, Towers & Fixtures |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1835 | Overhead Conductors & Devices |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1840 | Underground Conduit |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1845 | Underground Conductors & Devices |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1850 | Line Transformers |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1855 | Services (Overhead & Underground) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1860 | Meters |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1860 | Meters (Smart Meters) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1905 | Land |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1908 | Buildings & Fixtures |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1910 | Leasehold Improvements |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1915 | Office Furniture & Equipment (10 years) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1915 | Office Furniture & Equipment (5 years) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equipment - Hardware |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equip.-Hardware(Post Mar. 22/04) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equip.-Hardware(Post Mar. 19/07) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1930 | Transportation Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1935 | Stores Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1940 | Tools, Shop & Garage Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1945 | Measurement & Testing Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1950 | Power Operated Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1955 | Communications Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1955 | Communication Equipment (Smart Meters) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1960 | Miscellaneous Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1970 | Load Management Controls Customer Premises |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1975 | Load Management Controls Utility Premises |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1980 | System Supervisor Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1985 | Miscellaneous Fixed Assets |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1990 | Other Tangible Property |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1995 | Contributions & Grants |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
2440 | Deferred Revenue |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
2005 | Property Under Finance Lease |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
| Total | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0%
|  |  |  | Year | 2025
2017
|  | Book Values |  |  |  | Service Lives |  | Depreciation Expense |  |  |  |  | 2018
Account | Description | Opening Book Value of Assets | Less Fully Depreciated 1 | Current Year Additions | Disposals | Net Amount of Assets to be Depreciated | Remaining Life of Assets Existing 2 | Depreciation Rate Assets | Depreciation Expense on Assets 3 | Depreciation Expense per Appendix 2-BA Fixed Assets, Column K | Variance 4 | Variance %
|  | a | b | c | d | e = a-b+0.5*c-d | f | g = 1/f | h = e/f | i | j = i-h | k = j/i
1609 | Capital Contributions Paid |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1611 | Computer Software (Formally known as Account 1925) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1612 | Land Rights (Formally known as Account 1906) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1805 | Land |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1808 | Buildings |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1810 | Leasehold Improvements |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1815 | Transformer Station Equipment >50 kV |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1820 | Distribution Station Equipment <50 kV |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1825 | Storage Battery Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1830 | Poles, Towers & Fixtures |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1835 | Overhead Conductors & Devices |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1840 | Underground Conduit |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1845 | Underground Conductors & Devices |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1850 | Line Transformers |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1855 | Services (Overhead & Underground) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1860 | Meters |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1860 | Meters (Smart Meters) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1905 | Land |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1908 | Buildings & Fixtures |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1910 | Leasehold Improvements |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1915 | Office Furniture & Equipment (10 years) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1915 | Office Furniture & Equipment (5 years) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equipment - Hardware |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equip.-Hardware(Post Mar. 22/04) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equip.-Hardware(Post Mar. 19/07) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1930 | Transportation Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1935 | Stores Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1940 | Tools, Shop & Garage Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1945 | Measurement & Testing Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1950 | Power Operated Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1955 | Communications Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1955 | Communication Equipment (Smart Meters) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1960 | Miscellaneous Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1970 | Load Management Controls Customer Premises |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1975 | Load Management Controls Utility Premises |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1980 | System Supervisor Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1985 | Miscellaneous Fixed Assets |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1990 | Other Tangible Property |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1995 | Contributions & Grants |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
2440 | Deferred Revenue |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
2005 | Property Under Finance Lease |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
| Total | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0%
|  |  |  | Year | 2026
2017
|  | Book Values |  |  |  | Service Lives |  | Depreciation Expense |  |  |  |  | 2018
Account | Description | Opening Book Value of Assets | Less Fully Depreciated 1 | Current Year Additions | Disposals | Net Amount of Assets to be Depreciated | Remaining Life of Assets Existing 2 | Depreciation Rate Assets | Depreciation Expense on Assets 3 | Depreciation Expense per Appendix 2-BA Fixed Assets, Column K | Variance 4 | Variance %
|  | a | b | c | d | e = a-b+0.5*c-d | f | g = 1/f | h = e/f | i | j = i-h | k = j/i
1609 | Capital Contributions Paid |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1611 | Computer Software (Formally known as Account 1925) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1612 | Land Rights (Formally known as Account 1906) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1805 | Land |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1808 | Buildings |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1810 | Leasehold Improvements |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1815 | Transformer Station Equipment >50 kV |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1820 | Distribution Station Equipment <50 kV |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1825 | Storage Battery Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1830 | Poles, Towers & Fixtures |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1835 | Overhead Conductors & Devices |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1840 | Underground Conduit |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1845 | Underground Conductors & Devices |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1850 | Line Transformers |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1855 | Services (Overhead & Underground) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1860 | Meters |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1860 | Meters (Smart Meters) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1905 | Land |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1908 | Buildings & Fixtures |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1910 | Leasehold Improvements |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1915 | Office Furniture & Equipment (10 years) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1915 | Office Furniture & Equipment (5 years) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equipment - Hardware |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equip.-Hardware(Post Mar. 22/04) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equip.-Hardware(Post Mar. 19/07) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1930 | Transportation Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1935 | Stores Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1940 | Tools, Shop & Garage Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1945 | Measurement & Testing Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1950 | Power Operated Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1955 | Communications Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1955 | Communication Equipment (Smart Meters) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1960 | Miscellaneous Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1970 | Load Management Controls Customer Premises |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1975 | Load Management Controls Utility Premises |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1980 | System Supervisor Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1985 | Miscellaneous Fixed Assets |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1990 | Other Tangible Property |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1995 | Contributions & Grants |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
2440 | Deferred Revenue |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
2005 | Property Under Finance Lease |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
| Total | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0%
|  |  |  | Year | 2027
2017
|  | Book Values |  |  |  | Service Lives |  | Depreciation Expense |  |  |  |  | 2018
Account | Description | Opening Book Value of Assets | Less Fully Depreciated 1 | Current Year Additions | Disposals | Net Amount of Assets to be Depreciated | Remaining Life of Assets Existing 2 | Depreciation Rate Assets | Depreciation Expense on Assets 3 | Depreciation Expense per Appendix 2-BA Fixed Assets, Column K | Variance 4 | Variance %
|  | a | b | c | d | e = a-b+0.5*c-d | f | g = 1/f | h = e/f | i | j = i-h | k = j/i
1609 | Capital Contributions Paid |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1611 | Computer Software (Formally known as Account 1925) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1612 | Land Rights (Formally known as Account 1906) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1805 | Land |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1808 | Buildings |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1810 | Leasehold Improvements |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1815 | Transformer Station Equipment >50 kV |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1820 | Distribution Station Equipment <50 kV |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1825 | Storage Battery Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1830 | Poles, Towers & Fixtures |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1835 | Overhead Conductors & Devices |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1840 | Underground Conduit |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1845 | Underground Conductors & Devices |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1850 | Line Transformers |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1855 | Services (Overhead & Underground) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1860 | Meters |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1860 | Meters (Smart Meters) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1905 | Land |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1908 | Buildings & Fixtures |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1910 | Leasehold Improvements |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1915 | Office Furniture & Equipment (10 years) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1915 | Office Furniture & Equipment (5 years) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equipment - Hardware |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equip.-Hardware(Post Mar. 22/04) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1920 | Computer Equip.-Hardware(Post Mar. 19/07) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1930 | Transportation Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1935 | Stores Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1940 | Tools, Shop & Garage Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1945 | Measurement & Testing Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1950 | Power Operated Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1955 | Communications Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1955 | Communication Equipment (Smart Meters) |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1960 | Miscellaneous Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1970 | Load Management Controls Customer Premises |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1975 | Load Management Controls Utility Premises |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1980 | System Supervisor Equipment |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1985 | Miscellaneous Fixed Assets |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1990 | Other Tangible Property |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
1995 | Contributions & Grants |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
2440 | Deferred Revenue |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
2005 | Property Under Finance Lease |  |  |  |  | 0 |  | 0% | 0 | 0 | 0 | 0%
| Total | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0%
Note 1: | Consistent with the CLLP application (EB 2024 0216), the half-year rule was not applied as the assets are expected to be placed into service on November 15, 2026; accordingly, only 47 days of depreciation was recognized in 2026 to minimize rate impacts. Similarly, the half-year rule is not applied to trailing costs for assets anticipated to come into service in 2027. As the base asset is already in service, trailing costs are depreciated based on their actual in-service timing, ensuring alignment between depreciation expense and when the related investment begins providing service.
Note on K520: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Shahdil Alibhai @Laura Hampton Why is there an amount in here if there should be $0 depreciation? Reply: Correct - s/b $0
Note on K527: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Shahdil Alibhai C-01-01-03 has $.58 and $0.28 @Laura Hampton Reply: Updated
Note on K559: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Shahdil Alibhai @Laura Hampton Why does C-01-01-02 have $0.86? The 2027 matches.
Note on K569: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Shahdil Alibhai @Laura Hampton Same thing here. I see that column J is correct. But shouldn't there be no variance to the other schedule given that the rate is 0? Reply: Correct - s/b $0