## JT1.3_2-CCC-15 f.
Elexicon System-Wide - Summer
Items Requested | Comments | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
i. Actual Demand (MW) | Coincident peak demand | 648.7689 | 749.933 | 706.2828 | 696.6003 | 691.8905 | 696.556 | 747.2488 | - | - | - | - | - | -
ii. Actual Weather Normalized Demand (MW) | Normalized to P90 | 751.4729 | 773.0709 | 782.868 | 736.9445 | 801.4784 | 772.2572 | 787.0994 | - | - | - | - | - | -
iii. Actual System Capacity (MW) | Station supply capacity; summer LTRs | 929.8151 | 929.8151 | 929.8151 | 929.8151 | 929.8151 | 1082.8151 | 1082.8151 | - | - | - | - | - | -
iv. Forecast Demand 2021 DSP (MW) | Coincident P90 peak load forecast | - | 739.71 | 754.53 | 772.38 | 790.35 | 805.31 | 819.04 | 833.46 | 848.25 | 863.47 | 879.17 | 895.36 | -
v. Weather-Normalized Base Load P90 (MW) |  | - | - | - | - | - | - | 801.4784 | 801.4784 | 801.4784 | 801.4784 | 801.4784 | 801.4784 | 801.4784
v. Weather-Normalized Base Load P50 (MW) |  | - | - | - | - | - | - | 726 | 726 | 726 | 726 | 726 | 726 | 726
v. Weather-Normalized Base Load P10 (MW) |  | - | - | - | - | - | - | 667.1479 | 667.1479 | 667.1479 | 667.1479 | 667.1479 | 667.1479 | 667.1479
vi. Customer Growth High (MW) |  | - | - | - | - | - | - | 17.3911 | 40.1734 | 55.5053 | 71.6517 | 85.3548 | 99.0578 | 112.7608
vi. Customer Growth Medium (MW) |  | - | - | - | - | - | - | 13.0433 | 30.1301 | 41.629 | 53.7388 | 64.0161 | 74.2933 | 84.5706
vi. Customer Growth Low (MW) |  | - | - | - | - | - | - | 8.6956 | 20.0867 | 27.7527 | 35.8259 | 42.6774 | 49.5289 | 56.3804
vii. Building Electrification High (MW) |  | - | - | - | - | - | - | 28.2594 | 35.3909 | 42.9342 | 50.8013 | 58.9925 | 67.5074 | 74.2453
vii. Building Electrification Medium (MW) |  | - | - | - | - | - | - | 25.3083 | 31.8037 | 38.6616 | 45.8182 | 53.2736 | 61.0275 | 67.2836
vii. Building Electrification Low (MW) |  | - | - | - | - | - | - | 3.2469 | 4.6973 | 6.3723 | 8.3969 | 10.7712 | 13.4949 | 16.3932
viii. EVs High (MW) |  | - | - | - | - | - | - | 6.4224 | 13.7639 | 22.2597 | 34.7458 | 50.8488 | 73.88 | 102.782
viii. EVs Medium (MW) |  | - | - | - | - | - | - | 4.5081 | 9.1704 | 13.9355 | 18.8025 | 24.3115 | 31.6916 | 39.8084
viii. EVs Low (MW) |  | - | - | - | - | - | - | 1.8752 | 3.6947 | 5.6949 | 7.7286 | 9.7961 | 11.9769 | 14.1106
ix. Forecast System Capacity (MW) | Station supply capacity; summer LTRs | - | - | - | - | - | - | - | 1082.8151 | 1115.3151 | 1115.3151 | 1115.3151 | 1115.3151 | 1275.3151

## JT1.3_2-CCC-15 g.
Ajax-Pickering - Summer
Items Requested | Comments | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
i. Actual Demand (MW) | Coincident peak demand | 274.363 | 314.399 | 300.331 | 292.356 | 293.4189 | 299.4271 | 321.7117 | - | - | - | - | - | -
ii. Actual Weather Normalized Demand (MW) | Normalized to P90 | 312.1298 | 318.7736 | 326.408 | 304.4426 | 335.0806 | 313.0385 | 321.5523 | - | - | - | - | - | -
iii. Actual System Capacity (MW) | Station supply capacity; summer LTRs | 348.6022 | 348.6022 | 348.6022 | 348.6022 | 348.6022 | 501.6022 | 501.6022 | - | - | - | - | - | -
iv. Forecast Demand 2021 DSP (MW) | Coincident P90 peak load forecast | - | 300.72 | 308.94 | 320.17 | 331.68 | 340.15 | 347.28 | 355.02 | 363.09 | 371.53 | 380.35 | 389.57 | -
v. Weather-Normalized Base Load P90 (MW) |  | - | - | - | - | - | - | 335.0806 | 335.0806 | 335.0806 | 335.0806 | 335.0806 | 335.0806 | 335.0806
v. Weather-Normalized Base Load P50 (MW) |  | - | - | - | - | - | - | 297.5712 | 297.5712 | 297.5712 | 297.5712 | 297.5712 | 297.5712 | 297.5712
v. Weather-Normalized Base Load P10 (MW) |  | - | - | - | - | - | - | 271.9795 | 271.9795 | 271.9795 | 271.9795 | 271.9795 | 271.9795 | 271.9795
vi. Customer Growth High (MW) |  | - | - | - | - | - | - | 6.6382 | 13.2765 | 20.3969 | 27.5172 | 34.6376 | 41.758 | 48.8784
vi. Customer Growth Medium (MW) |  | - | - | - | - | - | - | 4.9787 | 9.9574 | 15.2976 | 20.6379 | 25.9782 | 31.3185 | 36.6588
vi. Customer Growth Low (MW) |  | - | - | - | - | - | - | 3.3191 | 6.6382 | 10.1984 | 13.7586 | 17.3188 | 20.879 | 24.4392
vii. Building Electrification High (MW) |  | - | - | - | - | - | - | 12.7039 | 15.9895 | 19.5089 | 23.2096 | 27.0914 | 31.1544 | 34.4231
vii. Building Electrification Medium (MW) |  | - | - | - | - | - | - | 11.4112 | 14.4079 | 17.613 | 20.9852 | 24.5242 | 28.2302 | 31.262
vii. Building Electrification Low (MW) |  | - | - | - | - | - | - | 1.4598 | 2.1488 | 2.9681 | 3.9825 | 5.192 | 6.5966 | 8.0988
viii. EVs High (MW) |  | - | - | - | - | - | - | 3.1715 | 6.8783 | 11.1489 | 17.4077 | 25.3848 | 36.5329 | 50.843
viii. EVs Medium (MW) |  | - | - | - | - | - | - | 2.0762 | 4.2893 | 6.5511 | 8.8637 | 11.5474 | 15.1225 | 19.119
viii. EVs Low (MW) |  | - | - | - | - | - | - | 0.91791 | 1.8515 | 2.8961 | 3.9583 | 5.0381 | 6.1356 | 7.2506
ix. Forecast System Capacity (MW) | Station supply capacity; summer LTRs | - | - | - | - | - | - | - | 501.6022 | 501.6022 | 501.6022 | 501.6022 | 501.6022 | 581.6022
Whitby - Summer
Items Requested | Comments | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
i. Actual Demand (MW) | Coincident peak demand | 176.445 | 204.078 | 192.668 | 189.062 | 190.95 | 193.825 | 210.295 | - | - | - | - | - | -
ii. Actual Weather Normalized Demand (MW) | Normalized to P90 | 206.0304 | 207.7661 | 206.4151 | 191.9465 | 221.0344 | 206.4275 | 209.611 | - | - | - | - | - | -
iii. Actual System Capacity (MW) | Station supply capacity; summer LTRs | 271.0694 | 271.0694 | 271.0694 | 271.0694 | 271.0694 | 271.0694 | 271.0694 | - | - | - | - | - | -
iv. Forecast Demand 2021 DSP (MW) | Coincident P90 peak load forecast | - | 198.72 | 202.01 | 205.54 | 209.09 | 212.69 | 216.35 | 220.08 | 223.89 | 227.78 | 231.74 | 235.77 | -
v. Weather-Normalized Base Load P90 (MW) |  | - | - | - | - | - | - | 221.0344 | 221.0344 | 221.0344 | 221.0344 | 221.0344 | 221.0344 | 221.0344
v. Weather-Normalized Base Load P50 (MW) |  | - | - | - | - | - | - | 197.1674 | 197.1674 | 197.1674 | 197.1674 | 197.1674 | 197.1674 | 197.1674
v. Weather-Normalized Base Load P10 (MW) |  | - | - | - | - | - | - | 178.1601 | 178.1601 | 178.1601 | 178.1601 | 178.1601 | 178.1601 | 178.1601
vi. Customer Growth High (MW) |  | - | - | - | - | - | - | 3.1101 | 6.2202 | 9.473 | 12.7258 | 15.9786 | 19.2313 | 22.4841
vi. Customer Growth Medium (MW) |  | - | - | - | - | - | - | 2.3326 | 4.6652 | 7.1048 | 9.5443 | 11.9839 | 14.4235 | 16.8631
vi. Customer Growth Low (MW) |  | - | - | - | - | - | - | 1.5551 | 3.1101 | 4.7365 | 6.3629 | 7.9893 | 9.6157 | 11.2421
vii. Building Electrification High (MW) |  | - | - | - | - | - | - | 7.936 | 9.9237 | 12.0126 | 14.1844 | 16.439 | 18.7764 | 20.6131
vii. Building Electrification Medium (MW) |  | - | - | - | - | - | - | 7.1187 | 8.93 | 10.8301 | 12.8066 | 14.8593 | 16.9885 | 18.6936
vii. Building Electrification Low (MW) |  | - | - | - | - | - | - | 0.90168 | 1.2989 | 1.7504 | 2.2913 | 2.9214 | 3.6408 | 4.4049
viii. EVs High (MW) |  | - | - | - | - | - | - | 1.6545 | 3.5882 | 5.8557 | 9.2338 | 13.7521 | 20.2788 | 28.4591
viii. EVs Medium (MW) |  | - | - | - | - | - | - | 1.4362 | 2.9403 | 4.4751 | 6.0365 | 7.644 | 9.6853 | 11.95
viii. EVs Low (MW) |  | - | - | - | - | - | - | 0.50256 | 1.0135 | 1.5738 | 2.1431 | 2.7215 | 3.3088 | 3.9052
ix. Forecast System Capacity (MW) | Station supply capacity; summer LTRs | - | - | - | - | - | - | - | 271.0694 | 271.0694 | 271.0694 | 271.0694 | 271.0694 | 351.0694
Clarington - Summer
Items Requested | Comments | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
i. Actual Demand (MW) | Coincident peak demand | 46.4065 | 56.4589 | 52.0615 | 49.4815 | 52.0701 | 49.6579 | 49.779 | - | - | - | - | - | -
ii. Actual Weather Normalized Demand (MW) | Normalized to P90 | 51.8786 | 57.3488 | 57.8609 | 54.0388 | 57.8329 | 53.3439 | 52.9548 | - | - | - | - | - | -
iii. Actual System Capacity (MW) | Station supply capacity; summer LTRs | 73.4169 | 73.4169 | 73.4169 | 73.4169 | 73.4169 | 73.4169 | 73.4169 | - | - | - | - | - | -
iv. Forecast Demand 2021 DSP (MW) | Coincident P90 peak load forecast | - | 52.22 | 53.14 | 54.07 | 54.98 | 55.86 | 56.77 | 57.69 | 58.63 | 59.58 | 60.56 | 61.55 | -
v. Weather-Normalized Base Load P90 (MW) |  | - | - | - | - | - | - | 57.8329 | 57.8329 | 57.8329 | 57.8329 | 57.8329 | 57.8329 | 57.8329
v. Weather-Normalized Base Load P50 (MW) |  | - | - | - | - | - | - | 52.2326 | 52.2326 | 52.2326 | 52.2326 | 52.2326 | 52.2326 | 52.2326
v. Weather-Normalized Base Load P10 (MW) |  | - | - | - | - | - | - | 46.5615 | 46.5615 | 46.5615 | 46.5615 | 46.5615 | 46.5615 | 46.5615
vi. Customer Growth High (MW) |  | - | - | - | - | - | - | 1.514 | 3.0279 | 4.641 | 6.2541 | 7.8672 | 9.4803 | 11.0934
vi. Customer Growth Medium (MW) |  | - | - | - | - | - | - | 1.1355 | 2.2709 | 3.4808 | 4.6906 | 5.9004 | 7.1102 | 8.32
vi. Customer Growth Low (MW) |  | - | - | - | - | - | - | 0.75698 | 1.514 | 2.3205 | 3.1271 | 3.9336 | 4.7401 | 5.5467
vii. Building Electrification High (MW) |  | - | - | - | - | - | - | 2.8334 | 3.5771 | 4.3763 | 5.2198 | 6.1075 | 7.0394 | 7.7943
vii. Building Electrification Medium (MW) |  | - | - | - | - | - | - | 2.5441 | 3.2223 | 3.95 | 4.7184 | 5.5275 | 6.3773 | 7.0776
vii. Building Electrification Low (MW) |  | - | - | - | - | - | - | 0.32859 | 0.4883 | 0.67872 | 0.91662 | 1.202 | 1.5348 | 1.8913
viii. EVs High (MW) |  | - | - | - | - | - | - | 0.56585 | 1.2024 | 1.9359 | 3.0143 | 4.3817 | 6.293 | 8.8021
viii. EVs Medium (MW) |  | - | - | - | - | - | - | 0.14978 | 0.30667 | 0.46957 | 0.63951 | 1.0038 | 1.621 | 2.302
viii. EVs Low (MW) |  | - | - | - | - | - | - | 0.10825 | 0.22037 | 0.3375 | 0.45857 | 0.58358 | 0.71252 | 0.8454
ix. Forecast System Capacity (MW) | Station supply capacity; summer LTRs | - | - | - | - | - | - | - | 73.4169 | 73.4169 | 73.4169 | 73.4169 | 73.4169 | 73.4169
Belleville - Summer and Winter
Items Requested | Comments | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
i. Actual Demand (MW) | Coincident peak demand | 102.75 | 107.9 | 109.4 | 105.72 | 106 | 104.5731 | 111.8807 | - | - | - | - | - | -
ii. Actual Weather Normalized Demand (MW) | Normalized to P90 | 105.8771 | 109.6771 | 114.1248 | 106.915 | 106.7686 | 113.1971 | 117.3619 | - | - | - | - | - | -
iii. Actual System Capacity (MW) | Station supply capacity; summer LTRs | 110 | 110 | 110 | 110 | 110 | 110 | 110 | - | - | - | - | - | -
iv. Forecast Demand 2021 DSP (MW) | Coincident P90 peak load forecast | - | 105.76 | 106.91 | 107.88 | 108.71 | 109.53 | 110.36 | 111.19 | 111.96 | 112.71 | 113.45 | 114.2 | -
v. Weather-Normalized Base Load P90 (MW) |  | - | - | - | - | - | - | 106.7686 | 106.7686 | 106.7686 | 106.7686 | 96.7981 | 96.7981 | 96.7981
v. Weather-Normalized Base Load P50 (MW) |  | - | - | - | - | - | - | 104.0533 | 104.0533 | 104.0533 | 104.0533 | 94.335 | 94.335 | 94.335
v. Weather-Normalized Base Load P10 (MW) |  | - | - | - | - | - | - | 100.4882 | 100.4882 | 100.4882 | 100.4882 | 93.1136 | 93.1136 | 93.1136
vi. Customer Growth High (MW) |  | - | - | - | - | - | - | 5.4789 | 12.3017 | 15.0128 | 18.5383 | 19.0976 | 20.0752 | 21.0528
vi. Customer Growth Medium (MW) |  | - | - | - | - | - | - | 4.1092 | 9.2263 | 11.2596 | 13.9037 | 14.3232 | 15.0564 | 15.7896
vi. Customer Growth Low (MW) |  | - | - | - | - | - | - | 2.7395 | 6.1509 | 7.5064 | 9.2691 | 9.5488 | 10.0376 | 10.5264
vii. Building Electrification High (MW) |  | - | - | - | - | - | - | 2.0151 | 2.4725 | 2.9348 | 3.399 | 15.8391 | 17.7347 | 19.1131
vii. Building Electrification Medium (MW) |  | - | - | - | - | - | - | 1.7432 | 2.1531 | 2.5653 | 2.9794 | 13.0091 | 14.6299 | 15.96
vii. Building Electrification Low (MW) |  | - | - | - | - | - | - | 0.25314 | 0.33985 | 0.42787 | 0.51853 | 3.2352 | 3.7134 | 4.1929
viii. EVs High (MW) |  | - | - | - | - | - | - | 0.56939 | 1.0941 | 1.6894 | 2.5341 | 3.5879 | 5.3431 | 7.1462
viii. EVs Medium (MW) |  | - | - | - | - | - | - | 0.53889 | 0.99785 | 1.463 | 1.9354 | 2.4149 | 3.0076 | 3.5648
viii. EVs Low (MW) |  | - | - | - | - | - | - | 0.23355 | 0.38184 | 0.53145 | 0.68235 | 0.83457 | 1.0678 | 1.2218
ix. Forecast System Capacity (MW) | Station supply capacity; summer LTRs | - | - | - | - | - | - | - | 110 | 142.5 | 142.5 | 142.5 | 142.5 | 142.5
Port Hope - Winter
Items Requested | Comments | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
i. Actual Demand (MW) | Coincident peak demand | 35.89 | 34.21 | 34.11 | 35.58 | 36.24 | 34.997 | 36.403 | - | - | - | - | - | -
ii. Actual Weather Normalized Demand (MW) | Normalized to P90 | 35.8941 | 35.6008 | 35.5949 | 36.1355 | 36.9616 | 35.4668 | 37.6278 | - | - | - | - | - | -
iii. Actual System Capacity (MW) | Station supply capacity; winter LTRs | 41.1534 | 41.1534 | 41.1534 | 41.1534 | 41.1534 | 41.1534 | 41.1534 | - | - | - | - | - | -
iv. Forecast Demand 2021 DSP (MW) | Coincident P90 peak load forecast | - | 40.37 | 41.12 | 41.87 | 42.62 | 43.37 | 44.12 | 44.86 | 45.61 | 46.36 | 47.11 | 47.86 | -
v. Weather-Normalized Base Load P90 (MW) |  | - | - | - | - | - | - | 36.9616 | 36.9616 | 36.9616 | 36.9616 | 36.9616 | 36.9616 | 36.9616
v. Weather-Normalized Base Load P50 (MW) |  | - | - | - | - | - | - | 35.4462 | 35.4462 | 35.4462 | 35.4462 | 35.4462 | 35.4462 | 35.4462
v. Weather-Normalized Base Load P10 (MW) |  | - | - | - | - | - | - | 34.5256 | 34.5256 | 34.5256 | 34.5256 | 34.5256 | 34.5256 | 34.5256
vi. Customer Growth High (MW) |  | - | - | - | - | - | - | 0.17775 | 0.3555 | 0.53325 | 0.71101 | 0.88876 | 1.0665 | 1.2443
vi. Customer Growth Medium (MW) |  | - | - | - | - | - | - | 0.13331 | 0.26663 | 0.39994 | 0.53325 | 0.66657 | 0.79988 | 0.9332
vi. Customer Growth Low (MW) |  | - | - | - | - | - | - | 0.088876 | 0.17775 | 0.26663 | 0.3555 | 0.44438 | 0.53325 | 0.62213
vii. Building Electrification High (MW) |  | - | - | - | - | - | - | 3.9281 | 4.8428 | 5.7753 | 6.7195 | 7.6754 | 8.6431 | 9.3615
vii. Building Electrification Medium (MW) |  | - | - | - | - | - | - | 3.3619 | 4.1781 | 5.0054 | 5.8437 | 6.6932 | 7.5538 | 8.2308
vii. Building Electrification Low (MW) |  | - | - | - | - | - | - | 0.51824 | 0.70593 | 0.89999 | 1.1075 | 1.3286 | 1.5633 | 1.8044
viii. EVs High (MW) |  | - | - | - | - | - | - | 0.16093 | 0.35054 | 0.57794 | 0.92233 | 1.3746 | 2.0284 | 2.8586
viii. EVs Medium (MW) |  | - | - | - | - | - | - | 0.087173 | 0.18095 | 0.281 | 0.38637 | 0.50897 | 0.72081 | 0.96193
viii. EVs Low (MW) |  | - | - | - | - | - | - | 0.041352 | 0.083277 | 0.12709 | 0.17152 | 0.21655 | 0.26219 | 0.30844
ix. Forecast System Capacity (MW) | Station supply capacity; winter LTRs | - | - | - | - | - | - | - | 41.1534 | 41.1534 | 41.1534 | 41.1534 | 41.1534 | 41.1534
Brock - Summer
Items Requested | Comments | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
i. Actual Demand (MW) | Coincident peak demand | 21.935 | 24.23 | 22.896 | 23.481 | 24.21 | 23.822 | 25.6504 | - | - | - | - | - | -
ii. Actual Weather Normalized Demand (MW) | Normalized to P90 | 22.861 | 25.0166 | 23.8533 | 25.5858 | 25.3746 | 24.1595 | 26.0581 | - | - | - | - | - | -
iii. Actual System Capacity (MW) | Station supply capacity; summer LTRs | 100.1999 | 100.1999 | 100.1999 | 100.1999 | 100.1999 | 100.1999 | 100.1999 | - | - | - | - | - | -
iv. Forecast Demand 2021 DSP (MW) | Coincident P90 peak load forecast | - | 22.74 | 23.02 | 23.25 | 23.46 | 23.69 | 23.93 | 24.17 | 24.42 | 24.67 | 24.93 | 25.19 | -
v. Weather-Normalized Base Load P90 (MW) |  | - | - | - | - | - | - | 25.3746 | 25.3746 | 25.3746 | 25.3746 | 25.3746 | 25.3746 | 25.3746
v. Weather-Normalized Base Load P50 (MW) |  | - | - | - | - | - | - | 21.9743 | 21.9743 | 21.9743 | 21.9743 | 21.9743 | 21.9743 | 21.9743
v. Weather-Normalized Base Load P10 (MW) |  | - | - | - | - | - | - | 19.954 | 19.954 | 19.954 | 19.954 | 19.954 | 19.954 | 19.954
vi. Customer Growth High (MW) |  | - | - | - | - | - | - | 0.23304 | 4.5383 | 4.7809 | 5.0235 | 5.2661 | 5.5087 | 5.7513
vi. Customer Growth Medium (MW) |  | - | - | - | - | - | - | 0.17478 | 3.4037 | 3.5857 | 3.7676 | 3.9496 | 4.1315 | 4.3135
vi. Customer Growth Low (MW) |  | - | - | - | - | - | - | 0.11652 | 2.2691 | 2.3904 | 2.5118 | 2.6331 | 2.7544 | 2.8757
vii. Building Electrification High (MW) |  | - | - | - | - | - | - | 0.8162 | 1.0132 | 1.2172 | 1.4269 | 1.6421 | 1.8631 | 2.032
vii. Building Electrification Medium (MW) |  | - | - | - | - | - | - | 0.7388 | 0.91899 | 1.1053 | 1.2967 | 1.4934 | 1.6953 | 1.8519
vii. Building Electrification Low (MW) |  | - | - | - | - | - | - | 0.087344 | 0.12305 | 0.16247 | 0.20798 | 0.25957 | 0.31726 | 0.37799
viii. EVs High (MW) |  | - | - | - | - | - | - | 0.14108 | 0.31462 | 0.5145 | 0.8058 | 1.1754 | 1.7088 | 2.3687
viii. EVs Medium (MW) |  | - | - | - | - | - | - | 0.10307 | 0.21903 | 0.33743 | 0.45924 | 0.58446 | 0.75897 | 0.95266
viii. EVs Low (MW) |  | - | - | - | - | - | - | 0.031605 | 0.063647 | 0.10677 | 0.15052 | 0.19489 | 0.23989 | 0.28551
ix. Forecast System Capacity (MW) | Station supply capacity; summer LTRs | - | - | - | - | - | - | - | 100.1999 | 100.1999 | 100.1999 | 100.1999 | 100.1999 | 100.1999
Gravenhurst - Winter
Items Requested | Comments | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
i. Actual Demand (MW) | Coincident peak demand | 20.0314 | 18.762 | 20.009 | 22.019 | 21.838 | 20.652 | 21.5975 | - | - | - | - | - | -
ii. Actual Weather Normalized Demand (MW) | Normalized to P90 | 22.0262 | 20.3427 | 20.9117 | 21.4711 | 22.0913 | 26.1681 | 26.5694 | - | - | - | - | - | -
iii. Actual System Capacity (MW) | Station supply capacity; winter LTRs | 20.5767 | 20.5767 | 20.5767 | 20.5767 | 20.5767 | 20.5767 | 20.5767 | - | - | - | - | - | -
iv. Forecast Demand 2021 DSP (MW) | Coincident P90 peak load forecast | - | 30.59 | 30.98 | 31.37 | 31.77 | 32.16 | 32.55 | 32.95 | 33.34 | 33.71 | 34.08 | 34.44 | -
v. Weather-Normalized Base Load P90 (MW) |  | - | - | - | - | - | - | 22.2788 | 22.2788 | 22.2788 | 22.2788 | 22.2788 | 22.2788 | 22.2788
v. Weather-Normalized Base Load P50 (MW) |  | - | - | - | - | - | - | 21.5208 | 21.5208 | 21.5208 | 21.5208 | 21.5208 | 21.5208 | 21.5208
v. Weather-Normalized Base Load P10 (MW) |  | - | - | - | - | - | - | 20.8653 | 20.8653 | 20.8653 | 20.8653 | 20.8653 | 20.8653 | 20.8653
vi. Customer Growth High (MW) |  | - | - | - | - | - | - | 0.19125 | 0.36114 | 0.53104 | 0.70094 | 0.87083 | 1.0407 | 1.2106
vi. Customer Growth Medium (MW) |  | - | - | - | - | - | - | 0.14343 | 0.27086 | 0.39828 | 0.5257 | 0.65313 | 0.78055 | 0.90797
vi. Customer Growth Low (MW) |  | - | - | - | - | - | - | 0.095623 | 0.18057 | 0.26552 | 0.35047 | 0.43542 | 0.52037 | 0.60531
vii. Building Electrification High (MW) |  | - | - | - | - | - | - | 3.1513 | 3.8926 | 4.6518 | 5.4228 | 6.2057 | 7.0005 | 7.5965
vii. Building Electrification Medium (MW) |  | - | - | - | - | - | - | 2.6523 | 3.3096 | 3.978 | 4.6578 | 5.3488 | 6.0512 | 6.6149
vii. Building Electrification Low (MW) |  | - | - | - | - | - | - | 0.44415 | 0.60627 | 0.77486 | 0.95723 | 1.1534 | 1.3635 | 1.5802
viii. EVs High (MW) |  | - | - | - | - | - | - | 0.15918 | 0.33581 | 0.53741 | 0.82772 | 1.1922 | 1.6951 | 2.3044
viii. EVs Medium (MW) |  | - | - | - | - | - | - | 0.11678 | 0.23631 | 0.35834 | 0.48187 | 0.6079 | 0.77543 | 0.95808
viii. EVs Low (MW) |  | - | - | - | - | - | - | 0.039941 | 0.080642 | 0.12216 | 0.16424 | 0.2069 | 0.25013 | 0.29374
ix. Forecast System Capacity (MW) | Station supply capacity; winter LTRs | - | - | - | - | - | - | - | 20.5767 | 20.5767 | 20.5767 | 20.5767 | 20.5767 | 20.5767
NOTE: Please note that for Belleville the peak season shifts from Summer to Winter for the load forecast in 2029, as shown in Exhibit 2B, Tab 3, Schedule 2, p.60. Therefore the inputs in the table reflect the summer inputs from 2026-2028, and the winter inputs from 2029-2031.