## JT 1.13 - 2027
Project ID | Project Name | DSP Portfolio | DSP Program | Criteria Score? [1] | Financial Score | Reliability Score | Safety Score | Enviromental Score | Impact Score | HI Score | Probability Score | Criticality Score
2021-0503 | Liberty St (Baseline Rd x King St)- Relocation | System Access | A1 Externally-Initiated Plant Relocation | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2025-0506B | Rossland Rd (Salem x Lake Ridge) Relocation (Phase 4) | System Access | A1 Externally-Initiated Plant Relocation | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2025-0505 | Kingston Rd BRT – Altona Rd to Steeple Hill | System Access | A1 Externally-Initiated Plant Relocation | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2018-0510 | Sandy Beach (Montgomery x Bayly) RR | System Access | A1 Externally-Initiated Plant Relocation | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2017-0526H | BRT Hwy 2 (Bainbridge x Notion) | System Access | A1 Externally-Initiated Plant Relocation | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-6601 | Damages - 3rd Party | System Access | A1 Externally-Initiated Plant Relocation | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2025-0509 | Lake Ridge (Bayly x Dundas) Road Relocation | System Access | A1 Externally-Initiated Plant Relocation | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2020-0522A | Brock x Water Whitby Harbor Relocation | System Access | A1 Externally-Initiated Plant Relocation | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-6602 | Third Party Make Ready Work | System Access | A1 Externally-Initiated Plant Relocation | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2025-6620 | 6 Brown Street Pole Relocation | System Access | A1 Externally-Initiated Plant Relocation | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2029-0539 | 2029 – Dundas (Coleman x Front) Road Relocation – Phase 1 | System Access | A1 Externally-Initiated Plant Relocation | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0545 | Eldorado (P109397) Anchor Replacement RR | System Access | A1 Externally-Initiated Plant Relocation | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0548 | 451 Moira St W Hydro One Conductor Transfer | System Access | A1 Externally-Initiated Plant Relocation | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0552 | 70 Station (P34857) Anchor Reconfiguration | System Access | A1 Externally-Initiated Plant Relocation | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2027-X132 | Placeholder for Externally-Initiated Plant Relocation Scopes | System Access | A1 Externally-Initiated Plant Relocation | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0549 | Southwood PS (Lambert) Road Relocation | System Access | A1 Externally-Initiated Plant Relocation | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0546 | Alexander Knox (Whitevale x Peter Matthews) Pole Correction | System Access | A1 Externally-Initiated Plant Relocation | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0534 | Harwood (Taunton x Rossland) Road Relocation | System Access | A1 Externally-Initiated Plant Relocation | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0555 | Montgomery (OPG) Customer Pole Relocation | System Access | A1 Externally-Initiated Plant Relocation | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0550 | Bowmanville x Baseline Pole Line Reconfiguration | System Access | A1 Externally-Initiated Plant Relocation | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0554 | Foster (Dundas x Wills) Road Relocation | System Access | A1 Externally-Initiated Plant Relocation | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2021-0513B1 | Avounlough SPS Road Relocation – Phase 2 | System Access | A1 Externally-Initiated Plant Relocation | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0601A | Residential Development - Ajax | System Access | A2 Customer & Generation Connections | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0601B | Residential Development - Belleville | System Access | A2 Customer & Generation Connections | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0601C | Residential Development - Clarington | System Access | A2 Customer & Generation Connections | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0601G | Residential Development - Gravenhurst | System Access | A2 Customer & Generation Connections | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0601U | Residential Development - Brock | System Access | A2 Customer & Generation Connections | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0601W | Residential Development - Whitby | System Access | A2 Customer & Generation Connections | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0602A | Transformers - General Services - Ajax | System Access | A2 Customer & Generation Connections | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0602B | Transformers - General Services - Belleville | System Access | A2 Customer & Generation Connections | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0602C | Transformers - General Services - Clarington | System Access | A2 Customer & Generation Connections | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0602G | Transformers - General Services - Gravenhurst | System Access | A2 Customer & Generation Connections | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0602U | Transformers - General Services - Brock | System Access | A2 Customer & Generation Connections | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0602W | Transformers - General Services - Whitby | System Access | A2 Customer & Generation Connections | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0603A | O/H New Residential Services - Ajax | System Access | A2 Customer & Generation Connections | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0603B | O/H New Residential Services - Belleville | System Access | A2 Customer & Generation Connections | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0603C | O/H New Residential Services - Clarington | System Access | A2 Customer & Generation Connections | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0603G | O/H New Residential Services - Gravenhurst | System Access | A2 Customer & Generation Connections | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0603U | O/H New Residential Services - Brock | System Access | A2 Customer & Generation Connections | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0603W | O/H New Residential Services - Whitby | System Access | A2 Customer & Generation Connections | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0604A | U/G New Residential Services - Ajax | System Access | A2 Customer & Generation Connections | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0604B | U/G New Residential Services - Belleville | System Access | A2 Customer & Generation Connections | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0604C | U/G New Residential Services - Clarington | System Access | A2 Customer & Generation Connections | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0604G | U/G New Residential Services - Gravenhurst | System Access | A2 Customer & Generation Connections | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0604U | U/G New Residential Services - Brock | System Access | A2 Customer & Generation Connections | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0604W | U/G New Residential Services - Whitby | System Access | A2 Customer & Generation Connections | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-6610A | Service Upgrades for Residential Customers - Ajax | System Access | A2 Customer & Generation Connections | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-6610B | Service Upgrades for Residential Customers - Belleville | System Access | A2 Customer & Generation Connections | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-6610C | Service Upgrades for Residential Customers - Clarington | System Access | A2 Customer & Generation Connections | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-6610G | Service Upgrades for Residential Customers - Gravenhurst | System Access | A2 Customer & Generation Connections | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-6610U | Service Upgrades for Residential Customers - Brock | System Access | A2 Customer & Generation Connections | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-6610W | Service Upgrades for Residential Customers - Whitby | System Access | A2 Customer & Generation Connections | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0605 | Temporary Services with w/o TX's | System Access | A2 Customer & Generation Connections | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2027-X138 | ERA Placeholder for Customer & Generation Connections | System Access | A2 Customer & Generation Connections | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2022-0203 | PTC Intensification Phase 1 (Loop Exp) | System Access | A3 System Expansion | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2025-0209 | 1636 Charles St Expansion | System Access | A3 System Expansion | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2025-0208 | Valley Farm (Finch x Kingston) Expansion | System Access | A3 System Expansion | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2025-0207 | Sideline 24 Expansion | System Access | A3 System Expansion | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2025-0220 | Seaton M1-M3-M5-M7 Egress Build Expansion | System Access | A3 System Expansion | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2025-0219 | Peter Matthews (Alexander Knox x HWY 407) Expansion | System Access | A3 System Expansion | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0203 | 310 Kingston Rd E 27.6 KV EXP | System Access | A3 System Expansion | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2021-0209A | 905 Sandy Beach LIS-EXP | System Access | A3 System Expansion | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0216 | Uxbridge Hospital 44kV Expansion | System Access | A3 System Expansion | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2025-0229 | 2025 – Gravenhurst Parkway (Reay x Beaver Creek) Expansion | System Access | A3 System Expansion | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2024-0203 | 1150 Narrows Road Expansion | System Access | A3 System Expansion | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0218D | Columbus (Ashburn x Cachet) Expansion -BLG | System Access | A3 System Expansion | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0218E | Baldwin (Columbus x Thickson) Expansion - BLG | System Access | A3 System Expansion | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0218A | Ashburn (Brooklin SS x Columbus) Expansion - BLG | System Access | A3 System Expansion | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2025-0222 | 2025 Woodrow Court Expansion Whitby | System Access | A3 System Expansion | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2025-0225 | 2025 935 Taunton Rd E Expansion - Whitby | System Access | A3 System Expansion | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0238 | 2026-479 Bayly Expansion | System Access | A3 System Expansion | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0243 | 1701 Tricont (Forbes) Expansion | System Access | A3 System Expansion | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0242 | Bethune (Simpsons x Doe Lake) Expansion | System Access | A3 System Expansion | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0236 | WHITM24 Load diversion | System Access | A3 System Expansion | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0245 | 345 Bridge St W (Bridge St W x Palmer Rd) Expansion | System Access | A3 System Expansion | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0244 | 1700 Crawforth (Dundas x Thickson) Expansion | System Access | A3 System Expansion | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2027-X144 | Placeholder for System Expansion Scopes | System Access | A3 System Expansion | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-6001 | Residential Type Meters | System Access | A4 Metering & AMI 2.0 | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-6009 | Replacement of modems only for retail customers Replacement of gate keepers and modems for AMI | System Access | A4 Metering & AMI 2.0 | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-6011 | 2025-6011 - Remote Disconnect Units | System Access | A4 Metering & AMI 2.0 | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-6002 | Current and Voltage Transformers | System Access | A4 Metering & AMI 2.0 | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-6005 | Trans Type both interval and smart meter nodes | System Access | A4 Metering & AMI 2.0 | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-6004 | Polyphase Meters SC | System Access | A4 Metering & AMI 2.0 | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-6006 | Wholesale ION Main/ Alternate Meters /upgrades of Metering cabinets | System Access | A4 Metering & AMI 2.0 | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-6007 | Other, Modems, locks, metering wire, Key holders, test blocks etc | System Access | A4 Metering & AMI 2.0 | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2025-4421 | Newcastle 44kV Primary Meter Installation | System Access | A4 Metering & AMI 2.0 | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-6003 | Smart Suite Metering- 1 building | System Access | A4 Metering & AMI 2.0 | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2027-X150 | ERA Placeholder for Metering | System Access | A4 Metering & AMI 2.0 | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-1117 | Fairport SS Egress/Ingress Rebuild | System Renewal | R1 Substation Renewal | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 222
2023-1113 | Bay Ridges Reclosers Replacement | System Renewal | R1 Substation Renewal | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 187
2023-1116 | James SS Recloser Replacement | System Renewal | R1 Substation Renewal | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 187
2018-5521C | Dowty SS Driveway Upgrade | System Renewal | R1 Substation Renewal | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 89.2
2027-1150 | 2027 – Sidney SS DC System Replacement | System Renewal | R1 Substation Renewal | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 54.64
2027-1148 | 2027 – Westney Heights DC System Replacement | System Renewal | R1 Substation Renewal | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 30.8
2027-1113 | Edgehill SS – Station Rebuild | System Renewal | R1 Substation Renewal | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 85.5
2021-1108 | Shuter SS – Control Bldg Relocation | System Renewal | R1 Substation Renewal | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 90
2027-1157 | Westney Heights MS Cable Replacement | System Renewal | R1 Substation Renewal | No | 23.45 | 40 | 10 | 10.05 | 83.5 | 5 | 95 | 79.325
2021-1106 | Fairport Station Rebuild (Relocation) | System Renewal | R1 Substation Renewal | No | 35 | 40 | 10 | 15 | 100 | 64 | 95 | 95
2024-1106 | Catharine SS - 3MVA TX Repl | System Renewal | R1 Substation Renewal | No | 35 | 40 | 6.7 | 15 | 96.7 | 43 | 57 | 55.119
2027-1147 | Squires Beach SS DC System Replacement | System Renewal | R1 Substation Renewal | No | 11.55 | 40 | 6.7 | 10.05 | 68.3 | 67 | 50 | 34.15
2026-1152 | Squires Beach E2D Card Installation | System Renewal | R1 Substation Renewal | No | 0 | 40 | 0 | 10.05 | 50.05 | 50 | 50 | 25.025
2025-5507A-1 | Dreyer Switchgear SC38 Replacement | System Renewal | R2 Underground System Renewal | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 66.5
2025-5507A3 | Switchger SC62 Replacement | System Renewal | R2 Underground System Renewal | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 56.2
2025-5507A2 | Switchger SC22 Replacement | System Renewal | R2 Underground System Renewal | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 54.2
2025-5568 | 163 Swindells St Transformer T75337 Replacement | System Renewal | R2 Underground System Renewal | No | 0 | 40 | 10 | 15 | 65 | 15 | 85 | 55.25
2026-5508W3 | 2026- Padmount Transformer Replacement-Phase 2-Whitby | System Renewal | R2 Underground System Renewal | No | 0 | 0 | 10 | 15 | 25 | 25 | 75 | 18.75
2026-5508A | 2026 - Padmount Transformer Replacement Ajax | System Renewal | R2 Underground System Renewal | No | 23.45 | 40 | 10 | 15 | 88.45 | 29 | 71 | 62.7995
2027-5511A1 | Cable Injection Planned-Ajax | System Renewal | R2 Underground System Renewal | No | 23.45 | 26.8 | 10 | 0 | 60.25 | 29 | 71 | 42.7775
2026-1156 | Belleville (Moira St x Front St N) Cable Replacement | System Renewal | R2 Underground System Renewal | No | 11.55 | 0 | 6.7 | 15 | 33.25 | 30 | 70 | 23.275
2026-1155 | Centennial (S100167 x T73180) Cable Replacement | System Renewal | R2 Underground System Renewal | No | 11.55 | 40 | 6.7 | 0 | 58.25 | 30 | 70 | 40.775
2026-5507A7 | 2026 – Hardwood Switchgear SC39 Removal | System Renewal | R2 Underground System Renewal | No | 0 | 0 | 6.7 | 15 | 21.7 | 34.5 | 65.5 | 14.2135
2026-5508A3 | 2026- Padmount Transformer Replacement-Phase 2-Ajax | System Renewal | R2 Underground System Renewal | No | 0 | 0 | 10 | 10.05 | 20.05 | 36 | 64 | 12.832
2026-5508B2 | 2026- Padmount Transformer Replacement-Phase 2- Belleville | System Renewal | R2 Underground System Renewal | No | 0 | 0 | 10 | 10.05 | 20.05 | 36 | 64 | 12.832
2026-5508C2 | 2026- Padmount Transformer Replacement-Phase 2-Clarington | System Renewal | R2 Underground System Renewal | No | 0 | 0 | 10 | 10.05 | 20.05 | 36 | 64 | 12.832
2028-5508A2 | Padmount Transformer Replacement -3 Phase- Ajax District | System Renewal | R2 Underground System Renewal | No | 11.55 | 40 | 6.7 | 15 | 73.25 | 43 | 57 | 41.7525
2027-5508A | Padmount Transformer Replacement -1 Phase- Ajax District | System Renewal | R2 Underground System Renewal | No | 0 | 0 | 6.7 | 15 | 21.7 | 43 | 57 | 12.369
2027-5508A2 | Padmount Transformer Replacement -3 Phase- Ajax District | System Renewal | R2 Underground System Renewal | No | 0 | 0 | 6.7 | 15 | 21.7 | 43 | 57 | 12.369
2026-5508U2 | 2026- Padmount Transformer Replacement-Phase 2- Brock | System Renewal | R2 Underground System Renewal | No | 0 | 0 | 6.7 | 15 | 21.7 | 47 | 53 | 11.501
2026-5507A6 | Padmount Switchgear-Renewal Planned-All Regions (SC57 & SC58) | System Renewal | R2 Underground System Renewal | No | 11.55 | 26.8 | 6.7 | 15 | 60.05 | 47 | 53 | 31.8265
2026-5508A2 | 2026 -Hewitt Cres Transformer T16057 Replacement | System Renewal | R2 Underground System Renewal | No | 0 | 0 | 6.7 | 10.05 | 16.75 | 57 | 43 | 7.2025
2027-5508G | Padmount Transformer Replacement -1 Phase- Gravenhurst District | System Renewal | R2 Underground System Renewal | No | 0 | 0 | 0 | 15 | 15 | 57 | 43 | 6.45
2027-5508U | Padmount Transformer Replacement -1 Phase- Brock District | System Renewal | R2 Underground System Renewal | No | 0 | 0 | 0 | 15 | 15 | 57 | 43 | 6.45
2027-5508C | Padmount Transformer Replacement -1PH- Clarington District | System Renewal | R2 Underground System Renewal | No | 0 | 0 | 0 | 15 | 15 | 57 | 43 | 6.45
2025-5510A | Wood Poles Renewal-Planned-Ajax | System Renewal | R3 Overhead System Renewal | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 210.8
2025-5506C | LIS 5019-2 Replacement-Toronto | System Renewal | R3 Overhead System Renewal | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 69.6
2026-5513A | 2026 - Porcelain Insulator Replacement Program - Ajax District | System Renewal | R3 Overhead System Renewal | No | 0 | 40 | 10 | 15 | 65 | N/A | 95 | 61.75
2026-5514A | 2026 - Porcelain Cutout Replacement Program - Ajax District | System Renewal | R3 Overhead System Renewal | No | 0 | 40 | 10 | 15 | 65 | N/A | 95 | 61.75
2026-5514C | 2026 - Porcelain Cutout Replacement Program - Clarington District | System Renewal | R3 Overhead System Renewal | No | 0 | 40 | 10 | 15 | 65 | N/A | 95 | 61.75
2026-5509A | 2026 - Pole Mounted Transformers - Ajax District | System Renewal | R3 Overhead System Renewal | No | 0 | 0 | 10 | 15 | 25 | 10 | 90 | 22.5
2026-5510U6 | 2026 L4L Wood Poles Replacement – Brock | System Renewal | R3 Overhead System Renewal | No | 23.45 | 40 | 10 | 15 | 88.45 | 18 | 82 | 72.529
2028-5510B | Wood Poles Renewal-Planned-Belleville | System Renewal | R3 Overhead System Renewal | No | 11.55 | 13.2 | 10 | 0 | 34.75 | 24 | 76 | 26.41
2027-5510C | Poles - Clarington | System Renewal | R3 Overhead System Renewal | No | 11.55 | 40 | 10 | 15 | 76.55 | 27 | 73 | 55.8815
2026-5583 | Amos (Robert x Toronto) 401 Crossing | System Renewal | R3 Overhead System Renewal | No | 11.55 | 40 | 6.7 | 10.05 | 68.3 | 31 | 69 | 47.127
2026-5509U2 | 2026-Polemount Transformer Replacements-Phase 2- Brock | System Renewal | R3 Overhead System Renewal | No | 11.55 | 40 | 6.7 | 15 | 73.25 | 32 | 68 | 49.81
2027-5510B | L4L Wood Poles Repl. - Belleville | System Renewal | R3 Overhead System Renewal | No | 11.55 | 40 | 6.7 | 0 | 58.25 | 33 | 67 | 39.0275
2027-5510U | L4L Wood Poles Repl. - Brock | System Renewal | R3 Overhead System Renewal | No | 0 | 40 | 6.7 | 10.05 | 56.75 | 35 | 65 | 36.8875
2027-5510A | Poles - Ajax | System Renewal | R3 Overhead System Renewal | No | 11.55 | 40 | 6.7 | 10.05 | 68.3 | 35 | 65 | 44.395
2028-5510C | Wood Poles Renewal-Planned-Clarington | System Renewal | R3 Overhead System Renewal | No | 11.55 | 40 | 6.7 | 10.05 | 68.3 | 35 | 65 | 44.395
2026-5509W2 | 2026-Polemount Transformer Replacements-Phase 2- Whitby District #1 | System Renewal | R3 Overhead System Renewal | No | 11.55 | 40 | 6.7 | 10.05 | 68.3 | 37 | 63 | 43.029
2026-5509W3 | 2026-Polemount Transformer Replacements-Phase 2- Whitby District #2 | System Renewal | R3 Overhead System Renewal | No | 11.55 | 40 | 6.7 | 10.05 | 68.3 | 37 | 63 | 43.029
2026-5509W4 | 2026-Polemount Transformer Replacements-Phase 2- Whitby District #3 | System Renewal | R3 Overhead System Renewal | No | 11.55 | 40 | 6.7 | 10.05 | 68.3 | 37 | 63 | 43.029
2026-5509W5 | 2026-Polemount Transformer Replacements-Phase 2- Whitby District #4 | System Renewal | R3 Overhead System Renewal | No | 11.55 | 40 | 6.7 | 10.05 | 68.3 | 37 | 63 | 43.029
2026-5509W6 | 2026-Polemount Transformer Replacements-Phase 2- Whitby District #5 | System Renewal | R3 Overhead System Renewal | No | 11.55 | 40 | 6.7 | 10.05 | 68.3 | 37 | 63 | 43.029
2026-5509G2 | 2026-Polemount Transformer Replacements-Phase 2- Gravenhurst | System Renewal | R3 Overhead System Renewal | No | 11.55 | 40 | 6.7 | 10.05 | 68.3 | 37 | 63 | 43.029
2027-5510G | L4L Wood Poles Repl. – Gravenhurst | System Renewal | R3 Overhead System Renewal | No | 0 | 40 | 6.7 | 15 | 61.7 | 37 | 63 | 38.871
2026-5510W3 | 2026 L4L Wood Poles Replacement – Whitby Phase 3 | System Renewal | R3 Overhead System Renewal | No | 23.45 | 40 | 10 | 10.05 | 83.5 | 38 | 62 | 51.77
2026-5510W4 | 2026 L4L Wood Poles Replacement – Whitby Phase 4 | System Renewal | R3 Overhead System Renewal | No | 23.45 | 40 | 10 | 10.05 | 83.5 | 38 | 62 | 51.77
2023-5523 | Port Darlington Pole Replacement | System Renewal | R3 Overhead System Renewal | No | 23.45 | 40 | 10 | 15 | 88.45 | 39 | 61 | 53.9545
2027-5509C | Polemount Tx - Clarington | System Renewal | R3 Overhead System Renewal | No | 0 | 0 | 6.7 | 10.05 | 16.75 | 40 | 60 | 10.05
2027-5509G | Polemount Tx - Gravenhurst | System Renewal | R3 Overhead System Renewal | No | 0 | 0 | 6.7 | 10.05 | 16.75 | 40 | 60 | 10.05
2027-5509W | Polemount Tx - Whitby | System Renewal | R3 Overhead System Renewal | No | 0 | 0 | 6.7 | 10.05 | 16.75 | 40 | 60 | 10.05
2027-5509B | Polemount Transformer Replacements – Belleville District | System Renewal | R3 Overhead System Renewal | No | 0 | 0 | 6.7 | 10.05 | 16.75 | 40 | 60 | 10.05
2027-5509A | Polemount Tx - Ajax | System Renewal | R3 Overhead System Renewal | No | 0 | 0 | 6.7 | 0 | 6.7 | 43 | 57 | 3.819
2028-5510U | Wood Poles Renewal-Planned-Brock | System Renewal | R3 Overhead System Renewal | No | 0 | 0 | 6.7 | 0 | 6.7 | 43 | 56.58 | 3.7909
2028-5510G | Wood Poles Renewal-Planned-Gravenhurst | System Renewal | R3 Overhead System Renewal | No | 0 | 35.2 | 6.7 | 10.05 | 51.95 | 44 | 56 | 29.092
2025-5519 | Pole Trans Replacement - Section 1 | System Renewal | R3 Overhead System Renewal | No | 30.8 | 40 | 6.7 | 10.05 | 87.55 | 45 | 55 | 48.1525
2026-5510W5 | L4L Wood Pole Repl Whitby – Phase 5 | System Renewal | R3 Overhead System Renewal | No | 11.55 | 40 | 6.7 | 10.05 | 68.3 | 48 | 52 | 35.516
2026-5581 | 825 Douglas Ave Tx Installation | System Renewal | R3 Overhead System Renewal | No | 0 | 0 | 6.7 | 10.05 | 16.75 | 50 | 50 | 8.375
2025-5510U2 | 2025- Madill Street Pole Line Rebuild | System Renewal | R3 Overhead System Renewal | No | 11.55 | 40 | 6.7 | 0 | 58.25 | 53 | 47 | 27.3775
2027-5509U | Polemount Transformer Replacements – Brock District | System Renewal | R3 Overhead System Renewal | No | 0 | 0 | 0 | 15 | 15 | 55 | 45 | 6.75
2028-5509G | Pole-Mounted Transformers-Renewal Program - Gravenhurst District | System Renewal | R3 Overhead System Renewal | No | 0 | 0 | 0 | 15 | 15 | 57 | 43 | 6.45
2026-5527U2 | 2026 – In-Line Switch Repl Brock Phase 2 | System Renewal | R3 Overhead System Renewal | No | 0 | 40 | 0 | 0 | 40 | 58 | 42 | 16.8
2026-5527W2 | 2026 – In-Line Switch Replacement Whitby Phase 2 | System Renewal | R3 Overhead System Renewal | No | 11.5 | 40 | 0 | 0 | 51.5 | 58 | 42 | 21.63
2026-5586 | Mara (Simcoe x Main) Line Rebuild | System Renewal | R3 Overhead System Renewal | No | 11.55 | 13.2 | 6.7 | 15 | 46.45 | 58 | 42 | 19.509
2022-1106 | Foster Substation Build (Voltage Conv 4.16kV/13.8kV) | System Service | S1 Substation Growth | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 183.2
2027-1103 | Winchester West SS - New Build | System Service | S1 Substation Growth | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 87
2031-1110 | GTA East MTS | System Service | S1 Substation Growth | No | 35 | 40 | 0 | 15 | 90 | N/A | 15 | 13.5
2023-1112 | Uxbridge North SS Build | System Service | S1 Substation Growth | No | 35 | 40 | 0 | 15 | 90 | N/A | 15 | 13.5
2024-4403 | Belleville 8M9 (44kV) Enhancement | System Service | S2 Grid Enhancements | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 178.9
2016-0516C | Peter Matthews (Toronto Landfill x CPR) DEPENDS ON 2016-0516A | System Service | S2 Grid Enhancements | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 103.6
2026-4421 | Fairport SS - Pole Line Enhancement | System Service | S2 Grid Enhancements | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 167.2
2027-4437G | Distribution Capacity and Reliability Enhancements - Animal Guards - Gravenhurst | System Service | S2 Grid Enhancements | No | 0 | 0 | 10 | 10.05 | 20.05 | N/A | 95 | 19.0475
2027-4437A | Distribution Capacity and Reliability Enhancements - Animal Guards - Ajax | System Service | S2 Grid Enhancements | No | 0 | 0 | 10 | 15 | 25 | N/A | 95 | 23.75
2027-4437W | Distribution Capacity and Reliability Enhancements - Animal Guards - Whitby | System Service | S2 Grid Enhancements | No | 0 | 0 | 10 | 10.05 | 20.05 | N/A | 95 | 19.0475
2027-4437C | Distribution Capacity and Reliability Enhancements - Animal Guards - Clarington | System Service | S2 Grid Enhancements | No | 0 | 0 | 10 | 10.05 | 20.05 | N/A | 95 | 19.0475
2026-4426 | LBS 89-L1C1 & 89-L2C2 Commissioning | System Service | S2 Grid Enhancements | No | 0 | 40 | 10 | 0 | 50 | N/A | 95 | 47.5
2026-4440 | Simcoe St Transformer T27 Upgrade | System Service | S2 Grid Enhancements | No | 0 | 0 | 6.7 | 10.05 | 16.75 | 40 | 60 | 10.05
2026-4431 | 28 Third Secondary Deficiency Correction | System Service | S2 Grid Enhancements | No | 0 | 0 | 10 | 0 | 10 | 45 | 55 | 5.5
2027-4426 | Distribution Capacity and Reliability Enhancements - Baldwin North Columbus Enhancement | System Service | S2 Grid Enhancements | No | 35 | 40 | 6.7 | 15 | 96.7 | 69.8 | 30.2 | 29.2034
2028-4423 | Belleville 8M18 Enhancement | System Service | S2 Grid Enhancements | No | 35 | 40 | 6.7 | 15 | 96.7 | 78.5 | 21.5 | 20.7905
2026-5584 | 7th Concession Road Expansion | System Service | S2 Grid Enhancements | No | 11.55 | 0 | 6.7 | 10.05 | 28.3 | 55 | 45 | 12.735
2026-4430 | Rosebank (Toyneval x Cowan) Sec Upgrade | System Service | S2 Grid Enhancements | No | 0 | 13.2 | 0 | 10.05 | 23.25 | 61 | 39 | 9.0675
2027-1142 | Squires Beach MS Relay Replacement | System Service | S2 Grid Enhancements | No | 23.45 | 40 | 6.7 | 0 | 70.15 | 64 | 36 | 25.254
2027-4425 | Distribution Capacity and Reliability Enhancements - Country Lane Feeder Enhancement | System Service | S2 Grid Enhancements | No | 35 | 40 | 6.7 | 15 | 96.7 | 66 | 34 | 32.878
2027-4421 | MALVM-35 Grid Enhancement – Altona Recloser | System Service | S2 Grid Enhancements | No | 11.55 | 40 | 0 | 0 | 51.55 | 66 | 34 | 17.527
2028-4443 | Robert (TORO-F1) Undersized Conductor Upgrade | System Service | S2 Grid Enhancements | No | 23.45 | 40 | 10 | 10.05 | 83.5 | 67 | 33 | 27.555
2028-4444 | North Scugog (LIBN-F3) Undersized Conductor Upgrade | System Service | S2 Grid Enhancements | No | 11.55 | 26.8 | 10 | 15 | 63.35 | 68.7 | 31.3 | 19.8285
2026-4433 | Load Interrupter Switch AB580 Replacement-Taunton | System Service | S2 Grid Enhancements | No | 11.55 | 40 | 0 | 0 | 51.55 | 83 | 17 | 8.7635
2026-4402A2 | MALVM-35 Grid Enhancement - CFCI Deployment | System Service | S2 Grid Enhancements | No | 11.55 | 40 | 0 | 0 | 51.55 | N/A | 15 | 7.7325
2026-4402A3 | SEAT-M6 CFCI Deployment Program | System Service | S2 Grid Enhancements | No | 11.55 | 40 | 0 | 0 | 51.55 | N/A | 15 | 7.7325
2027-4405A | MALVM-35 Grid Enhancement – TripSaver Deployment | System Service | S2 Grid Enhancements | No | 23.45 | 40 | 0 | 0 | 63.45 | N/A | 15 | 9.5175
2026-4432 | Load Interrupter Switch AB588 Replacement-Taunton | System Service | S2 Grid Enhancements | No | 11.55 | 40 | 0 | 0 | 51.55 | 92 | 8 | 4.124
[1] | Certain 2027 projects that were developed prior to 2025 will contain a “Criteria Score” as opposed to a “Criticality Score”, which was applied at the time for project prioritization. In these instances, the “Criteria Score” has been provided.