## JT 1.18 - 2026
Project ID | Project Name | DSP Portfolio | DSP Program | In 2026 EWP? | Criteria Score? [1] | Financial Score | Reliability Score | Safety Score | Enviromental Score | Impact Score | HI Score | Probability Score | Criticality Score
W2019-0501 | Metrolinx-South Blair Electrification Project | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2029-0539 | 2029 – Dundas (Coleman x Front) Road Relocation – Phase 1 | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-6626 | PTC Hudson Bay Vault (3JV09) Removal | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-6602 | Third Party Make Ready Work | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-6601 | Damages - 3rd Party | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-1000 | Misc Jobs | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0542 | Sideline16 x 5th Conc. Customer Pole Relocation | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0540 | Brock (Taunton x Alexander Knox) Customer Relocation | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0538 | 460 Finch Ave Pole Removal | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0533 | Radom (Douglas x St. Martins) Road Relocation | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0532 | Whitevale (Altona x Golf Club) Road Relocation | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0528 | 2026 - Westney Rd N Road Relocation | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0515 | Mowbray (Spring St) Customer Relocation | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0000 | Temp Number | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2025-6620 | 6 Brown Street Pole Relocation | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2025-0531 | Conlin (Anderson x Thickson) Pole Line Relocation | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2025-0513 | Rossland (Garden x Civic) Road Relocation – Deficiency Correction | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2025-0512 | 2025 - Henry (Octavia x Murney) Road Relocation | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2025-0509 | Lake Ridge (Bayly x Dundas) Road Relocation | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2025-0508 | Pickering Parkway 44kV Relocation | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2025-0506B | Rossland Rd (Salem x Lake Ridge) Relocation (Phase 4) | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2025-0506A | Rossland Road (Westney x Salem) Relocation (Phase 5) | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2025-0505 | Kingston Rd BRT – Altona Rd to Steeple Hill | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2024-0505 | ROD Trunk Sewer Relocns-Bowm | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2022-0525A | Baldwin (Garden x Midblock Arterial) Road Relocation | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2022-0521-2 | Sidney (CPRxCollege) | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2021-0513B1 | Avounlough SPS Road Relocation – Phase 2 | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2021-0513 | Avonlough SPS | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2021-0503 | Liberty St (Baseline Rd x King St)- Relocation | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2020-0522A | Brock x Water Whitby Harbor Relocation | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2019-6613 | Brock & Bayly – DL Intersection improvements | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2018-0510 | Sandy Beach (Montgomery x Bayly) RR | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2017-0526K | BRT Hwy 2 (Westney X Harwood) | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2017-0526H | BRT Hwy 2 (Bainbridge x Notion) | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2017-0303G1 | Metrolinx-Hardwood Ave (Windsor Ave) | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2017-0303F1 | Metrolinx Crossing Pre-End LSE 4 | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2017-0303EA | Metrolinx-Squires Beach Rd-LSE 139 (wood pole crossing) | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2017-0303C1 | Metrolinx - Brock (E of T Towers) | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2017-0303B1 | Metrolinx-Broch Rd west of Trans Tower | System Access | A1 Externally-Initiated Plant Relocation | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0543 | Belleville (Tracey x Adrian) Pole Relocation | System Access | A1 Externally-Initiated Plant Relocation | No | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0545 | Eldorado (P109397) Anchor Replacement RR | System Access | A1 Externally-Initiated Plant Relocation | No | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0547 | Cannifton x N Park Hydro One Transfer | System Access | A1 Externally-Initiated Plant Relocation | No | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0548 | 451 Moira St W Hydro One Conductor Transfer | System Access | A1 Externally-Initiated Plant Relocation | No | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0549 | Southwood PS (Lambert) Road Relocation | System Access | A1 Externally-Initiated Plant Relocation | No | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0546 | Alexander Knox (Whitevale x Peter Matthews) Pole Correction | System Access | A1 Externally-Initiated Plant Relocation | No | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0553 | Upper Bridge (Moira x Front) Isolation | System Access | A1 Externally-Initiated Plant Relocation | No | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0550 | Bowmanville x Baseline Pole Line Reconfiguration | System Access | A1 Externally-Initiated Plant Relocation | No | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0552 | 70 Station (P34857) Anchor Reconfiguration | System Access | A1 Externally-Initiated Plant Relocation | No | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0555 | Montgomery (OPG) Customer Pole Relocation | System Access | A1 Externally-Initiated Plant Relocation | No | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-NOPLAN-W | Unplanned Projects & Jobs Requiring Review | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-NOPLAN-U | Unplanned Projects & Jobs Requiring Review | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-NOPLAN-G | Unplanned Projects & Jobs Requiring Review | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-NOPLAN-C | Unplanned Projects & Jobs Requiring Review | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-NOPLAN-B | Unplanned Projects & Jobs Requiring Review | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-NOPLAN-A | Unplanned Projects & Jobs Requiring Review | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-HELD | Held in Reserve | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-6610W | Service Upgrades for Residential Customers - Whitby | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-6610U | Service Upgrades for Residential Customers - Brock | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-6610G | Service Upgrades for Residential Customers - Gravenhurst | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-6610C | Service Upgrades for Residential Customers - Clarington | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-6610B | Service Upgrades for Residential Customers - Belleville | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-6610A | Service Upgrades for Residential Customers - Ajax | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0605 | Temporary Services with w/o TX's | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0604W | U/G New Residential Services - Whitby | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0604U | U/G New Residential Services - Brock | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0604G | U/G New Residential Services - Gravenhurst | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0604C | U/G New Residential Services - Clarington | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0604B | U/G New Residential Services - Belleville | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0604A | U/G New Residential Services - Ajax | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0603W | O/H New Residential Services - Whitby | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0603U | O/H New Residential Services - Brock | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0603G | O/H New Residential Services - Gravenhurst | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0603C | O/H New Residential Services - Clarington | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0603B | O/H New Residential Services - Belleville | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0603A | O/H New Residential Services - Ajax | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0602W | Transformers - General Services - Whitby | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0602U | Transformers - General Services - Brock | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0602G | Transformers - General Services - Gravenhurst | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0602C | Transformers - General Services - Clarington | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0602B | Transformers - General Services - Belleville | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0602A | Transformers - General Services - Ajax | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0601W | Residential Development - Whitby | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0601U | Residential Development - Brock | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0601G | Residential Development - Gravenhurst | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0601C | Residential Development - Clarington | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0601B | Residential Development - Belleville | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0601A | Residential Development - Ajax | System Access | A2 Customer & Generation Connections | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2025-0225 | 2025 935 Taunton Rd E Expansion - Whitby | System Access | A3 System Expansion | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0238 | 2026-479 Bayly Expansion | System Access | A3 System Expansion | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0237 | 2026- 250 Rossland Expansion | System Access | A3 System Expansion | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0233 | 1030 Salk (Bayly x Salk) Expansion – Pickering Corporate Center | System Access | A3 System Expansion | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0232 | 320 Audley (Picov Holding Inc) Expansion | System Access | A3 System Expansion | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0218F | Cochrane (Columbus x HWY 407) Expansion - BLG | System Access | A3 System Expansion | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0218E | Baldwin (Columbus x Thickson) Expansion - BLG | System Access | A3 System Expansion | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0218D | Columbus (Ashburn x Cachet) Expansion -BLG | System Access | A3 System Expansion | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0218C | Columbus (Country Lane x Ashburn) Expansion - BLG | System Access | A3 System Expansion | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0218B | Ashburn (Columbus x Brawley) Expansion - BLG | System Access | A3 System Expansion | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0218A | Ashburn (Brooklin SS x Columbus) Expansion - BLG | System Access | A3 System Expansion | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0216 | Uxbridge Hospital 44kV Expansion | System Access | A3 System Expansion | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0203 | 310 Kingston Rd E 27.6 KV EXP | System Access | A3 System Expansion | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2025-0234 | 2025 915 Rossland Rd West Reconfig Whitby | System Access | A3 System Expansion | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2025-0222 | 2025 Woodrow Court Expansion Whitby | System Access | A3 System Expansion | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2025-0220 | Seaton M1-M3-M5-M7 Egress Build Expansion | System Access | A3 System Expansion | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2025-0219 | Peter Matthews (Alexander Knox x HWY 407) Expansion | System Access | A3 System Expansion | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2025-0209 | 1636 Charles St Expansion | System Access | A3 System Expansion | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2025-0208 | Valley Farm (Finch x Kingston) Expansion | System Access | A3 System Expansion | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2025-0207 | Sideline 24 Expansion | System Access | A3 System Expansion | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2025-0205 | Pickering Nuclear Generation (PNG) Feeder Expansion | System Access | A3 System Expansion | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2025-0203 | Columbus (Thickson x Baldwin) Expansion | System Access | A3 System Expansion | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2024-0217 | Triovest Notion Rd New LIS & Feeder Expansion | System Access | A3 System Expansion | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2024-0203 | 1150 Narrows Road Expansion | System Access | A3 System Expansion | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2024-0201 | 221 church St 27.6KV Exp | System Access | A3 System Expansion | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2023-0207 | Burkholder (Zenith X Alex Knox) | System Access | A3 System Expansion | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2022-0209 | 537 Kingston RD Expansion | System Access | A3 System Expansion | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2022-0203 | PTC Intensification Phase 1 (Loop Exp) | System Access | A3 System Expansion | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2021-0206C | Winchester (Ashburn x Baldwin)-Conlin/Broccolini | System Access | A3 System Expansion | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2021-0206B | Ashburn (ROW x Winchester) EXP | System Access | A3 System Expansion | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2021-0206A | 44KV Exp HONI ROW (Country Lane x Ashburn) | System Access | A3 System Expansion | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2025-0227 | Anderson (HWY 407 x Conlin) Expansion | System Access | A3 System Expansion | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2025-0229 | 2025 – Gravenhurst Parkway (Reay x Beaver Creek) Expansion | System Access | A3 System Expansion | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0244 | 1700 Crawforth (Dundas x Thickson) Expansion | System Access | A3 System Expansion | No | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0242 | Bethune (Simpsons x Doe Lake) Expansion | System Access | A3 System Expansion | No | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0243 | 1701 Tricont (Forbes) Expansion | System Access | A3 System Expansion | No | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2025-0206 | 913 Brock Rd Feeder Expansion | System Access | A3 System Expansion | No | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0218B | Ashburn (Columbus x Brawley) Expansion - BLG | System Access | A3 System Expansion | No | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0223 | 1030 Salk Expansion Pickering Corporate Centre | System Access | A3 System Expansion | No | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0236 | WHITM24 Load Diversion | System Access | A3 System Expansion | No | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-0245 | 345 Bridge St W | System Access | A3 System Expansion | No | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-6011 | 2025-6011 - Remote Disconnect Units | System Access | A4 Metering & AMI 2.0 | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-6009 | Replacement of modems only for retail customers Replacement of gate keepers and modems for AMI | System Access | A4 Metering & AMI 2.0 | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-6007 | Other, Modems, locks, metering wire, Key holders, test blocks etc | System Access | A4 Metering & AMI 2.0 | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-6006 | Wholesale ION Main/ Alternate Meters /upgrades of Metering cabinets | System Access | A4 Metering & AMI 2.0 | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-6005 | Trans Type both interval and smart meter nodes | System Access | A4 Metering & AMI 2.0 | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-6004 | Polyphase Meters SC | System Access | A4 Metering & AMI 2.0 | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-6003 | Smart Suite Metering- 1 building | System Access | A4 Metering & AMI 2.0 | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-6002 | Current and Voltage Transformers | System Access | A4 Metering & AMI 2.0 | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2026-6001 | Residential Type Meters | System Access | A4 Metering & AMI 2.0 | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2025-4421 | Newcastle 44kV Primary Meter Installation | System Access | A4 Metering & AMI 2.0 | Yes | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100
2027-1106 | Sidney SS - Cable Replacement | System Renewal | R1 Substation Renewal | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 179.7
2027-1113 | Edgehill SS – Station Rebuild | System Renewal | R1 Substation Renewal | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 85.5
2027-1150 | 2027 – Sidney SS DC System Replacement | System Renewal | R1 Substation Renewal | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 54.64
2025-1133 | Notion SS – DC System Replacement | System Renewal | R1 Substation Renewal | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 86.4
2025-1132 | Herchimer SS – DC System Replacement | System Renewal | R1 Substation Renewal | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 86.4
2021-1108 | Shuter SS – Control Bldg Relocation | System Renewal | R1 Substation Renewal | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 90
2022-1110 | Liberty N SS- Swgr Replacement (condition/water leaks) | System Renewal | R1 Substation Renewal | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 179.6
2022-1106 | Foster Substation Build (Voltage Conv 4.16kV/13.8kV) | System Renewal | S1 Substation Growth | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 183.2
2023-1118 | Garden T2 Failure - (2022) | System Renewal | R1 Substation Renewal | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 185.9
2023-1116 | James SS Recloser Replacement | System Renewal | R1 Substation Renewal | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 187
2023-1113 | Bay Ridges Reclosers Replacement | System Renewal | R1 Substation Renewal | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 187
2026-1114 | SANDY BEACH SS - Station Rebuild | System Renewal | R1 Substation Renewal | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 217.4
2026-1117 | Fairport SS Egress/Ingress Rebuild | System Renewal | R1 Substation Renewal | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 222
2026-1101 | Beaverton West SS Cable Replacement | System Renewal | R1 Substation Renewal | No | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 162.5
2021-1106 | Fairport Station Rebuild (Relocation) | System Renewal | R1 Substation Renewal | Yes | No | 35 | 40 | 10 | 15 | 100 | 64 | 95 | 95
2026-1114A1 | Sandy Beach SS - Line Rebuild | System Renewal | R1 Substation Renewal | No | No | 23.45 | 40 | 10 | 10.05 | 83.5 | 5 | 95 | 79.325
2026-1151 | Conlin SS Deficiencies Rectification | System Renewal | R1 Substation Renewal | No | No | 11.55 | 40 | 10 | 10.05 | 71.6 | N/A | 95 | 68.02
2026-1154 | Pineridge Regulator Station Ground Grid Upgrade | System Renewal | R1 Substation Renewal | No | No | 11.55 | 40 | 10 | 15 | 76.55 | 9 | 91 | 69.6605
2027-1109 | Notion MS Secondary Cables Replacement | System Renewal | R1 Substation Renewal | No | No | 23.45 | 40 | 10 | 15 | 88.45 | 18 | 82 | 72.529
2027-1143 | 2027 – Pickering Beach DC System Replacement | System Renewal | R1 Substation Renewal | Yes | No | 11.55 | 40 | 6.7 | 10.05 | 68.3 | 20 | 80 | 54.64
2024-1106 | Catharine SS - 3MVA TX Repl | System Renewal | R1 Substation Renewal | Yes | No | 35 | 40 | 6.7 | 15 | 96.7 | 43 | 57 | 55.119
2023-1112 | Uxbridge North SS Build | System Service | S1 Substation Growth | Yes | No | 35 | 40 | 0 | 15 | 90 | 44 | N/A | 13.5
2027-1148 | 2027 – Westney Heights DC System Replacement | System Renewal | R1 Substation Renewal | Yes | No | 11.55 | 40 | 0 | 10.05 | 61.6 | 50 | 50 | 30.8
2027-1147 | Squires Beach SS DC System Replacement | System Renewal | R1 Substation Renewal | Yes | No | 11.55 | 40 | 6.7 | 10.05 | 68.3 | 67 | 50 | 34.15
2026-1152 | Squires Beach E2D Card Installation | System Renewal | R1 Substation Renewal | No | No | 0 | 40 | 0 | 10.05 | 50.05 | 50 | 50 | 25.025
2025-5507A2 | Switchger SC22 Replacement | System Renewal | R2 Underground System Renewal | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 54.2
2025-5507A3 | Switchger SC62 Replacement | System Renewal | R2 Underground System Renewal | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 56.2
2025-5507A-1 | Dreyer Switchgear SC38 Replacement | System Renewal | R2 Underground System Renewal | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 66.5
2024-5529 | 27.6kV Padmount Transformers-Renewal-Planned | System Renewal | R2 Underground System Renewal | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 126.9
2024-5508A2 | 2024 L4L Pad Mount Tx Replacements Ajax | System Renewal | R2 Underground System Renewal | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 126.9
2024-5508U | Padmount Transformers-Renewal-Planned-Brock | System Renewal | R2 Underground System Renewal | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 126.9
2024-5508G | Padmount Transformers-Renewal-Planned-Gravenhurst | System Renewal | R2 Underground System Renewal | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 126.9
2024-5507C | Padmount Switchgear-Renewal Planned-Clarington | System Renewal | R2 Underground System Renewal | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 150.3
2026-5508W | Padmount Transformer Replacement-Whitby | System Renewal | R2 Underground System Renewal | No | No | 11.55 | 0 | 10 | 15 | 36.55 | 3.5 | 96.5 | 35.2707
2026-5508W | 2026-Padmount Transformer Replacement - Whitby | System Renewal | R2 Underground System Renewal | Yes | No | 11.55 | 0 | 10 | 15 | 36.55 | 4 | 96 | 35.088
2025-5568 | 163 Swindells St Transformer T75337 Replacement | System Renewal | R2 Underground System Renewal | No | No | 0 | 40 | 10 | 15 | 65 | 15 | 85 | 55.25
2026-5508W3 | Padmount Transformer Replacement-Phase 2-Whitby | System Renewal | R2 Underground System Renewal | No | No | 0 | 0 | 10 | 15 | 25 | 25 | 75 | 18.75
2026-5508A | 2026 - Padmount Transformer Replacement Ajax | System Renewal | R2 Underground System Renewal | Yes | No | 23.45 | 40 | 10 | 15 | 88.45 | 29 | 71 | 62.7995
2026-5508U | 2026 - Padmounted Transformer Replacement | System Renewal | R2 Underground System Renewal | Yes | No | 11.5 | 40 | 6.7 | 15 | 73.2 | 29 | 71 | 51.972
2026-1156 | Belleville (Moira St x Front St N) Cable Replacement | System Renewal | R2 Underground System Renewal | No | No | 11.55 | 0 | 6.7 | 15 | 33.25 | 30 | 70 | 23.275
2026-1155 | Centennial (S100167 x T73180) Cable Replacement | System Renewal | R2 Underground System Renewal | No | No | 11.55 | 40 | 6.7 | 0 | 58.25 | 30 | 70 | 40.775
2026-5508B | 2026 - Padmount Transformer Replacement Belleville | System Renewal | R2 Underground System Renewal | Yes | No | 0 | 0 | 6.7 | 10.05 | 16.75 | 32 | 68 | 11.39
2026-5508G | 2026 - Padmount Transformer Replacement Gravenhurst | System Renewal | R2 Underground System Renewal | Yes | No | 0 | 0 | 6.7 | 10.05 | 16.75 | 33 | 67 | 11.2225
2026-5507A7 | Hardwood Switchgear SC39 Removal | System Renewal | R2 Underground System Renewal | No | No | 0 | 0 | 6.7 | 15 | 21.7 | 34.5 | 65.5 | 14.2135
2026-5508A3 | Padmount Transformer Replacement-Phase 2-Ajax | System Renewal | R2 Underground System Renewal | No | No | 0 | 0 | 10 | 10.05 | 20.05 | 36 | 64 | 12.832
2026-5508B2 | Padmount Transformer Replacement-Phase 2- Belleville | System Renewal | R2 Underground System Renewal | No | No | 0 | 0 | 10 | 10.05 | 20.05 | 36 | 64 | 12.832
2026-5508C2 | Padmount Transformer Replacement-Phase 2-Clarington | System Renewal | R2 Underground System Renewal | No | No | 0 | 0 | 10 | 10.05 | 20.05 | 36 | 64 | 12.832
2022-5525 | Park St Rebuild | System Renewal | R2 Underground System Renewal | Yes | No | 30.8 | 40 | 6.7 | 15 | 92.5 | 46 | 54 | 49.95
2026-5508U2 | Padmount Transformer Replacement -Phase 2- Brock | System Renewal | R2 Underground System Renewal | No | No | 0 | 0 | 6.7 | 15 | 21.7 | 47 | 53 | 11.501
2026-5507A6 | Ashbury Switchgear SC57 & SC58 Replacement | System Renewal | R2 Underground System Renewal | No | No | 11.55 | 26.8 | 6.7 | 15 | 60.05 | 47 | 53 | 31.8265
2026-5508C | 2026 - Padmount Transformer Replacement - Clarington | System Renewal | R2 Underground System Renewal | Yes | No | 0 | 40 | 0 | 15 | 55 | 53 | 47 | 25.85
2026-5508A2 | Hewitt Cres Transformer T16057 Replacement | System Renewal | R2 Underground System Renewal | No | No | 0 | 0 | 6.7 | 10.05 | 16.75 | 57 | 43 | 7.2025
2025-5580 | 2025-1663 Alwin Cir Tx 4811 Repl | System Renewal | R3 Overhead System Renewal | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 12.75
2026-5510B1 | 2026 - L4L Wood Poles Replacement - Belleville | System Renewal | R3 Overhead System Renewal | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 38.66
2025-5511W3 | 2025- UG Cable Rejuvenation – Zone W19B | System Renewal | R3 Overhead System Renewal | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 57.27
2025-5511W1 | 2025 Underground Cable Rejuvenation – Zone W17 | System Renewal | R3 Overhead System Renewal | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 57.27
2025-5506B | Overhead Line Switches (LIS) - Renewal Planned-Belleville - LIS 8M4-8M8 Replacement | System Renewal | R3 Overhead System Renewal | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 61.6
2025-5506C | LIS 5019-2 Replacement-Toronto | System Renewal | R3 Overhead System Renewal | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 69.6
2024-5513G | Porcelain Insulator Replacement Program-Gravenhurst | System Renewal | R3 Overhead System Renewal | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 79.3
2023-5528 | Walnut (Molson x Alfred) | System Renewal | R3 Overhead System Renewal | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 85.9
2025-5509A | 2025 Pole-Mounted Transformers-Renewal Program - Ajax District | System Renewal | R3 Overhead System Renewal | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 126.9
2024-5509U | Polemounted Transformers Renewal Planned-Brock | System Renewal | R3 Overhead System Renewal | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 126.9
2025-5566 | Sideline 4 Railway Crossing - Pole Replacement | System Renewal | R3 Overhead System Renewal | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 174
2024-5510A2 | Queen Street Backyard Pole Line Upgrade | System Renewal | R3 Overhead System Renewal | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 174
2025-5565 | Westney Road Railway Crossing - Pole Replacement | System Renewal | R3 Overhead System Renewal | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 174
2026-5528W | 2026 – Overhead Sleeves Replacement Program-Quick sleeves-Whitby | System Renewal | R3 Overhead System Renewal | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 210.8
2025-5510C1 | Wood Poles Renewal-Planned-Clarington | System Renewal | R3 Overhead System Renewal | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 210.8
2024-5510C1 | Lambs Road Pole Removal | System Renewal | R3 Overhead System Renewal | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 210.8
2026-1146 | Tracey Park Dr. Cable And Transformer Replacement | System Renewal | R3 Overhead System Renewal | Yes | No | 0 | 11.55 | 10 | 10.5 | 32.05 | 5 | 95 | 30.4475
2026-5528U | 2026 – Overhead Sleeves Replacement Program-Quick sleeves-Brock | System Renewal | R3 Overhead System Renewal | Yes | No | 0 | 40 | 10 | 10.5 | 60.5 | 5 | 95 | 57.475
2026-5528B | 2026 – Overhead Sleeves Replacement Program-Quick sleeves-Belleville | System Renewal | R3 Overhead System Renewal | Yes | No | 0 | 40 | 10 | 15 | 65 | 5 | 95 | 61.75
2026-5514C | 2026 - Porcelain Cutout Replacement Program - Clarington District | System Renewal | R3 Overhead System Renewal | Yes | No | 0 | 40 | 10 | 15 | 65 | N/A | 95 | 61.75
2026-5514A | 2026 - Porcelain Cutout Replacement Program - Ajax District | System Renewal | R3 Overhead System Renewal | Yes | No | 0 | 40 | 10 | 15 | 65 | N/A | 95 | 61.75
2026-5513A | 2026 - Porcelain Insulator Replacement Program - Ajax District | System Renewal | R3 Overhead System Renewal | Yes | No | 0 | 40 | 10 | 15 | 65 | N/A | 95 | 61.75
2026-5514W | 2026 - Porcelain Cutout Replacement Program - Whitby District | System Renewal | R3 Overhead System Renewal | Yes | No | 0 | 40 | 10 | 15 | 65 | 5 | 95 | 61.75
2026-5514G | 2026 - Porcelain Cutout Replacement Program - Gravenhurst District | System Renewal | R3 Overhead System Renewal | Yes | No | 0 | 40 | 10 | 15 | 65 | N/A | 95 | 61.75
2026-5514B | 2026 - Porcelain Cutout Replacement Program - Belleville District | System Renewal | R3 Overhead System Renewal | Yes | No | 0 | 40 | 10 | 15 | 65 | 5 | 95 | 61.75
2026-5513B | 2026 – Porcelain Insulator Replacement Program - Belleville District | System Renewal | R3 Overhead System Renewal | Yes | No | 0 | 40 | 10 | 15 | 65 | 5 | 95 | 61.75
2026-5513W | 2026 - Porcelain Insulator Replacement Program - Whitby District | System Renewal | R3 Overhead System Renewal | Yes | No | 0 | 40 | 10 | 15 | 65 | 5 | 95 | 61.75
2026-5513U | 2026 - Porcelain Insulator Replacement Program - Brock District | System Renewal | R3 Overhead System Renewal | Yes | No | 0 | 40 | 10 | 15 | 65 | 5 | 95 | 61.75
2026-5513C | 2026 - Porcelain Insulator Replacement Program - Clarington District | System Renewal | R3 Overhead System Renewal | Yes | No | 0 | 40 | 10 | 15 | 65 | 5 | 95 | 61.75
2025-5572 | Transformer 1445 Replacement - Pinnacle | System Renewal | R3 Overhead System Renewal | Yes | No | 0 | 0 | 10 | 15 | 25 | 5 | 95 | 23.75
2023-5521 | 1 Centre St Pole Replacement | System Renewal | R3 Overhead System Renewal | Yes | No | 0 | 0 | 10 | 15 | 25 | 5 | 95 | 23.75
2026-1145 | North Park Cable Replacement | System Renewal | R3 Overhead System Renewal | Yes | No | 23.45 | 0 | 10 | 15 | 48.45 | 5 | 95 | 46.0275
2026-5579 | 1773 Woodview Ave Tx 1J222 Upgrade | System Renewal | R3 Overhead System Renewal | Yes | No | 0 | 0 | 10 | 10.05 | 20.05 | 5 | 95 | 19.0475
2026-5528U | Overhead Sleeves Replacement Program - Brock | System Renewal | R3 Overhead System Renewal | No | No | 0 | 40 | 10 | 10.05 | 60.05 | 5 | 95 | 57.0475
2024-5506W | Overhead Line Switches (LIS) - Renewal Planned-Whitby | System Renewal | R3 Overhead System Renewal | No | No | 11.55 | 40 | 10 | 10.05 | 71.6 | N/A | 95 | 68.02
2026-5528B | Overhead Sleeves Replacement Program - Belleville | System Renewal | R3 Overhead System Renewal | No | No | 0 | 40 | 10 | 15 | 65 | 5 | 95 | 61.75
2026-5513U | Porcelain Insulator Replacement Program - Brock District | System Renewal | R3 Overhead System Renewal | No | No | 0 | 40 | 10 | 15 | 65 | 5 | 95 | 61.75
2026-5513C | Porcelain Insulator Replacement Program - Clarington District | System Renewal | R3 Overhead System Renewal | No | No | 0 | 40 | 10 | 15 | 65 | 5 | 95 | 61.75
2026-5513W | Porcelain Insulator Replacement Program - Whitby District | System Renewal | R3 Overhead System Renewal | No | No | 0 | 40 | 10 | 15 | 65 | 5 | 95 | 61.75
2026-5588 | Mill St (Walton x Peter) 4.16kV OH Removal | System Renewal | R3 Overhead System Renewal | No | No | 0 | 0 | 10 | 10.05 | 20.05 | 5 | 95 | 19.0475
2026-5510U1 | 2026 L4L Pole Replacement Phase 2 Brock | System Renewal | R3 Overhead System Renewal | No | No | 0 | 13.2 | 10 | 15 | 38.2 | 8 | 92 | 35.144
2026-5509A | 2026 - Pole Mounted Transformers - Ajax District | System Renewal | R3 Overhead System Renewal | Yes | No | 0 | 0 | 10 | 15 | 25 | 10 | 90 | 22.5
2026-5509W | 2026 – Pole Mounted Transformers - Whitby District | System Renewal | R3 Overhead System Renewal | Yes | No | 11.55 | 40 | 10 | 15 | 76.55 | 10 | 90 | 68.895
2026-5527W | 2026 - In-Line Solid Blade Switch Replacement - Whitby | System Renewal | R3 Overhead System Renewal | Yes | No | 0 | 40 | 10 | 10.05 | 60.05 | 13 | 87 | 52.2435
2026-5510C | Wood Poles Renewal-Planned-Clarington | System Renewal | R3 Overhead System Renewal | Yes | No | 23.45 | 40 | 10 | 15 | 88.45 | 14 | 86 | 76.067
2026-5510G1 | 2026 - L4L Wood Poles Replacement - Gravenhurst | System Renewal | R3 Overhead System Renewal | Yes | No | 11.55 | 40 | 10 | 15 | 76.55 | 15 | 85 | 65.0675
2026-5509C | 2026 - Pole Mounted Transformers - Clarington District | System Renewal | R3 Overhead System Renewal | Yes | No | 0 | 0 | 10 | 15 | 25 | 17 | 83 | 20.75
2026-5510U5 | 2026 - L4L Wood Poles Replacement - Brock | System Renewal | R3 Overhead System Renewal | Yes | No | 11.55 | 40 | 10 | 10.05 | 71.6 | 18 | 82 | 58.712
2026-5510U6 | 2026 L4L Wood Poles Repl - Brock | System Renewal | R3 Overhead System Renewal | No | No | 23.45 | 40 | 10 | 15 | 88.45 | 18 | 82 | 72.529
2025-5561 | 115 Queen St Tx Installation | System Renewal | R3 Overhead System Renewal | No | No | 0 | 0 | 10 | 15 | 25 | 18 | 82 | 20.5
2026-5510U2 | 2026 - L4L Wood Poles Replacement Phase 3 - Brock | System Renewal | R3 Overhead System Renewal | Yes | No | 0 | 40 | 10 | 0 | 50 | 20 | 80 | 40
2026-5509B | 2026 - Pole Mounted Transformers - Belleville District | System Renewal | R3 Overhead System Renewal | Yes | No | 11.55 | 13.2 | 10 | 15 | 49.75 | 24 | 76 | 37.81
2026-5510W1 | 2026 L4L Wood Poles Replacement - Whitby | System Renewal | R3 Overhead System Renewal | Yes | No | 11.55 | 40 | 10 | 15 | 76.55 | 25 | 75 | 57.4125
2026-5585 | Edward St Backyard Pole Line Renewal | System Renewal | R3 Overhead System Renewal | Yes | No | 11.55 | 0 | 10 | 15 | 36.55 | 25 | 75 | 27.4125
2026-5510W | L4L Wood Pole Replacement - Whitby | System Renewal | R3 Overhead System Renewal | No | No | 30.8 | 40 | 10 | 15 | 95.8 | 28 | 72 | 68.976
2026-5510U | 2026 L4L Wood Poles Replacement - Brock | System Renewal | R3 Overhead System Renewal | Yes | No | 11.55 | 40 | 10 | 15 | 76.55 | 29 | 71 | 54.3505
2026-5509U | 2026 - Pole Mounted Transformers - Brock District | System Renewal | R3 Overhead System Renewal | Yes | No | 0 | 0 | 6.7 | 10.05 | 16.75 | 30 | 70 | 11.725
2026-5510B | 2026 L4L Wood Poles Replacement - Belleville | System Renewal | R3 Overhead System Renewal | Yes | No | 23.45 | 40 | 10 | 15 | 88.45 | 31 | 69 | 61.0305
2026-5583 | Amos (Robert x Toronto) 401 Crossing | System Renewal | R3 Overhead System Renewal | Yes | No | 11.55 | 40 | 6.7 | 10.05 | 68.3 | 31 | 69 | 47.127
2026-5510C1 | 2026 - L4L Wood Poles Replacement - Clarington | System Renewal | R3 Overhead System Renewal | Yes | No | 23.45 | 40 | 10 | 10.05 | 83.5 | 31 | 69 | 57.615
2026-5509U2 | 2026 Polemount Transformer Replacements – Phase 2 -Brock | System Renewal | R3 Overhead System Renewal | No | No | 11.55 | 40 | 6.7 | 15 | 73.25 | 32 | 68 | 49.81
2025-5527A1 | 2025 – Firon In-line Switches Replacement Phase 2 Ajax | System Renewal | R3 Overhead System Renewal | Yes | No | 0 | 13.2 | 10 | 10.5 | 33.7 | 37 | 63 | 21.231
2026-5509W6 | Polemount Transformer Replacements – Phase 2 -Whitby District #5 | System Renewal | R3 Overhead System Renewal | No | No | 11.55 | 40 | 6.7 | 10.05 | 68.3 | 37 | 63 | 43.029
2026-5509W5 | Polemount Transformer Replacements – Phase 2 -Whitby District #4 | System Renewal | R3 Overhead System Renewal | No | No | 11.55 | 40 | 6.7 | 10.05 | 68.3 | 37 | 63 | 43.029
2026-5509W4 | Polemount Transformer Replacements – Phase 2 -Whitby District #3 | System Renewal | R3 Overhead System Renewal | No | No | 11.55 | 40 | 6.7 | 10.05 | 68.3 | 37 | 63 | 43.029
2026-5509W3 | Polemount Transformer Replacements – Phase 2 -Whitby District #2 | System Renewal | R3 Overhead System Renewal | No | No | 11.55 | 40 | 6.7 | 10.05 | 68.3 | 37 | 63 | 43.029
2026-5509W2 | Polemount Transformer Replacements – Phase 2 -Whitby District #1 | System Renewal | R3 Overhead System Renewal | No | No | 11.55 | 40 | 6.7 | 10.05 | 68.3 | 37 | 63 | 43.029
2026-5509G2 | 2026 Polemount Transformer Replacements – Phase 2 -Gravenhurst | System Renewal | R3 Overhead System Renewal | No | No | 11.55 | 40 | 6.7 | 10.05 | 68.3 | 37 | 63 | 43.029
2026-5510W4 | 2026 L4L Wood Poles Repl - Whitby Phase 4 | System Renewal | R3 Overhead System Renewal | No | No | 23.45 | 40 | 10 | 10.05 | 83.5 | 38 | 62 | 51.77
2026-5510W3 | 2026 L4L Wood Poles Repl - Whitby Phase 3 | System Renewal | R3 Overhead System Renewal | No | No | 23.45 | 40 | 10 | 10.05 | 83.5 | 38 | 62 | 51.77
2023-5523 | Port Darlington Pole Replacement | System Renewal | R3 Overhead System Renewal | Yes | No | 23.45 | 40 | 10 | 15 | 88.45 | 39 | 61 | 53.9545
2026-5527B | 2026 - In-Line Solid Blade Switch Replacement - Belleville | System Renewal | R3 Overhead System Renewal | Yes | No | 0 | 35.2 | 6.7 | 0 | 41.9 | 40 | 60 | 25.14
2025-5519 | Pole Trans Replacement | System Renewal | R3 Overhead System Renewal | Yes | No | 30.8 | 40 | 6.7 | 10.05 | 87.55 | 45 | 55 | 48.1525
2025-5519C1 | Pole Tran Replacement - Clarington, Section 2 | System Renewal | R3 Overhead System Renewal | No | No | 30.8 | 40 | 6.7 | 10.05 | 87.55 | 45 | 55 | 48.1525
2024-5519 | Pole Trans Replacements | System Renewal | R3 Overhead System Renewal | No | No | 30.8 | 40 | 6.7 | 10.05 | 87.55 | 45 | 55 | 48.1525
2026-5527U | 2026 - In-Line Solid Blade Switch Replacement - Brock | System Renewal | R3 Overhead System Renewal | Yes | No | 0 | 40 | 6.7 | 0 | 46.7 | 46 | 54 | 25.218
2026-5527C | 2026 - In-Line Solid Blade Switch Replacement - Clarington | System Renewal | R3 Overhead System Renewal | Yes | No | 0 | 40 | 6.7 | 0 | 46.7 | 46 | 54 | 25.218
2026-5527A | 2026 - In-Line Solid Blade Switch Replacement - Ajax | System Renewal | R3 Overhead System Renewal | Yes | No | 0 | 40 | 6.7 | 0 | 46.7 | 46 | 54 | 25.218
2026-5510W5 | L4L Wood Pole Repl Whitby – Phase 5 | System Renewal | R3 Overhead System Renewal | No | No | 11.55 | 40 | 6.7 | 10.05 | 68.3 | 48 | 52 | 35.516
2026-0537 | 245 Wellington Pole Reconfiguration | System Renewal | R3 Overhead System Renewal | Yes | No | 0 | 40 | 6.7 | 0 | 46.7 | 50 | 50 | 23.35
2026-5510A1 | 2026 - L4L Wood Poles Replacement - Ajax | System Renewal | R3 Overhead System Renewal | Yes | No | 23.45 | 40 | 0 | 0 | 63.45 | 50 | 50 | 31.725
2026-5581 | 825 Douglas Ave Tx Installation | System Renewal | R3 Overhead System Renewal | No | No | 0 | 0 | 6.7 | 10.05 | 16.75 | 50 | 50 | 8.375
2026-5510U4 | 20 Park Street Pole Replacement -Brock | System Renewal | R3 Overhead System Renewal | No | No | 11.55 | 40 | 6.7 | 10.05 | 68.3 | 50 | 50 | 34.15
2026-5510U3 | Mara Pole P40356 Replacement | System Renewal | R3 Overhead System Renewal | Yes | No | 0 | 35.2 | 6.7 | 15 | 56.9 | 51 | 49 | 27.881
2025-5510U2 | Madill Street Pole Line Rebuild | System Renewal | R3 Overhead System Renewal | No | No | 11.55 | 40 | 6.7 | 0 | 58.25 | 53 | 47 | 27.3775
2026-5570 | Transformer 348 Upgrade-Crocus | System Renewal | R3 Overhead System Renewal | No | No | 0 | 0 | 6.7 | 15 | 21.7 | 53.5 | 46.5 | 10.0905
2026-5586 | Mara (Simcoe x Main) Line Rebuild | System Renewal | R3 Overhead System Renewal | Yes | No | 11.55 | 13.2 | 6.7 | 15 | 46.45 | 58 | 42 | 19.509
2026-5527U2 | 2026 – In-Line Switch Repl Brock Phase 2 | System Renewal | R3 Overhead System Renewal | No | No | 0 | 40 | 0 | 0 | 40 | 58 | 42 | 16.8
2026-5527W2 | 2026 – In-Line Switch Repl Whitby Phase 2 | System Renewal | R3 Overhead System Renewal | No | No | 11.5 | 40 | 0 | 0 | 51.5 | 58 | 42 | 21.63
2027-1103 | Winchester West SS - New Build | System Service | S1 Substation Growth | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 87
2026-1020 | Belleville DESN 2 Egress Costs | System Service | S1 Substation Growth | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 210.8
2031-1110 | GTA East MTS | System Service | S1 Substation Growth | Yes | No | 35 | 40 | 0 | 15 | 90 | N/A | 15 | 13.5
2025-4427 | CFCI 8.32kV Load Monitoring Program | System Service | S2 Grid Enhancements | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 61.6
2024-4404 | Installation of TripSaver (smart) switches | System Service | S2 Grid Enhancements | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 67.7
2021-2202 | James F1 GRAV-Feeder Enhancement | System Service | S2 Grid Enhancements | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 70.1
2025-5532 | Battery replacement - SCADA devices | System Service | S2 Grid Enhancements | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 87.3
2016-0516C | Peter Matthews (Toronto Landfill x CPR) DEPENDS ON 2016-0516A | System Service | S2 Grid Enhancements | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 103.6
2024-4403 | Belleville 8M9 (44kV) Enhancement | System Service | S2 Grid Enhancements | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 178.9
2026-4421 | Fairport SS - Pole Line Enhancement | System Service | S2 Grid Enhancements | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 167.2
2026-4429 | Poprad Ave. Backyard Deficiency | System Service | S2 Grid Enhancements | Yes | No | 0 | 0 | 10 | 10.5 | 20.5 | N/A | 95 | 19.475
2026-4434 | Battery replacement - SCADA devices | System Service | S2 Grid Enhancements | Yes | No | 0 | 40 | 10 | 15 | 65 | N/A | 95 | 61.75
2026-4425 | Animal Guard Installations | System Service | S2 Grid Enhancements | No | No | 0 | 40 | 10 | 15 | 65 | N/A | 95 | 61.75
2026-4426 | LBS 89-L1C1 & 89-L2C2 Commissioning | System Service | S2 Grid Enhancements | No | No | 0 | 40 | 10 | 0 | 50 | N/A | 95 | 47.5
2026-4435 | 2026 SCADA I-Net Radio Replacement | System Service | S2 Grid Enhancements | Yes | No | 23.45 | 40 | 0 | 0 | 63.45 | N/A | 85 | 53.9325
2026-4436 | Westney Heights SS Tie Switch Upgrade | System Service | S2 Grid Enhancements | No | No | 11.55 | 40 | 6.7 | 0 | 58.25 | 39 | 61 | 35.5325
2026-4440 | Simcoe St Transformer T27 Upgrade | System Service | S2 Grid Enhancements | No | No | 0 | 0 | 6.7 | 10.05 | 16.75 | 40 | 60 | 10.05
2026-4431 | 28 Third Secondary Deficiency Correction | System Service | S2 Grid Enhancements | No | No | 0 | 0 | 10 | 0 | 10 | 45 | 55 | 5.5
2028-4423 | Belleville 8M16 Enhancement | System Service | S2 Grid Enhancements | No | No | 35 | 40 | 6.7 | 15 | 96.7 | 78.5 | 21.5 | 20.7905
2026-5584 | 7th Concession Road Expansion | System Service | S2 Grid Enhancements | No | No | 11.55 | 0 | 6.7 | 10.05 | 28.3 | 55 | 45 | 12.735
2026-4430 | Rosebank (Toyneval x Cowan) Sec Upgrade | System Service | S2 Grid Enhancements | No | No | 0 | 13.2 | 0 | 10.05 | 23.25 | 61 | 39 | 9.0675
2022-4406 | 44kV Whitby TS x Winchester Reliability (Conlin related) | System Service | S2 Grid Enhancements | Yes | No | 35 | 40 | 10 | 15 | 100 | 67 | 33 | 33
2026-4433 | Load Interrupter Switch AB580 Replacement-Taunton | System Service | S2 Grid Enhancements | No | No | 11.55 | 40 | 0 | 0 | 51.55 | 83 | 17 | 8.7635
2026-4432 | Load Interrupter Switch AB588 Replacement-Taunton | System Service | S2 Grid Enhancements | No | No | 11.55 | 40 | 0 | 0 | 51.55 | 92 | 8 | 4.124
[1] | Certain 2027 projects that were developed prior to 2025 will contain a “Criteria Score” as opposed to a “Criticality Score”, which was applied at the time for project prioritization. In these instances, the “Criteria Score” has been provided.