## GTA_EAST_ESTIMATE
Job Description | Asset Installation Type | Total Cost
4-Circuit Pole Installation | New Installation | 1364473.3262
Load Interrupter Switch (Pole Not Included) | New Installation | 1299498.4059
4-Circuit Pole Installation | Downstream Reinforcement | 877161.424
4-Circuit Pole Installation | Downstream Reinforcement | 1267010.9458
4-Circuit Pole Installation | Downstream Reinforcement | 1120817.3751
4-Circuit Pole Installation | Downstream Reinforcement | 3995957.5982
5 x 2 Concrete Encased Trench Installation (per meter ) | New Installation | 487311.9022
1000MCM 46kV installation through existing ducts (per meter) U/G [per phase] (Material & Installation Cost) | New Installation | 257300.6844
4-Circuit Pole Installation | Downstream Reinforcement | 1072086.1849
Load Interrupter Switch (Pole Not Included) | New Installation | 162437.3007
4-Circuit Pole Installation | New Installation | 877161.424
4-Circuit Pole Installation (Steel Towers for Higway Crossing) | New Installation | 4873119.0222
4-Circuit Pole Installation | New Installation | 1072086.1849
4-Circuit Pole Installation | New Installation | 194924.7609
1000MCM 46kV installation through existing ducts (per meter) U/G [per phase] (Material & Installation Cost) | New Installation | 233909.7131
Stringing on Existing Pole (Per Span) | Downstream Reinforcement | 625383.6078
Stringing on Existing Pole (Per Span) | Downstream Reinforcement | 90964.8884
Load Interrupter Switch (Pole Not Included) | New Installation | 324874.6015
| Total | 20196479.3502
Notes & Assumptions:
- Total Costs include the following: material, labour, inflation, Admin/Project management
- Downstream reinforcements are representative of assets that require upgrades/replacement in order to accomadate the additional circuits from the GTA EAST TS
- New installations are representative of the new assets to be installed to accommodate the additional circuits from the GTA EAST TS